| Local magnification factor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Microendoscope based on 6.4 mm-long GRIN rod f(x) = ax4 + bx2 + c |  |  | Microendoscope based on 8.8 mm-long GRIN rod f'(x) = a'x4 + b'x2 + c' |  |  |
|  | Uncorrected | Corrected |  | Uncorrected | Corrected |
| a | -0.23∙10-9 (-1.12∙10-9, 0.66∙10-9) | -0.83∙10-9 (-1.09∙10-9, -0.58∙10-9) | a' | 0.52 ∙10-9 (-1.52∙10-9, 2.56∙10-9) | -0.28∙10-9 (-0.56∙10-9, 0.0059∙10-9) |
| b | 0.15∙10-5 (-1.07∙10-5, 1.37∙10-5) | 0.10∙10-4 (0.036 ∙10-4, 0.17∙10-4) | b' | -0.27∙10-5 (-2.63∙10-5, 2.08∙10-5) | -0.18∙10-4 (-0.26 ∙10-4, -1.07∙10-4) |
| c | 1.03 (1.00, 1.06) | 1.29 (1.25, 1.32) | c' | 1.04 (0.99, 1.09) | 1.36 (1.32, 1.40) |
| R-square | 0.12 | 0.93 | R-square | 0.13 | 0.98 |
| Radial distance calibration |  |  |  |  |  |
| Microendoscope based on 6.4 mm-long GRIN rod g(x) = dx4 + ex2 + fx + h |  |  | Microendoscope based on 8.8 mm-long GRIN rod g'(x) = d'x4 + e'x2 + f'x +h' |  |  |
|  | Uncorrected | Corrected |  | Uncorrected | Corrected |
| d | -0.14∙10-7 (-0.31∙10-7, 0.33∙10-7) | -0.33∙10-7 (-0.40∙10-7, -0.27∙10-7) | d' | 0.30∙10-8 (-2.28∙10-8, 2.88∙10-8) | -0.42∙10-7 (-0.46∙10-7, -0.38∙10-7) |
| e | 0.22∙10-3 (-0.24∙10-3, 0.68∙10-3) | 1.03∙10-3 (0.68∙10-3, 1.37∙10-3) | e' | 0.45∙10-4 (-5.25∙10-4, 6.16∙10-4) | -0.16∙10-4 (-2.44∙10-4, 2.11∙10-4) |
| f | 1.03 (1.00, 1.06) | 1.24 (1.20, 1.27) | f' | 1.04 (1.00, 1.08) | 1.35 (1.32, 1.37) |
| h | -0.17 (-0.67, 0.33) | 0.13 (-0.63, 0.89) | h' | -0.18 (-0.70, 0.34) | -0.37 (-0.87, 0.14) |
| R-square | 1.00 | 1.00 | R-square | 1.00 | 1.00 |

Supplementary File 3. Parameters used for the computation of the local pixel size and for distance calibration of images acquired with microendoscopes. Coefficients of the quartic functions fitting the measurements performed on images acquired on the calibration ruler for uncorrected and corrected microendoscopes based on the 6.4 mm-long GRIN rod (left) and the 8.8 mm-long GRIN rod (right). The numbers in parenthesis indicate the 95% lower and upper confidence bounds (see Figure 3E, F). R-square values are indicated for each fit.