Supplementary File 11: Segmentation parameters for image analysis using Agilent eSight in Fig.8

| Cell Line – Channel | Segmentation Adjustment (Background <-> Cell) | Cleanup (Hole Fill) | Area Filter (Minimal Cell Size) | Edge Sensitivity |
| --- | --- | --- | --- | --- |
| HCT-116 – Bright field | 0.6 | 0 | 1000 | - |
| HCT-116 – Red Fluorescence | 0.6 | 500 | 100 | 0 |
| Igrov-1 – Bright field | 0.9 | 0 | 1500 | - |
| Igrov-1 – Red Fluorescence | 1.3 | 500 | 100 | 0 |
| SW620 – Bright field | 0.9 | 0 | 1000 | - |
| SW620 – Red Fluorescence | 1 | 500 | 100 | 0 |