Supplementary File 5: Quantifying identity switch rates across recording setups

| Video Set | No. of videos | Frame rate | Total frames per video | No. of identity switches | Frames with identity switch | Total frames | Error rate |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High resolution (with decapitated virgin videos) | 19 | 30 | 27068 | 7 | 3425 | 5142912 | 0.66402 |
| ‘DANCE’ Medicinal blister packs (with decapitated virgin videos) | 24 | 30 | 27068 | 20 | 12354 | 64962 | 1.901692 |

We used the Visualizer tool within FlyTracker to flag potential identity swaps, identified when flies overlap (occlusions), make sudden jumps, or move unusually close to one another. These criteria were intentionally broad to capture all possible identity errors. This approach minimizes manual inspection by restricting it to flagged intervals rather than reviewing every frame.

We focused on decapitated virgin videos, as this condition poses the greatest challenge for maintaining fly identity: males and decapitated females are similar in size, increasing the likelihood of swaps. Using this approach, we compared two datasets. High-resolution machine-vision recordings showed 7 identity switches across 19 videos (error rate = 0.66%), whereas DANCE recordings using standard smartphone cameras had 20 switches across 24 videos (error rate = 1.9%).

Although the phone-camera recordings produced slightly more identity switches than the high-resolution system, the modest increase in error demonstrates that accurate and reliable tracking can be achieved even with low-cost, accessible hardware.