| Exposure Time (ms) | Average Frame Rate (Hz) |
| --- | --- |
| 10 | 62.5 |
| 50 | 17.6 |
| 100 | 9.2 |
| 200 | 4.8 |

Supplementary Table 4. Acquisition performance for a 50 µm z-stack acquired at 0.25 µm step size (200 frames; 2048 × 512 pixels per frame). The mean inter-frame dead time was 7.25 ms, of which ~1 ms arose from piezo stepping; the remainder was dominated by camera readout.