| Data Set | Wild type; DeltaElbow; ElbowLock; ElbowLock-KinTag |
| --- | --- |
| HDX reaction details | 20mM Hepes, 150mM NaCl, 1mM MgCl2, 0.1mM ADP, 0.5mM TCEP, pDread = 7.00, 23 °C |
| HDX time course (s) | 0.3, 0.5, 1, 3, 10, 30, 300 |
| Back-exchange (mean / IQR) |  |
| # of Peptides | 318 |
| Sequence coverage | 88% |
| Average peptide length / Redundancy | 14 / 3.55 |
| Replicates | 3 (technical) |
| Repeatability | 0.08 (average standard deviation) |
| Significant differences in HDX (delta HDX > X D) | 0.286 D (99% CI) |