| Target | LOD parasites/mL | LOQ parasites/mL | Slope | E (%) | R2 |
| --- | --- | --- | --- | --- | --- |
| Pfs25 | 5 | 5 | -3.35 | 98.7 | 0.99 |
| PfMGET | 20 | 20 | -3.51 | 92.9 | 0.99 |
| 18S | 20 | 20 | -3.47 | 94.1 | 0.99 |

Supplementary File 3. Quality parameters of qRT PCR and qPCR

The table shows for each target: limit of detection (LOD; defined as lowest pathogen concentration with reproducible detection);  limit of quantification (LOQ; defined as lowest pathogen concentration where the CV was <5%),  slope, efficiency (E), and the coefficient of correlation of combined trendlines (R2).