## Calibration Curve
Skyline results for total area under the curve for each peptide and various charge states.
| 2+ Charge Peak Area | 3+ Charge Peak Area | 2+ Charge Peak Area | 3+ Charge Peak Area | 2+ Charge Peak Area | 3+ Charge Peak Area |  | 2+ charge | Average 2+ Charge | 3+ charge | Average 3+ Charge
| TIYVRDPTSNK (647.3435 m/z) | TIYVRDPTSNK (431.8981 m/z) | TIY[+80]VRDPTSNK (687.3266) m/z) | TIY[+80]VRDP(C13N15)TSNK (458.5535) | TIY[+80]VRDP(C13N15)TSNK (690.3336 m/z) | TIY[+80]VRDP(C13N15)TSNK (460.5581 m/z) | unmodified Y32 contamination (%) | Ratio pY32/pY32* | Ratio pY32/pY32* | Ratio pY32/pY32* | Ratio pY32/pY32*
light 1_17363_CalCurv_Y32_unlabeleledvslabeled_pt1to1_01 Total Area | 0 | 0 | 1957513 | 1036170 | 15169367 | 3895261 | 0 | 0.12904 |  | 0.26601
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt1to1_02 Total Area | 0 | 9274 | 2370547 | 1317377 | 17299666 | 4586589 | 0 | 0.13703 |  | 0.28722
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt1to1_03 Total Area | 0 | 0 | 1519457 | 730277 | 11506972 | 2499886 | 0 | 0.13205 |  | 0.29212
[8 empty] | Average | 0.13271 | Average | 0.28179
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt25to1 Total Area | 8027 | 0 | 3724348 | 2102695 | 11203213 | 2929492 | 0.21553 | 0.33244 |  | 0.71777
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt25to1_02 Total Area | 0 | 8461 | 7343004 | 4170192 | 24871256 | 6647036 | 0 | 0.29524 |  | 0.62738
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt25to1_03 Total Area | 0 | 10308 | 5960194 | 2549349 | 18810826 | 4068770 | 0 | 0.31685 |  | 0.62657
[8 empty] | Average | 0.31484 | Average | 0.65724
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt5to1_02 Total Area | 8769 | 73520 | 15264996 | 8647706 | 20119340 | 5031444 | 0.057445 | 0.75872 |  | 1.7187
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt5to1_03 Total Area | 0 | 30360 | 12485975 | 7628062 | 17002988 | 3707056 | 0 | 0.73434 |  | 2.0577
[8 empty] | Average | 0.74653 | Average | 1.8882
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt6to1 Total Area | 0 | 0 | 5026813 | 2722965 | 6067188 | 1563543 | 0 | 0.82852 |  | 1.7415
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt6to1_02 Total Area | 0 | 22418 | 9563587 | 5557735 | 11299717 | 2952774 | 0 | 0.84636 |  | 1.8822
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt6to1_03 Total Area | 8844 | 0 | 6805242 | 3158064 | 8018540 | 1434270 | 0.12996 | 0.84869 |  | 2.2019
[8 empty] | Average | 0.84119 | Average | 1.9419
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt75to1 Total Area | 0 | 28543 | 10654720 | 6205758 | 8856206 | 2577098 | 0 | 1.2031 |  | 2.408
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt75to1_02 Total Area | 0 | 73431 | 17418312 | 11071268 | 14978067 | 4028294 | 0 | 1.1629 |  | 2.7484
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_pt75to1_03 Total Area | 0 | 47181 | 12040445 | 4926101 | 9948139 | 1935122 | 0 | 1.2103 |  | 2.5456
[8 empty] | Average | 1.1921 | Average | 2.5673
light 1_17363_CalCurv_Y32_unlabeleledvslabeled_1to1_01 Total Area | 9029 | 114450 | 27944070 | 14939321 | 20719820 | 4844149 | 0.032311 | 1.3487 |  | 3.084
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1to1_02 Total Area | 17871 | 129820 | 20574978 | 15129786 | 15121080 | 4425432 | 0.086858 | 1.3607 |  | 3.4188
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1to1_03 Total Area | 0 | 82468 | 13628982 | 5185678 | 9997455 | 1793019 | 0 | 1.3632 |  | 2.8921
[8 empty] | Average | 1.3575 | Average | 3.1317
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt25to1 Total Area | 0 | 78599 | 14199650 | 8695314 | 8226273 | 2233898 | 0 | 1.7261 |  | 3.8924
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt25to1_02 Total Area | 0 | 143775 | 25689320 | 19133464 | 13845922 | 4167463 | 0 | 1.8554 |  | 4.5912
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt25to1_03 Total Area | 8078 | 101049 | 16926492 | 10699387 | 9523678 | 2569254 | 0.047724 | 1.7773 |  | 4.1644
[8 empty] | Average | 1.7863 | Average | 4.216
light 1_17363_CalCurv_Y32_unlabeleledvslabeled_1pt5to1 | 0 | 0 | 354895 | 747727 | 143728 | 246002 | 0 | 2.4692 |  | 3.0395
light 1_17363_CalCurv_Y32_unlabeleledvslabeled_1pt5to1_01 | 46139 | 388707 | 48802240 | 24422872 | 20353610 | 4835519 | 0.094543 | 2.3977 |  | 5.0507
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt5to1 Total Area | 9873 | 169060 | 20533498 | 12483723 | 9209630 | 2036708 | 0.048082 | 2.2296 |  | 6.1294
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt5to1_02 Total Area | 8151 | 116422 | 34034768 | 23135498 | 14472300 | 4012583 | 0.023949 | 2.3517 |  | 5.7657
light 6_17363_CalCurv_Y32_unlabeleledvslabeled_1pt5to1_20190607195921 Total Area | 10799 | 164026 | 20428532 | 11854042 | 8908922 | 2375806 | 0.052862 | 2.293 |  | 4.9895
[8 empty] | Average | 2.3483 | Average | 4.995
Notes
|  |  | Average of Calibration Curve, 2+ Charge State Only |  |  | Numbers were generated from taking the average peak area ratios at a given molar ratio above. This calibration curve is more precise and %CV are lower. We will use this one for calculations. |  | Column H should only illustrate contamination of unmodified and/or the degradation of pY32 to unmodified Y32
|  |  | Molar Ratio [pY32/pY32*] | Peak Area Ratio (pY32/pY32*) | Standard Deviation
|  |  | 0.1 | 0.13271 | 0.004033
|  |  | 0.25 | 0.31484 | 0.018679
|  |  | 0.5 | 0.74653 | 0.017241
|  |  | 0.6 | 0.84119 | 0.01103
|  |  | 0.75 | 1.1921 | 0.025534 |  |  | Column I: Calculation takes the peak area of 2+ charge TIY[+80]VRDPTSNK (687.3266) m/z) and divides by peak area of 2+ of TIY[+80]VRDP(C13N15)TSNK (690.3336 m/z).
|  |  | 1 | 1.3575 | 0.0077848
|  |  | 1.25 | 1.7863 | 0.065083
|  |  | 1.5 | 2.3483 | 0.092499
Average of Calibration Curve, 3+ Charge State Only
|  |  | Molar Ratio [pY32/pY32*] | Peak Area Ratio (pY32/pY32*) | Standard Deviation
|  |  | 0.1 | 0.28179 | 0.013882
|  |  | 0.25 | 0.65724 | 0.052423
|  |  | 0.5 | 1.8882 | 0.2397
|  |  | 0.6 | 1.9419 | 0.23589
|  |  | 0.75 | 2.5673 | 0.1712
|  |  | 1 | 3.1317 | 0.26655
|  |  | 1.25 | 4.216 | 0.3522
|  |  | 1.5 | 4.995 | 1.1946

## Average Calibration Curve Graph
Calibration Curve for Macrophage Studies (2+ Charge)
[pY32/pY32*] Ratio | Peak Ratio | Standard Deviation | %CV
0.1 | 0.13271 | 0.004033 | 3.039
0.25 | 0.31484 | 0.018679 | 5.9327
0.5 | 0.74653 | 0.017241 | 2.3095
0.6 | 0.84119 | 0.01103 | 1.3113
0.75 | 1.1921 | 0.025534 | 2.1419
1 | 1.3575 | 0.0077848 | 0.57346
1.25 | 1.7863 | 0.065083 | 3.6435
1.5 | 2.3483 | 0.092499 | 3.9391

## 3+ Charge Cal.
Average of Calibration Curve, 3+ Charge State Only
Molar Ratio [pY32/pY32*] | Peak Area Ratio (pY32/pY32*) | Standard Deviation | %CV
0.1 | 0.28179 | 0.013882 | 4.9263
0.25 | 0.65724 | 0.052423 | 7.9763
0.5 | 1.8882 | 0.2397 | 12.6943
0.6 | 1.9419 | 0.23589 | 12.1476
0.75 | 2.5673 | 0.1712 | 6.6685
1 | 3.1317 | 0.26655 | 8.5116
1.25 | 4.216 | 0.3522 | 8.354
1.5 | 4.995 | 1.1946 | 23.9152