## Tabelle1
Rat neurons (Figure 3 I-L)
Different cells recorded with fresh pipette and twice with the same cleaned pipette | sample size |  |  | mean ± standard deviation |  |  | relative difference
| fresh pipette | 1x cleaned | 2x cleaned | fresh pipette | 1x cleaned | 2x cleaned | mean [90% confidence interval] |  | p-value
Resting membrane potential (mV) | 25 | 21 | 21 | -72.4 ± 5 | -72.7 ± 4.7 | -72.4 ± 4.7 | 0% [4% -3%] | 0% [3% -3%] | 0.15334
Input resistance (MΩ) | 25 | 21 | 21 | 81.3 ± 20.1 | 84.5 ± 13.4 | 83.6 ± 19.3 | 4% [-6% 14%] | 3% [-9% 15%] | 0.63722
Access resistance (MΩ) | 25 | 21 | 21 | 21.8 ± 7.9 | 23.8 ± 7.9 | 23.6 ± 7.4 | 9% [-9% 27%] | 8% [-9% 25%] | 0.34555
AP threshold (mV) | 25 | 21 | 21 | -42.9 ± 5.1 | -42.9 ± 3.6 | -43.6 ± 3.5 | 0% [5% -5%] | 2% [7% -3%] | 0.77991
AP amplitude (mV) | 25 | 21 | 21 | 85.3 ± 7.9 | 82.6 ± 8.2 | 82.6 ± 5.2 | -3% [-8% 1%] | -3% [-7% 1%] | 0.50981
AP half-width (ms) | 25 | 21 | 21 | 0.98 ± 0.23 | 0.98 ± 0.17 | 0.98 ± 0.28 | 0% [-10% 10%] | 1% [-12% 13%] | 0.27424
AP max. depolarisation rate (mV/ms) | 25 | 21 | 21 | 400 ± 102 | 379 ± 99 | 370 ± 83 | -5% [-18% 7%] | -8% [-19% 4%] | 0.83033
AP max. repolarisation rate (mV/ms) | 25 | 21 | 21 | -80.1 ± 19.8 | -79.1 ± 20.1 | -78.3 ± 16.3 | -1% [11% -13%] | -2% [9% -13%] | 0.87203
Spontaneous EPSP frequency (Hz) | 23 | 21 | 21 | 16.6 ± 7.4 | 17.6 ± 3.6 | 15.8 ± 4.5 | 6% [-12% 24%] | -5% [-24% 13%] | 0.8481
Spntaneous EPSP amplitude (mV) | 23 | 21 | 21 | 0.3 ± 0.09 | 0.32 ± 0.13 | 0.31 ± 0.11 | 5% [-13% 22%] | 3% [-13% 19%] | 0.70572
Human neurons (Figure 3-supplement figures 1-4)
Different cells recorded with fresh pipette and cleaned pipette (supplement figure 1) | sample size |  |  | mean ± standard deviation |  |  | relative difference
| fresh pipette | cleaned pipette |  | fresh pipette | cleaned pipette |  | mean [90% confidence interval] |  | p-value
Resting membrane potential (mV) | 24 | 9 |  | -75.6 ± 10.2 | -70.6 ± 10.8 |  | -7% [15% -2%] |  | 0.2493
Input resistance (MΩ) | 24 | 9 |  | 84.2 ± 27.5 | 77.7 ± 14.6 |  | -8% [-11% 27%] |  | 0.82406
Access resistance (MΩ) | 24 | 9 |  | 19.9 ± 8.7 | 22.3 ± 11.1 |  | 12% [-42% 18%] |  | 0.64203
AP threshold (mV) | 24 | 9 |  | -44.1 ± 6.9 | -42.5 ± 4.2 |  | -4% [13% -5%] |  | 0.55779
AP amplitude (mV) | 24 | 9 |  | 87.1 ± 8.2 | 83.8 ± 9.3 |  | -4% [-3% 10%] |  | 0.30265
AP half-width (ms) | 24 | 9 |  | 1.03 ± 0.21 | 1.07 ± 0.12 |  | 4% [-16% 8%] |  | 0.76176
AP max. depolarisation rate (mV/ms) | 24 | 9 |  | 324 ± 69 | 283 ± 57 |  | -13% [0% 26%] |  | 0.11033
AP max. repolarisation rate (mV/ms) | 24 | 9 |  | -75.9 ± 16.5 | -69.8 ± 6.8 |  | -8% [20% -4%] |  | 0.55779
Same cells recorded with fresh pipette and repatched with same cleaned pipette (supplement figure 2)
| sample size |  |  | mean ± standard deviation |  |  | relative difference
| fresh pipette | clean & repatch |  | before repatch | clean & repatch |  | mean [90% confidence interval] |  | p-value
Resting membrane potential (mV) | 9 | 9 |  | -76.8 ± 4.4 | -75.9 ± 8.2 |  | -1% [8% -6%] |  | 0.49609
Input resistance (MΩ) | 9 | 9 |  | 83.2 ± 38.1 | 62.3 ± 20.2 |  | -25% [-3% 54%] |  | 0.0078125
Access resistance (MΩ) | 9 | 9 |  | 25.9 ± 14.1 | 20.6 ± 6.4 |  | -20% [-12% 53%] |  | 0.35938
AP threshold (mV) | 9 | 9 |  | -42.5 ± 5.7 | -43.4 ± 8.3 |  | 2% [11% -15%] |  | 1
AP amplitude (mV) | 9 | 9 |  | 84 ± 8.1 | 78.1 ± 7.9 |  | -7% [0% 14%] |  | 0.097656
AP half-width (ms) | 9 | 9 |  | 0.99 ± 0.19 | 0.98 ± 0.13 |  | -1% [-11% 14%] |  | 0.57031
AP max. depolarisation rate (mV/ms) | 9 | 9 |  | 321 ± 72 | 277 ± 63 |  | -14% [-3% 30%] |  | 0.20312
AP max. repolarisation rate (mV/ms) | 9 | 9 |  | -79.2 ± 15.6 | -72.8 ± 8.8 |  | -8% [20% -4%] |  | 0.25
Same cells recorded with fresh pipette and repatched with another fresh pipette (supplement figure 3)
| sample size |  |  | mean ± standard deviation |  |  | relative difference
| fresh pipette | fresh repatch |  | before repatch | fresh repatch |  | mean [90% confidence interval] |  | p-value
Resting membrane potential (mV) | 5 | 5 |  | -75.6 ± 10.2 | -70.6 ± 10.8 |  | -2% [13% -8%] |  | 0.625
Input resistance (MΩ) | 5 | 5 |  | 84.2 ± 27.5 | 77.7 ± 14.6 |  | -7% [-14% 28%] |  | 0.8125
Access resistance (MΩ) | 5 | 5 |  | 19.9 ± 8.7 | 22.3 ± 11.1 |  | 12% [-60% 37%] |  | 0.625
AP threshold (mV) | 5 | 5 |  | -44.1 ± 6.9 | -42.5 ± 4.2 |  | 3% [17% -23%] |  | 1
AP amplitude (mV) | 5 | 5 |  | 87.1 ± 8.2 | 83.8 ± 9.3 |  | -3% [-6% 11%] |  | 0.625
AP half-width (ms) | 5 | 5 |  | 1.03 ± 0.21 | 1.07 ± 0.12 |  | 7% [-20% 5%] |  | 0.3125
AP max. depolarisation rate (mV/ms) | 5 | 5 |  | 324 ± 69 | 283 ± 57 |  | -12% [-9% 32%] |  | 0.4375
AP max. repolarisation rate (mV/ms) | 5 | 5 |  | -75.9 ± 16.5 | -69.8 ± 6.8 |  | -8% [22% -5%] |  | 0.4375
Same neurons recorded in fresh ACSF and in ACSF after cleaning (supplement figure 3) | sample size |  |  | mean ± standard deviation |  |  | relative difference
| fresh ACSF | after clean |  | fresh ACSF | ACSF after clean |  | mean [90% confidence interval] |  | p-value
Resting membrane potential (mV) | 19 | 19 |  | -72.6 ± 4 | -73.8 ± 6.7 |  | 2% [2% -6%] |  | 0.18418
Input resistance (MΩ) | 19 | 19 |  | 62.5 ± 16.9 | 77 ± 26.3 |  | 23% [-42% -4%] |  | < 0.001
Access resistance (MΩ) | 19 | 19 |  | 21.8 ± 10.4 | 26.9 ± 21.4 |  | 24% [-65% 18%] |  | 0.25984
AP threshold (mV) | 19 | 19 |  | -41.4 ± 4.9 | -40.5 ± 9 |  | -2% [12% -7%] |  | 0.57317
AP amplitude (mV) | 19 | 19 |  | 78.9 ± 9.1 | 77.7 ± 9.1 |  | -2% [-5% 8%] |  | 0.19783
AP half-width (ms) | 19 | 19 |  | 0.83 ± 0.15 | 0.83 ± 0.16 |  | -1% [-9% 11%] |  | 0.89604
AP max. depolarisation rate (mV/ms) | 19 | 19 |  | 318 ± 80 | 312 ± 78 |  | -2% [-11% 15%] |  | 0.29542
AP max. repolarisation rate (mV/ms) | 19 | 19 |  | -93.4 ± 16 | -93.2 ± 19 |  | 0% [10% -10%] |  | 0.54609