Supplementary file 1. Cryo-EM data acquisition and refinement parameters.

| Sample | E |  | TraR-E70(I) | TraR-E70(II) | TraR-E70(III) |  | rpsT P2-RPo | rpsT P2-RPo2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMDB | EMD-20230 |  | EMD-0348 | EMD-0349 | EMD-20231 |  | EMD-20203 | EMD-20232 |
| PDB | 6P1K |  | 6N57 | 6N58 | - |  | 6OUL | - |
| Data collection and processing |  |  |  |  |  |  |  |  |
| Microscope | Talos Arctica |  | FEI Titan Krios |  |  |  | FEI Titan Krios |  |
| Voltage (kV) | 200 |  | 300 |  |  |  | 300 |  |
| Detector | K2 summit |  | K2 summit |  |  |  | K2 summit |  |
| Electron exposure (e–/Å2) | 37.3 |  | 71 |  |  |  | 47.3 |  |
| Defocus range (μm) | 1.0-2.5 |  | 0.8-2.4 |  |  |  | 0.5-2.5 |  |
| Data collection mode | Counting |  | Counting |  |  |  | Super-resolution |  |
| Nominal Magnification | 28,000x |  | 22,500x |  |  |  | 22,500x |  |
| Pixel size (Å) | 1.5 |  | 1.3 |  |  |  | 1.3 |  |
| Symmetry imposed | C1 |  | C1 |  |  |  | C1 |  |
| Initial particle images (no.) | 1387166 |  | 101,0867 |  |  |  | 973,481 |  |
| Final particle images (no.) | 358,725 |  | 153,295 | 123,607 | 95,767 |  | 289,670 | 46,378 |
| Map resolution (Å) - FSC threshold 0.143 | 4.05 |  | 3.7 | 3.78 | 3.91 |  | 3.43 | 3.91 |
| Map resolution range (Å) | 3.4-8.5 |  | 3.1-7.0 | 3.2-7.0 | 3.5-8.5 |  | 3.3-8.0 | 2.9-8.8 |
| Refinementc |  |  |  |  |  |  |  |  |
| Initial model used (PDB code) | 4LJZ (E1.170)a 4LK1 (701.1)a |  | 4LJZ (E1.170)a 4LK1 (701.1)a 5W1S (TraR)b |  |  |  | 4LJZ (E1.170)a |  |
| Map sharpening B factor (Å2) | -194 |  | -95 | -94 | -79 |  | -95 | -66 |
| Model composition |  |  |  |  |  |  |  |  |
| Non-hydrogen atoms | 29,160 |  | 30,124 | 30,188 |  |  | 31,926 |  |
| Protein residues | 3,714 |  | 3,841 | 3,833 |  |  | 3,751 |  |
| Nucleic acid residues | 0 |  | 0 | 0 |  |  | 117 |  |
| Ligands | 1 Mg2+ 2 Zn2+ |  | 1 Mg2+ 3 Zn2+ 4 CHAPSO | 1 Mg2+ 3 Zn2+ 4 CHAPSO |  |  | 1 Mg2+ 2 Zn2+ 3 CHAPSO |  |
| B factors (Å2) |  |  |  |  |  |  |  |  |
| Protein | 37.68 |  | 47.80 | 39.95 |  |  | 36.90 |  |
| Nucleic acid | - |  | - | - |  |  | 106.08 |  |
| Ligands | 49.76 |  | 51.05 | 42.64 |  |  | 34.18 |  |
| R.m.s. deviations |  |  |  |  |  |  |  |  |
| Bond lengths (Å) | 0.008 |  | 0.011 | 0.012 |  |  | 0.014 |  |
| Bond angles (°) | 1.131 |  | 1.062 | 1.147 |  |  | 1.130 |  |
| Validation |  |  |  |  |  |  |  |  |
| MolProbity score | 1.75 |  | 2.19 | 2.14 |  |  | 2.07 |  |
| Clashscore | 3.60 |  | 9.67 | 8.96 |  |  | 8.43 |  |
| Poor rotamers (%) | 0.66 |  | 0.25 | 0.37 |  |  | 0.31 |  |
| Ramachandran plot |  |  |  |  |  |  |  |  |
| Favored (%) | 88.16 |  | 83.86 | 84.92 |  |  | 87.50 |  |
| Disallowed (%) | 0.16 |  | 0.29 | 0.37 |  |  | 0.27 |  |

a(Bae et al., 2013)

b(Molodtsov et al., 2018)

cRefinement: PHENIX real_space_refine (Adams et al., 2010). Validation: MOLPROBITY (Chen et al., 2010).