|  | Physical diameter (mm) | UV power at the back focal plane of the objective (mW)* |
| --- | --- | --- |
| f1 | 0.2 | 0.07 |
| f2 | 0.6 | 1.25 |
| f3 | 2 | 4.7 |
| f4 | 4 | 7.8 |
| f5 | 4 | 9.46 |

Supplementary File 2

Physical diameter of the optical fibers, and UV light power measured at the back focal plane of the objective.

*Typically, there is an extra 20% loss of light power between the back focal plane of the objective and the sample, due to scattering within the optics.