Table S1: Cryo-EM data collection

|  |  |
| --- | --- |
| Electron Microscope | Titan Krios |
| Camera | K2 Summit (counting mode) |
| Voltage | 300 kV |
| Energy filter slit width | 20 eV |
| Nominal Magnification | 130,000 x |
| Calibrated pixel size | 1.05 Å |
| Total exposure | 36.3 electrons/Å2 |
| Exposure rate | 4 electrons/(pixel · s) |
| Number of frames | 20 |
| Defocus range | −1.6 to −3.6 μm |