# Supplementary file 4

Approaching boiling point stability of an alcohol dehydrogenase through computationally-guided enzyme engineering

Friso S. Aalbers, Maximilian J. L. J. Fürst, Stefano Rovida, Milos Trajkovic, J. Rubén Gómez Castellanos, Sebastian Bartsch, Andreas Vogel, Andrea Mattevi, and Marco W. Fraaije

Supplementary file 4A. Settings for GC and HPLC

GC:

Column: Chirasil-DEX CB column (25 m × 0.25 mm)

Injector temperature: 250°C

Detector temperature: 250°C

Column temperature: 110°C kept for 2 min, 2°C/min increased to 126°C, kept for 5 min, and

then 2°C/min increased to 160°C

Injection volume: 1 μL

Split ratio: 50

Retention times: ketone (8.363 min), (R)-alcohol (12.500 min), (S)-alcohol (12.563 min)

HPLC:

Column: Chiralcel OD-H column (4.6 mm × 250 mm)

Detector wavelength: 254 nm

Mobile phase: n-Heptane/isopropanol (95/5)

Flow rate: 1 mL/min

Injection volume: 10 μL

Retention times: ketone (5.140 min), (R)-alcohol (8.905 min), (S)-alcohol (8.179 min).

Supplementary file 4B. GC chromatograms for ethyl-4-chloro-3-oxobutanoate (COBA)

Order of chromatograms: CTRL – substrate in the buffer, PTDH – substrate with everything except ADH, WT – reaction with ADHA wildtype, M9F – reaction with ADHA M9*, R-CHBE – Ethyl (R)-(+)-4-chloro-3-hydroxybutyrate commercial standard, S-CHBE – Ethyl (S)-(−)-4-chloro-3-hydroxybutyratecommercial standard.

Overlaid GC chromatograms for ethyl-4-chloro-3-oxobutanoate (COBA) – WT (green), M9* (purple), R-CHBE (red) and S-CHBE (blue).

Supplementary file 4C. HPLC chromatograms for 4-chloroacetophenone (4-CAP)

Order of chromatograms: A – substrate in the buffer, B – substrate with everything except ADH, C – reaction with ADHA wildtype, D – reaction with ADH M9*, E – (R)-1-(4-Chlorophenyl)ethanol standard, F – (S)-1-(4-Chlorophenyl)ethanol standard, G – Racemic 1-(4-Chlorophenyl)ethanol standard.

A – Substrate in the buffer (control)

B – Substrate with everything except ADH

C – Reaction with ADHA wildtype

D – Reaction with ADH M9*

E – (R)-1-(4-Chlorophenyl)ethanol standard

F – (S)-1-(4-Chlorophenyl)ethanol standard

G – Racemic 1-(4-chloro)-phenylethanol standard