## Calibration curves
Cal | PGF1a |  | PGF2a |  | PGF3a |  | PGE2 |  | PGE1 |  | PGD2 |  | 13, 14-dihydro-PGF2a |  | PGA2 |  | 8-iso-13, 14-dihydro-PGF2a |  | 8-iso-PGF2a |  | 8-iso-PGE2 |  | 8-iso-PGE1 |  | 5-iPF2a |  | 8, 12-iPF2a IV |  | LPA C14_0 |  | LPA C16_1 |  | LPA C22_6 |  | LPA C18_2 |  | LPA C20_4 |  | LPA C22_5 |  | LPA C16_0 |  | LPA C18_1 |  | cLPA C20_4 |  | LPA C18_0 |  | cLPA C16_0 |  | cLPA C18_0 |  | S-1-P C18_1 |  | Sph C18_1 |  | Spha C18_0 |  | PAF C16_0
| Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio | Concentration (nM) | Area ratio
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [12 empty] | 0 | 0 |  |  |  |  | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0.20833 | 0.00096715 | 0.20833 | 0.018061 | 0.20833 | 0.00032045 | 0.20833 | 0.0086624 | 0.20833 | 0.00070542 | 0.20833 | 0.0011973 | 0 | 0 | 0.20833 | 0.00033652 | 0.20833 | 0.00094805 | 0.20833 | 0.00011079 | 0.20833 | 0.0074273 | 0.20833 | 0.011159 | 0.20833 | 0.00048758 | 0.20833 | 0.00057564 | NA | 0 | NA | 0 | NA | 0 | NA | 0 | 0 | 0 | NA | 0 | 9.375 | 0.0034876 | 0 | 0 | NA | 0 | 10.4167 | 0.010128 | NA | 0.00055783 | NA | 0.001562 | 31.25 | 0.001658 | 37.5 | 2.9359 | 37.5 | 0.56484 | 5.2083 | 0.04315
2 | 0.41667 | 0.029711 | 0.41667 | 0.03135 | 0.41667 | 0.0046587 | 0.41667 | 0.084905 | 0.41667 | 0.10054 | 0.41667 | 0.016838 | 0.3275 | 0.008781 | 0.41667 | 0.17037 | 0.41667 | 0.016247 | 0.41667 | 0.020474 | 0.41667 | 0.072432 | 0.41667 | 0.16071 | 0.41667 | 0.018208 | 0.41667 | 0.0011461 | NA | 3.1707e-05 | NA | 4.3515e-05 | NA | 0.00010684 | NA | 0.0004083 | 18.75 | 0.014892 | NA | 0.00011168 | 18.75 | 0.017796 | 25 | 0.0017504 | NA | 0 | 20.8333 | 0.02343 | NA | 0.0006218 | NA | 0.0013369 | 62.5 | 0.07951 | 75 | 44.3695 | 75 | 29.0899 | 10.4167 | 0.084383
3 | 0.83333 | 0.071247 | 0.83333 | 0.052017 | 0.83333 | 0.010654 | 0.83333 | 0.17248 | 0.83333 | 0.24362 | 0.83333 | 0.037922 | 0.655 | 0.020195 | 0.83333 | 0.38447 | 0.83333 | 0.037489 | 0.83333 | 0.049675 | 0.83333 | 0.18227 | 0.83333 | 0.38448 | 0.83333 | 0.040119 | 0.83333 | 0.0025953 | NA | 4.0283e-05 | NA | 8.8399e-05 | NA | 2.3118e-05 | NA | 0.00044443 | 37.5 | 0.03606 | NA | 0.00017077 | 37.5 | 0.038296 | 50 | 0.0016011 | NA | 0 | 41.6667 | 0.04161 | NA | 0.00035367 | NA | 0.0017389 | 125 | 0.1937 | 150 | 101.0827 | 150 | 70.7809 | 20.8333 | 0.16268
4 | 1.6667 | 0.13997 | 1.6667 | 0.080881 | 1.6667 | 0.021762 | 1.6667 | 0.333 | 1.6667 | 0.47518 | 1.6667 | 0.069654 | 1.31 | 0.037829 | 1.6667 | 0.83394 | 1.6667 | 0.065198 | 1.6667 | 0.097279 | 1.6667 | 0.3489 | 1.6667 | 0.77827 | 1.6667 | 0.083137 | 1.6667 | 0.0036923 | NA | 5.0475e-05 | NA | 9.8539e-05 | NA | 9.5505e-05 | NA | 0.00067897 | 75 | 0.065569 | NA | 7.9192e-05 | 75 | 0.067042 | 100 | 0.0022879 | NA | 0 | 83.3333 | 0.071892 | NA | 0.00055332 | NA | 0.0012572 | 250 | 0.37308 | 300 | 214.0101 | 300 | 144.3062 | 41.6667 | 0.29346
5 | 3.3333 | 0.2637 | 3.3333 | 0.13361 | 3.3333 | 0.041859 | 3.3333 | 0.62293 | 3.3333 | 0.84803 | 3.3333 | 0.12429 | 2.62 | 0.071665 | 3.3333 | 1.4835 | 3.3333 | 0.1276 | 3.3333 | 0.18231 | 3.3333 | 0.60595 | 3.3333 | 1.3018 | 3.3333 | 0.14128 | 3.3333 | 0.004359 | NA | 0.00012949 | NA | 4.4523e-05 | NA | 9.0501e-05 | NA | 0.0003883 | 150 | 0.12833 | NA | 8.763e-05 | 150 | 0.12628 | 200 | 0.0031229 | NA | 0.00010639 | 166.6667 | 0.12576 | NA | 0.00077061 | NA | 0.0015841 | 500 | 0.72384 | 600 | 344.5078 | 600 | 233.2186 | 83.3333 | 0.51603
6 | 6.6667 | 0.60548 | 6.6667 | 0.28058 | 6.6667 | 0.095394 | 6.6667 | 1.3889 | 6.6667 | 1.7763 | 6.6667 | 0.25673 | 5.24 | 0.14811 | 6.6667 | 3.1152 | 6.6667 | 0.2517 | 6.6667 | 0.40104 | 6.6667 | 1.251 | 6.6667 | 2.8256 | 6.6667 | 0.30048 | 6.6667 | 0.0053128 | NA | 0.00031147 | NA | 6.3483e-05 | NA | 4.7353e-05 | NA | 0.00081334 | 300 | 0.28758 | NA | 0.00012169 | 300 | 0.28613 | 400 | 0.0066529 | NA | 0.00014456 | 333.3333 | 0.28533 | NA | 0.00072994 | NA | 0.0017083 | 1000 | 1.5826 | 1200 | 731.7111 | 1200 | 502.8646 | 166.6667 | 1.135
7 | 13.3333 | 1.1661 | 13.3333 | 0.51848 | 13.3333 | 0.17559 | 13.3333 | 2.7079 | 13.3333 | 3.9074 | 13.3333 | 0.53216 | 10.48 | 0.2439 | 13.3333 | 5.8347 | 13.3333 | 0.42055 | 13.3333 | 0.79318 | 13.3333 | 2.1829 | 13.3333 | 5.4858 | 13.3333 | 0.62096 | 13.3333 | 0.012149 | NA | 0.00040603 | NA | 0.00012593 | NA | 9.2312e-05 | NA | 0.0012827 | 600 | 0.56179 | NA | 0.00012586 | 600 | 0.55847 | 800 | 0.010516 | NA | 0.00026053 | 666.6667 | 0.57394 | NA | 0.00074142 | NA | 0.0021636 | 2000 | 3.2118 | 2400 | 1492.9149 | 2400 | 1273.9236 | 333.3333 | 2.1618
8 | 26.6667 | 2.1519 | 26.6667 | 0.9776 | 26.6667 | 0.34895 | 26.6667 | 5.3299 | 26.6667 | 7.5571 | 26.6667 | 0.90738 | 20.96 | 0.38653 | 26.6667 | 9.908 | 26.6667 | 0.70708 | 26.6667 | 1.613 | 26.6667 | 3.3801 | 26.6667 | 9.2631 | 26.6667 | 1.2185 | 26.6667 | 0.023167 | NA | 0.00077509 | NA | 0.00018274 | NA | 9.2742e-05 | NA | 0.0023173 | 1200 | 1.0426 | NA | 0.00017352 | 1200 | 1.041 | 1600 | 0.019821 | NA | 0.00049305 | 1333.3333 | 1.104 | NA | 0.00091557 | NA | 0.0020957 | 4000 | 5.6412 | 4800 | 2789.6782 | 4800 | 2077.9477 | 666.6667 | 4.2902
9 | 53.3333 | 4.3987 | 53.3333 | 1.925 | 53.3333 | 0.68951 | 53.3333 | 12.208 | 53.3333 | 18.8214 | 53.3333 | 2.1603 | 41.92 | 0.60514 | 53.3333 | 18.3945 | 53.3333 | 1.0642 | 53.3333 | 2.9462 | 53.3333 | 4.5057 | 53.3333 | 13.6802 | 53.3333 | 2.3192 | 53.3333 | 0.055613 | NA | 0.0013465 | NA | 0.00019913 | NA | 0.00049853 | NA | 0.0028461 | 2400 | 1.9476 | NA | 0 | 2400 | 1.9656 | 3200 | 0.041212 | NA | 0.0017851 | 2666.6667 | 2.2344 | NA | 0.0018161 | NA | 0.0038141 | 8000 | 11.9692 | 9600 | 4133.4562 | 9600 | 3845.0906 | 1333.3333 | 8.9891