| Data collection |  |  |  |  |
| --- | --- | --- | --- | --- |
| Microscope | Titan Krios |  |  |  |
| High Tension / kV | 300 |  |  |  |
| Pixel size, unbinned / Å | 1.065 |  |  |  |
| Spherical aberration / mm | 2.7 |  |  |  |
| Nominal magnification | 75000 |  |  |  |
| Nominal defocus / m | 0.5–2.5 |  |  |  |
| Detector (mode) | Falcon 3EC (integrating) |  |  |  |
| Accumulated dose / eÅ-2 | 99 |  |  |  |
| Refinement and model statistics |  |  |  |  |
| Symmetry | C12 |  |  |  |
| Resolution (FSC 0.143) | 3.74 |  |  |  |
| Map-to-model correlation | 0.835 |  |  |  |
| MolProbity score | 1.36 |  |  |  |
| EMRinger score | 2.56 |  |  |  |
| RMS deviations |  |  |  |  |
| Bond lengths / Å | 0.005 |  |  |  |
| Bond angles / o | 0.842 |  |  |  |
| Ramachandran plot / % |  |  |  |  |
| Favored | 94.62 |  |  |  |
| Allowed | 5.38 |  |  |  |
| Outlier | 0.00 |  |  |  |