## Sheet1
Data collection and processing
| Apo-BBSome | BBSome-ARL6 complex
|  | Dataset1 | Dataset2
Microscope | Titan Krios (FEI) | Titan Krios (FEI) | Titan Krios (FEI)
Voltage (kV) | 300 | 300 | 300
Detector | K2 Summit (Gatan) | K2 Summit (Gatan) | K3 (Gatan)
Pixel size (Å) | 1.3 | 1 | 1.08
Magnification | 22500 | 28000 | 64000
Defocus range (µm) | 1.5 to 3.0 | 1.5 to 2.5 | 1.5 to 2.5
Total dose (electrons/Å2) | 80 | 75.2 | 51.4
Particles for final reconstruction (no.) | 560777 | 209646
Symmetry imposed | C1 | C1
Map resolution at 0.143 FSC threshold (Å) | 3.4 | 4
Model refinement
Map sharpening B factor (Å2) | -108 | -120
No. protein residues | 3831 | 3958
No. atoms: protein | 27486 | 26824
B factors | 56.11 | 50.36
R.m.s. deviations
Bond lengths (Å) | 0.005 | 0.005
Bond angles (°) | 1.118 | 1.114
Validation
Molprobity score | 2.36 | 2.32
Clashscore | 13.29 | 13.72
Poor rotamers (%) | 2.05 | 1.57
Ramachandran plot (%)
Favored/Allowed/Outliers | 91.74/8.12/0.13 | 90.72/8.77/0.51