| Protein | wild type |  |  |  |  | R4753K |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EMDB accession number | EMD-10429 |  |  |  |  | EMD-10430 |  |  |  |  |
| PDB accession number | 6TAX |  |  |  |  | 6TAY |  |  |  |  |
| Imaging |  |  |  |  |  |  |  |  |  |  |
| Microscope | Titan Krios G3 |  |  |  |  | Titan Krios G3 |  |  |  |  |
| Detector | Gatan K2 |  |  |  |  | Gatan K2 |  |  |  |  |
| Acceleration Voltage (keV) | 300 |  |  |  |  | 300 |  |  |  |  |
| total exposure per movie (e/Å2) | 59.89 |  |  |  |  | 47.29 |  |  |  |  |
| number of frames per movie | 40 |  |  |  |  | 40 |  |  |  |  |
| pixel size (Å) | 1.04 |  |  |  |  | 1.04 |  |  |  |  |
| nominal magnification | 130kx |  |  |  |  | 130kx |  |  |  |  |
| defocus-range (µm) | –1.5 to –3.5 |  |  |  |  | –0.8 to –2.0 |  |  |  |  |
| collection software | SerialEM |  |  |  |  | SerialEM |  |  |  |  |
| micrographs collected | 4749 |  |  |  |  | 6561 |  |  |  |  |
| Reconstruction |  |  |  |  |  |  |  |  |  |  |
| refinement software | relion v3.0 |  |  |  |  | relion v3.0 |  |  |  |  |
| particles used in reconstruction | 374683 |  |  |  |  | 426312 |  |  |  |  |
| Box size | 352 |  |  |  |  | 352 |  |  |  |  |
| Symmetry imposed | C1 |  |  |  |  | C1 |  |  |  |  |
| Region | overall | AAA | E3 half1 | E3 half2 | N-arm | overall | AAA | E3 half1 | E3 half2 | N-arm |
| Accuracy of rotation (degrees) | 1.2 | 1.2 | 3.6 | 3.4 | 2.7 | 1.0 | 1.0 | 2.5 | 1.9 | 1.7 |
| Accuracy of translation (pixels) | 0.6 | 0.6 | 1.8 | 1.5 | 1.5 | 0.5 | 0.5 | 1.1 | 0.8 | 1.1 |
| Fourier completeness | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 |
| Resolution at FSC=0.143 (Å) | 3.2 | 3.1 | 3.3 | 3.3 | 3.3 | 3.2 | 2.9 | 3.3 | 2.9 | 3.1 |
| Resolution at FSC=0.5 (Å) | 3.6 | 3.4 | 3.7 | 3.7 | 3.7 | 3.5 | 3.2 | 3.7 | 3.2 | 3.3 |