|  |  |  |
| --- | --- | --- |
| Protein | wild type | R4753K |
| EMDB accession number | EMD-10429 | EMD-10430 |
| PDB accession number | 6TAX | 6TAY |
| Imaging |
| Microscope | Titan Krios G3 | Titan Krios G3 |
| Detector | Gatan K2 | Gatan K2 |
| Acceleration Voltage (keV) | 300 | 300 |
| total exposure per movie (e/Å2) | 59.89 | 47.29 |
| number of frames per movie | 40 | 40 |
| pixel size (Å) | 1.04 | 1.04 |
| nominal magnification | 130kx | 130kx |
| defocus-range (µm) | –1.5 to –3.5 | –0.8 to –2.0 |
| collection software | SerialEM | SerialEM |
| micrographs collected | 4749 | 6561 |
| Reconstruction |
| refinement software | relion v3.0 | relion v3.0 |
| particles used in reconstruction | 374683 | 426312 |
| Box size | 352 | 352 |
| Symmetry imposed | C1 | C1 |
| Region | overall | AAA | E3 half1 | E3 half2 | N-arm | overall | AAA | E3 half1 | E3 half2 | N-arm |
| Accuracy of rotation (degrees) | 1.2 | 1.2 | 3.6 | 3.4 | 2.7 | 1.0 | 1.0 | 2.5 | 1.9 | 1.7 |
| Accuracy of translation (pixels) | 0.6 | 0.6 | 1.8 | 1.5 | 1.5 | 0.5 | 0.5 | 1.1 | 0.8 | 1.1 |
| Fourier completeness | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 | 1.0 |
| Resolution at FSC=0.143 (Å) | 3.2 | 3.1 | 3.3 | 3.3 | 3.3 | 3.2 | 2.9 | 3.3 | 2.9 | 3.1 |
| Resolution at FSC=0.5 (Å) | 3.6 | 3.4 | 3.7 | 3.7 | 3.7 | 3.5 | 3.2 | 3.7 | 3.2 | 3.3 |