## Pubmed IDs
Supplemental File 1
|  |  | Equilibrium established? |  |  |  |  | Titration accounted for?
PubMed ID | Method | Year | Y/N | Time systematically varied (incl. kinetics) | Only techniques with intrinsic time monitoring used (ITC, SPR) | Time (if single time), min | Comments | Y/N | Limiting concentration systematically varied | Quadratic equation (incl. ITC) | Lowest Kd >> lmiting concentration | SPR only | Ratio of lowest Kd to limiting concentration |  | Comments
[13 empty] | hyperbolic fit | quadratic fit
19278996 | Fluorescence anisotropy | 2009 | N |  |  | n.r. |  | N |  |  |  |  | n.r.
11792322 | Nitrocellulose filter binding | 2002 | N |  |  | n.r. |  | N |  |  |  |  | n.r.
15146079 | Nitrocellulose filter binding | 2002 | N |  |  | n.r. |  | N |  |  |  |  | n.r.
10090750 | Nitrocellulose filter binding | 1999 | N |  |  | 15 |  | N |  |  |  |  | n.r.
25692237 | Fluorescence anisotropy | 2014 | N |  |  | 10 | Although koff was independently measured, the incubation time for Kd determination was less than t1/2 | N |  |  |  |  | 0.45 |  | Only the Kd derived by varying [Protein] in the presence of constant labeled RNA was eveluated. The also reported orthogonal experiment in which varying concentrations of labeled RNA were added to high (>Kd(app)) constant protein is incompatible with Kd determination.
23519609 | Native gel shift | 2013 | N |  |  | 20 | Time is based on a referenced study for the same protein (15–20 min) | N |  |  |  |  | 0.084
15907938 | Isothermal titration calorimetry, native gel shift | 2005 | N |  |  | 30 |  | N |  | X |  |  | 0.093 | 0.0062
11735341 | Nitrocellulose filter binding | 2001 | N |  |  | n.r. |  | N |  |  |  |  | 0.5 |  | Ratio is based on the reported upper limit of labeled RNA concentration. The Kd was determined by competition
15489861 | Trypthophan fluorescence titration | 2004 | N |  |  | n.r. |  | N |  |  |  |  | 1.08
27376588 | Fluorescence anisotropy | 2016 | N |  |  | n.r. |  | N |  |  |  |  | 1.4
25512524 | Fluorescence anisotropy | 2014 | N |  |  | 60 |  | N |  |  |  |  | 1.7
11842104 | Nitrocellulose filter binding | 2001 | N |  |  | 60 |  | N |  |  |  |  | 2
23519412 | Fluorescence anisotropy | 2013 | N |  |  | n.r. |  | N |  |  |  |  | 2.1
8313877 | Nitrocellulose filter binding | 1994 | N |  |  | 0.25 | Time is based on a referenced study | N |  |  |  |  | 3.3
25368328 | Fluorescence anisotropy | 2014 | N |  |  | 180 |  | N |  |  |  |  | 3.6
10881199 | Native gel shift | 2000 | N |  |  | 15 |  | N |  |  |  |  | 3.9
19369425 | Native gel shift | 2009 | N |  |  | 30 |  | N |  |  |  |  | 4.3
9016560 | Nitrocellulose filter binding | 1997 | N |  |  | 20 | 10 min on ice + 10 min at 37 ˚C | N |  |  |  |  | 4.8 |  | Ratio reflects the lowest directly measuered Kd; the lowest Kd measured by competition was 2-fold higher than [RNA*]
15033352 | Native gel shift, surface plasmon resonance | 2004 | N |  |  | 30 | Although binding kinetics for the same constructs were measured by SPR, native gel shift incubation was performed at a lower temperature (on ice instead of at room temperature), potentially preventing equilibration; binding curves not shown | N |  |  |  |  | 5
20573244 | Fluorescence anisotropy, native gel shift | 2010 | N |  |  | 180 |  | N |  |  |  |  | 5
22965117 | Fluorescence anisotropy | 2012 | N |  |  | n.r. |  | N |  |  |  |  | 5.4
22705372 | Isothermal titration calorimetry, native gel shift | 2012 | N |  |  | 30 |  | N |  | X |  |  | 6 | 0.0072
26487722 | Native gel shift | 2015 | N |  |  | 30 |  | N |  |  |  |  | 7
10811881 | Native gel shift, nitrocellulose filter binding | 2000 | N |  |  | 10 |  | N |  |  |  |  | 8
12269812 | Nitrocellulose filter binding | 2002 | N |  |  | 90 |  | Y |  |  | X |  | 10
18952820 | Fluorescence anisotropy, native gel shift | 2008 | Y | X |  | 180 | koff measurements indicate sufficient time for equilibration | Y |  |  | X |  | 13
24882207 | Nitrocellulose filter binding | 2014 | N |  |  | 20 |  | Y |  |  | X |  | 14
12858164 | Fluorescence anisotropy | 2003 | N |  |  | 10 |  | Y |  |  | X |  | 14
18066080 | Native gel shift | 2008 | N |  |  | 120 |  | Y |  |  | X |  | 16
19264640 | Nitrocellulose filter binding | 2009 | N |  |  | 15 |  | Y |  |  | X |  | 19
20946981 | Fluorescence anisotropy | 2010 | N |  |  | n.r. |  | Y |  |  | X |  | 20
12093755 | Fluorescence anisotropy | 2002 | N |  |  | 0.25 |  | Y |  |  | X |  | 20
17717080 | Nitrocellulose filter binding | 2007 | N |  |  | 30 |  | Y |  |  | X |  | 22
22467831 | Native gel shift | 2012 | N |  |  | n.r. |  | Y |  |  | X |  | 27
27594427 | Nitrocellulose filter binding | 2016 | N |  |  | 10 |  | Y |  |  | X |  | 30
21372189 | Native gel shift | 2011 | N |  |  | 30 |  | Y |  |  | X |  | 30
14697199 | Native gel shift | 2003 | N |  |  | 60 | 45–60 mn | Y |  |  | X |  | 32
9814759 | Native gel shift | 1998 | N |  |  | 30 | Only bimolecular interactions were evaluated for the survey | Y |  |  | X |  | 33 |  | Only bimolecular interactions were evaluated for the survey
24014033 | Native gel shift | 2013 | N |  |  | 180 |  | Y |  |  | X |  | 37
20097654 | Isothermal titration calorimetry, fluorescence spectroscopy | 2010 | N |  |  | n.r. |  | Y |  | X | X |  | 38 | 0.3
7937087 | Native gel shift | 1994 | N |  |  | 60 |  | Y |  |  | X |  | 40
18162543 | Nitrocellulose filter binding | 2008 | N |  |  | 30 |  | Y |  |  | X |  | 43
17041599 | Native gel shift | 2006 | N |  |  | 60 | 30 min at RT + 30 min on ice | Y |  |  | X |  | 45
24077223 | Native gel shift | 2013 | Y | X |  |  | 30 min, 240 min | Y |  |  | X |  | 70
23159558 | Native gel shift | 2013 | N |  |  | 60 |  | Y |  |  | X |  | 77
23195953 | Native gel shift | 2012 | N |  |  | 30 |  | Y |  |  | X |  | 80
15800629 | Nitrocellulose filter binding | 2005 | N |  |  | 30 | 'at least 30 min' | Y |  |  | X |  | 90
17537456 | Native gel shift | 2007 | N |  |  | 20 | 10 min at RT + 10 min at 4 ˚C | Y |  |  | X |  | 100
18327269 | Native gel shift | 2008 | N |  |  | 60 |  | Y |  |  | X |  | 140
20805243 | Fluorescence anisotropy | 2011 | N |  |  | n.r. |  | Y |  |  | X |  | 140
10393194 | Native gel shift | 1999 | N |  |  | 30 |  | Y |  |  | X |  | 200
11243816 | Nitrocellulose filter binding | 2001 | N |  |  | 60 |  | Y |  |  | X |  | 250
26364903 | Native gel shift | 2015 | N |  |  | 720 | Overnight incubation | Y |  |  | X |  | 280
20479262 | Native gel shift | 2010 | N |  |  | 5 |  | Y |  |  | X |  | 330
18579869 | Native gel shift | 2008 | N |  |  | 120 |  | Y |  |  | X |  | 2300
18646867 | Native gel shift | 2008 | N |  |  | 10 | Time is based on a referenced study | Y |  |  | X |  | 13000
21742260 | Nitrocellulose filter binding, isothermal titration calorimetry | 2011 | N |  |  | 10 | Time is based on a referenced study | Y |  | X | X |  | 21000 | 0.0087
15665870 | Native gel shift | 2005 | N |  |  | 20 | 10 min at RT + 10 min on ice | Y |  |  | X |  | 330000
16387655 | Native gel shift | 2006 | N |  |  | 10 |  | Y |  | X |  |  |  | 4.7
19918084 | Native gel shift | 2009 | Y | X |  |  | 2–48 h | Y | X |  | X |  | 31 |  | 10–300 pM labeled RNA
19901328 | Native gel shift | 2009 | Y | X |  |  | 2–48 h | Y | X |  | X |  | 1100 |  | 30–1000 pM labeled RNA
21397187 | Native gel shift | 2011 | Y | X |  |  | A single 16 h incubation stated in methods, but the authors cite their earlier study, in which time was systematically varied | Y | X |  |  |  | 4.7 |  | 15 pM labeled RNA stated in methods, but the authors cite their earlier study, in which labeled RNA concentration was systematically varied
22205700 | Native gel shift | 2012 | Y | X |  |  | No time reported, but the authors cite their earlier study, in which time was systematically varied to establish equilibration | Y | X |  |  |  | 5 |  | 10 pM and 100 pM labeled RNA stated in methods, but the authors cite their earlier study, in which labeled RNA concentration was systematically varied
22345129 | Native gel shift | 2012 | N |  |  | 60 |  | Y |  | X |  |  |  | 1
23481595 | Native gel shift | 2013 | N |  |  | 30 |  | Y |  |  |  |  | 2.5 |  | Authors report Kd values as upper limits, recognizing the potential for titration
21947008 | Fluorescence anisotropy | 2011 | N |  |  | n.r. |  | Y | X | X |  |  |  | 0.02
22021443 | Fluorescence anisotropy | 2011 | N |  |  | 30 |  | Y |  | X |  |  |  | 1.9
21979921 | Fluorescence anisotropy | 2011 | N |  |  | n.r. |  | Y |  | X |  |  |  | 0.013
22128343 | Tryptophan fluorescence titration, isothermal titration calorimetry | 2012 | N |  |  | 2 |  | Y |  | X |  |  |  | 0.002 | Tryptophan fluorescence titration
23015696 | Fluorescence anisotropy | 2012 | N |  |  | n.r. |  | Y |  | X |  |  |  | 4
22542594 | Fluorescence anisotropy | 2012 | N |  |  | n.r. |  | Y |  | X |  |  |  | 0.24
19540345 | Fluorescence anisotropy | 2009 | N |  |  | 30 |  | Y |  | X |  |  |  | 0.04
15457527 | Fluorescence anisotropy | 2004 | N |  |  | 15 |  | Y |  | X |  |  |  | 0.24
21646538 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | N |  | X |  |  |  | 0.0006 | Limiting concentration exceeds the recommended 1000x Kd limit
15751950 | Isothermal titration calorimetry | 2005 | Y |  | X |  |  | Y |  | X |  |  |  | 0.013
17704818 | Isothermal titration calorimetry | 2007 | Y |  | X |  |  | Y |  | X |  |  |  | 0.0085
20526337 | Isothermal titration calorimetry | 2010 | Y |  | X |  |  | Y |  | X |  |  |  | 0.042
21399644 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | Y |  | X |  |  |  | 0.11
22002536 | Isothermal titration calorimetry | 2012 | Y |  | X |  |  | Y |  | X |  |  |  | 0.011
22157959 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | Y |  | X |  |  |  | 0.062
19553194 | Isothermal titration calorimetry | 2009 | Y |  | X |  |  | Y |  | X |  |  |  | 0.095
20926394 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | Y |  | X |  |  |  | 0.038
21753750 | Isothermal titration calorimetry, nuclear magnetic resonance, surface plasmon resonance | 2011 | Y |  | X |  | All values were measured by ITC, a subset of affinities were corroborated by other techniques | Y |  | X |  |  |  | 0.007 | All values were measured by ITC, a subset of affinities were corroborated by other techniques
18813227 | Isothermal titration calorimetry | 2009 | Y |  | X |  |  | Y |  | X |  |  |  | 0.12
20081868 | Isothermal titration calorimetry | 2010 | Y |  | X |  |  | Y |  | X |  |  |  | n.r. | Although the concentration of constant species was not reported, the shapes of the ITC curves are consistent with an intermediate regime
20947024 | Isothermal titration calorimetry, nitrocellulose filter binding | 2010 | N |  |  | 30 |  | Y |  | X | X |  | 900 | 0.041
21193640 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | Y |  | X |  |  |  | 0.1
21652641 | Isothermal titration calorimetry | 2011 | Y |  | X |  |  | Y |  | X |  |  |  | 0.0016
22355167 | Isothermal titration calorimetry | 2012 | Y |  | X |  |  | Y |  | X |  |  |  | 0.011
23142982 | Isothermal titration calorimetry, nuclear magnetic resonance, biolayer interferometry, circular dichroism spectroscopy | 2012 | N |  |  | n.r. | Equilibration controls not reported for CD spectroscopy experiments (performed at low temperature) | N |  | X |  |  | 0.17 | 0.008 | Unclear if ligand depletion was considered in CD spectroscopy analysis
18600235 | Isothermal titration calorimetry | 2008 | Y |  | X |  |  | Y |  | X |  |  |  | 0.0038
27525590 | Isothermal titration calorimetry | 2016 | Y |  | X |  |  | Y |  | X |  |  |  | 0.11
12886018 | Nitrocellulose filter binding | 2003 | N |  |  | 10 |  | Y |  | X |  |  |  | 5.9
10610766 | Surface plasmon resonance | 1999 | Y |  | X |  |  | Y |  |  |  | X
15152257 | Surface plasmon resonance | 2004 | Y |  | X |  |  | Y |  |  |  | X
16330048 | Surface plasmon resonance | 2006 | Y |  | X |  |  | Y |  |  |  | X
16362037 | Surface plasmon resonance | 2010 | Y |  | X |  |  | Y |  |  |  | X
20363226 | Surface plasmon resonance | 2010 | Y |  | X |  |  | Y |  |  |  | X
20637642 | Surface plasmon resonance | 2010 | Y |  | X |  |  | Y |  |  |  | X
23594178 | Trypthophan fluorescence titration, isothermal titration calorimetry | 2013 | Y |  | X |  | Incubation time not reported for Trp fluorescence titration, but the Kd values for the same binding partners are corroborated by ITC | Y |  | X |  |  |  | 0.014