|  |  |  |
| --- | --- | --- |
|   | MuPyV | MuPyV-Fab |
| Microscope/Detector | Titan Krios |   |
| Detector | Falcon 3 |   |
| Magnification | x59,000 |   |
| Voltage (kV) | 300 |   |
| Electron exposure | 45 |   |
| Defocus range (µm) | 1. – 3.0
 |   |
| Pixel Size | 1.1 Å |   |
| Micrographs (total) | 1,756  | 1,811 |
| Micrographs (used) | 1,750 | 1,804 |
| Particles (total) | 17,416 | 9,811 |
| Particles (used) | 15,499 | 9,146 |