Supplementary file 1 | Cryo-EM data collection, refinement and validation statistics.

| Data collection and processing |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Voltage (kV) | 300 |  |  |  |  |  |  |
| Electron exposure (e–/Å2) | 60 |  |  |  |  |  |  |
| Defocus range (μm) | -0.8 to -2.4 |  |  |  |  |  |  |
| Pixel size (Å) | 1.3 |  |  |  |  |  |  |
| Symmetry imposed | C1 |  |  |  |  |  |  |
| Initial particle images (no.) |  |  |  |  |  |  |  |
| Structure | L1 | L2(adp) | C1(ATP) | C2(ATP) | C3(adp) | C4(ADP) | C5(ATP) |
| Final particle images (no.) | 13,013 | 16,067 | 23,856 | 85,840 | 47,312 | 66,617 | 102,741 |
| Map resolution (Å) FSC threshold 0.143 | 4.1 | 4.0 | 3.9 | 3.5 | 4.0 | 3.6 | 3.4 |
| Map resolution range (Å) | 3.4 - 10 | 3.5 - 10 | 3.3 - 10 | 3.0 - 9 | 3.3 - 10 | 3.1 - 9.5 | 2.8 - 8 |
| EMDB accession code | EMD-21996 | EMD-22006 | EMD-22012 | EMD-22039 | EMD-22043 | EMD-22044 | EMD-22045 |
| Refinement |  |  |  |  |  |  |  |
| Model composition Non-hydrogen atoms Protein residues Nucleic acid residues Ligands | 35,968 4,314 113 3 (1 Mg2+, 2 Zn2) | 36,058 4,316 113 4 (1 Mg2+, 2 Zn2+, 1 ADP) | 36,078 4,316 113 4 (1 Mg2+, 2 Zn2+, 1 ATP) | 36,055 4,316 111 5 (2 Mg2+, 2 Zn2+, 1 ATP) | 36,019 4,316 112 4 (1 Mg2+, 2 Zn2+, 1 ADP) | 36,086 4,316 113 5 (2 Mg2+, 2 Zn2+, 1 ADP) | 36,075 4,315 113 5 (2 Mg2+, 2 Zn2+, 1 ATP) |
| B factors (Å2) Protein Nucleic acid Ligands | 127.1 216.4 154.1 | 100.09 166.31 83.15 | 107.4 152.3 114.8 | 66.56 123.83 47.00 | 100.2 216.7 98.44 | 83.93 144.01 82.98 | 50.34 104.1 32.07 |
| R.m.s. deviations Bond lengths (Å) Bond angles (°) | 0.008 1.109 | 0.008 1.138 | 0.009 1.196 | 0.010 0.989 | 0.009 1.197 | 0.006 0.949 | 0.005 0.810 |
| Validation MolProbity score Clashscore Poor rotamers (%) | 2.07 12.03 0.0 | 2.54 10.77 0.0 | 1.99 9.22 0.06 | 2.01 9.52 0.0 | 1.98 9.26 0.06 | 1.96 8.83 0.0 | 1.89 7.70 0.03 |
| Ramachandran plota Favored (%) Allowed (%) Outliers (%) | 92.29 7.69 0.02 | 92.24 7.73 0.02 | 91.71 8.27 0.02 | 90.41 9.52 0.07 | 92.04 7.92 0.05 | 91.97 7.99 0.05 | 92.36 7.59 0.05 |
| PDB accession code | 6X26 | 6X2F | 6X2N | 6X43 | 6X4W | 6X4Y | 6X50 |

a Refinement/validation parameters as calculated by PHENIX real_space_refine (Adams et al., 2010) and MOLPROBITY (Chen et al., 2010).