## BLI Plate set-up BG505 SOSIP
Date: | 2020.08.06 |  |  |  |  | BB = Octet binding buffer
|  |  | mAbs at 10 ug/ml in BB |  |  | N = Neutralization Buffer (Octet buffer)
|  |  | 200 µl per well |  |  | R = Regeneration Buffer | [6 empty] | Typical Expt. Set-Up
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | nM |  | Dilution series of SOSIP
A | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 500 nM | R | N | 500 | Determine full kinetic range | 400 uL total vol
B | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL3 | QA013.2 EVQ mat/∆CDRL4 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 250 nM | R | N | 250 |  | 200 uL BB + 200 uL
C | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL4 | QA013.2 EVQ mat/∆CDRL5 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 125 nM | R | N | 125 |  | 200 uL BB + 200 uL
D | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL5 | QA013.2 EVQ mat/∆CDRL6 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 62.5 nM | R | N | 62.5 |  | 200 uL BB + 200 uL
E | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL6 | QA013.2 EVQ mat/∆CDRL7 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 31.25 nM | R | N | 31.25 |  | 200 uL BB + 200 uL
F | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL7 | QA013.2 EVQ mat/∆CDRL8 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 15.625 nM | R | N | 15.625 |  | 200 uL BB + 200 uL
G | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL8 | QA013.2 EVQ mat/∆CDRL9 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH3/Lmat | 10E8 |  | BG505 SOSIP 7.8125 nM | R | N | 250 | Yes/No binding | 200 uL BB + 200 uL
H | BB | BB | BB | BB | BB | BB | BB | BB | BB | BB | R | N
| Hydrated anti-human IgG Fc Capture (AHC) or anti-human Fab- | [6 empty] | Time (s) | Shaker (rpm)
| CH1 biosensors were immobilized for 80 sec with purified antibodies | [5 empty] | Sensor Check | 30 | 1000
| diluted to 10 µg mL-1 in PBS (pH 7.4) supplemented with 0.1% BSA, 0.005% | [5 empty] | Baseline | 30 | 1000
| TWEEN 20, 0.02% sodium azide. After a stable baseline signal was established, | [5 empty] | Loading | 80 | 600
| antibody-immobilized tips were moved to wells containing a 2-fold dilution | [5 empty] | Association | 180 | 600
| series of Env SOSIP trimer to monitor association for 3min. Tips were then | [5 empty] | Dissociation | 180 | 600
moved back to wells containing buffer to monitor dissociation for 3 min.
| Ab | uL to add | concentration (ug/mL) | total volume (uL) | final concentration (ug/mL) | volume BB to add (uL) |  | Antigen | Desired volume (uL) | MW | Concentration (mg/mL) | Vol. for 500 nM | Volume BB
| EVQ mat/Lmat | 51.3699 | 292 | 1500 | 10 | 1448.6301 |  | BG505 SOSIP | 410 | 354902.2 | 2.41 | 30.1888 | 379.8112
| EVQ mat/∆CDRL2 | 34.4037 | 436 | 1500 | 10 | 1465.5963 | [5 empty] | https://www.graphpad.com/quickcalcs/molarityform.cfm
| EVQ mat/∆CDRL3 | 34.965 | 429 | 1500 | 10 | 1465.035 |  | 500 nM = | 5e-07 | mol/L
| G0/Lmat | 47.9233 | 313 | 1500 | 10 | 1452.0767
| EVQ D106V/Lmat | 31.4465 | 477 | 1500 | 10 | 1468.5535 |  | 2.05e-10 | (desired number of moles)
| EVQ ∆CDRH3/Lmat | 66.9643 | 224 | 1500 | 10 | 1433.0357 |  | 7.2755e-05 | (number of grams)
| 10E8 | 15 | 1000 | 1500 | 10 | 1485 |  | 30.1888 | (number of uL)

## BLI set-up QA013 765 autologous
Date: | 2020.08.06 |  |  |  |  | BB = Octet binding buffer
|  |  | mAbs at 10 ug/ml in BB |  |  | N = Neutralization Buffer (Octet buffer)
|  |  | 200 µl per well |  |  | R = Regeneration Buffer | [6 empty] | Typical Expt. Set-Up
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | nM |  | Dilution series of SOSIP
A | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 1000 nM | R | N | 500 | Determine full kinetic range | 400 uL total vol
B | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 500 nM | R | N | 250 |  | 200 uL BB + 200 uL
C | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 250 nM | R | N | 125 |  | 200 uL BB + 200 uL
D | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 125 nM | R | N | 62.5 |  | 200 uL BB + 200 uL
E | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 62.5 nM | R | N | 31.25 |  | 200 uL BB + 200 uL
F | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 31.25 nM | R | N | 15.625 |  | 200 uL BB + 200 uL
G | BB | QA013.2 EVQ mature | QA013.2 EVQ mat/∆CDRL2 | QA013.2 EVQ mat/∆CDRL3 | QA013.2 G0/Lmat | QA013.2 EVQ D106V/Lmat | QA013.2 EVQ ∆CDRH1/Lmat | 10E8 |  | QA013.765M.C1 gp120 15.625 nM | R | N | 250 | Yes/No binding | 200 uL BB + 200 uL
H | BB | BB | BB | BB | BB | BB | BB | BB | BB | BB | R | N
| Hydrated anti-human IgG Fc Capture (AHC) or anti-human Fab- | [6 empty] | Time (s) | Shaker (rpm)
| CH1 biosensors were immobilized for 80 sec with purified antibodies | [5 empty] | Sensor Check | 30 | 1000
| diluted to 10 µg mL-1 in PBS (pH 7.4) supplemented with 0.1% BSA, 0.005% | [5 empty] | Baseline | 30 | 1000
| TWEEN 20, 0.02% sodium azide. After a stable baseline signal was established, | [5 empty] | Loading | 80 | 600
| antibody-immobilized tips were moved to wells containing a 2-fold dilution | [5 empty] | Association | 180 | 600
| series of Env SOSIP trimer to monitor association for 3min. Tips were then | [5 empty] | Dissociation | 180 | 600
moved back to wells containing buffer to monitor dissociation for 3 min.
| Ab | uL to add | concentration (ug/mL) | total volume (uL) | final concentration (ug/mL) | volume BB to add (uL) |  | Antigen | Desired volume (uL) | MW | Conc (mg/mL) | Vol. for 1 µM | Volume BB
| EVQ mat/Lmat | 51.3699 | 292 | 1500 | 10 | 1448.6301 |  | QA013.765M.C1 | 410 | 142866.12 | 1 | 58.5751 | 351.4249
| EVQ mat/∆CDRL2 | 34.4037 | 436 | 1500 | 10 | 1465.5963 | [5 empty] | https://www.graphpad.com/quickcalcs/molarityform.cfm
| EVQ mat/∆CDRL3 | 34.965 | 429 | 1500 | 10 | 1465.035 |  | 1 uM = | 1e-06 | mol/L
| G0/Lmat | 47.9233 | 313 | 1500 | 10 | 1452.0767
| EVQ D106V/Lmat | 31.4465 | 477 | 1500 | 10 | 1468.5535 |  | 4.1e-10 | (desired number of moles)
| EVQ ∆CDRH1/Lmat | 27.8293 | 539 | 1500 | 10 | 1472.1707 |  | 5.8575e-05 | (number of grams)
| 10E8 | 15 | 1000 | 1500 | 10 | 1485 |  | 58.5751 | (number of uL)