## Figure 1, source data 1
| TolC | TolC + ColE1
Map accession | EMDB-21960 | EMDB-21959
Model accession | PDB 6WXI | PDB 6WXH
Release date | May 12, 2021 | May 12, 2021
Data collection and processing
Electron microscope | Talos Arctica | Talos Arctica
Magnification | 130,000× | 205,000×
Voltage (kV) | 200 | 200
Electron exposure (e–/Å2) | 33.04 | 35.96
Defocus range (μm) | 0.5-2.6 | 0.4-2.1
Pixel size (Å) | 1.038 | 0.6578
Symmetry imposed | C3 | C1 (C3)
Initial particle images (no.) | 2092678 | 339779
Final particle images (no.) | 778220 | 179834
Map resolution (Å) | 2.84 | 3.09 (2.81)
FSC threshold | 0.143 | 0.143
Refinement
Initial model used (PDB code) | 6WXH | 1TQQ
Model resolution (Å) | 3.11 | 3.37
FSC threshold | 0.5 | 0.5
R.m.s. deviations
Bond lengths (Å) | 0.0072 | 0.012
Bond angles (°) | 1.11 | 1.76
Validation
MolProbity score | 1.33 | 0.5
Clashscore | 4.42 | 0
Poor rotamers (%) | 1.4 | 0.18
Ramachandran plot
Favored (%) | 98.12 | 98.31
Allowed (%) | 1.88 | 1.32
Disallowed (%) | 0 | 0.37