|  | Company | Host / Clonality | Antigen Retrieval Method | Protein Blocking Reagent | Primary Antibody Concentration | Primary Antibody Inoculation | Secondary Antibody |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Iba1 | Wako | Rb, P | HIER with Citrate Buffer, 20" | Protein Block (Dako), 20" for HRP; 2.5% Horse Serum (Vector) for AP | 1:400 | 1 hour, RT | Powervision Poly-HRP or ImmPRESS AP |
| PLP | BioRad | Ms, M | HIER with Citrate Buffer, 20" | Protein Block (Dako), 20" | 1:200 | 1 hour, RT | Powervision Poly-HRP |
| ASPA | GeneTex | Rb, P | HIER with Citrate Buffer, 45" | Protein Block (Dako), 20" | 1:1500 | 1 hour, RT | Powervision Poly-HRP |
| Olig2 | EMD Millipore | Rb, P | None when double-staining | 2.5% Horse Serum (Vector), 20" | 1:200 | 1 hour, RT | ImmPRESS AP |