| Components | Parts name | Supplier | Article Number | Number | Unite Price (USD) | Total Price (USD) |
| --- | --- | --- | --- | --- | --- | --- |
| Frame Servo & Food container Pumps & Valve Food Mixing Safety Tubing Electronics | Makerbeam Starter Kit Eheim Automatic feeding unit Digital Servo Magnets Pumps Valve DC 12V ¼” Cable ties Tube Holder Funnel Water sensor Minipump Type 1 tubing 3/16” Type 2 tubing 4mmID, 6mm OD Polycarbonate plastic sheet 40 aquarium connectors Velcro strips Wire connectors T-type Wire connectors I-Type Motor Drivers Canakit Raspberry Pi 3B+ Servo Hat 16 Channel LCD Touch Screen 1024X600 | Makerbeam Eheim N/A Dymag Trossen Robotics Digiten McMaster-Carr Asayu Karzone DAOKI Walfront CNZ NACX Robosource Asayu Velcro Biantie La Biantie La Qunqi Canakit Adafruit Longruner | 103318 NA DS318 3MM-mix TI-TG-02B-DC12B DC 12V ¼” 80005k2 N/A N/A TS-VS-292-CA 12V DC 6W N/A N/A N/A N/A S-5751 N/A N/A L298N N/A 2327 LSC7B | 1 1 1 1 4 1 1 1 1 1 1 1 2 1 1 1 2 2 2 1 1 1 | 112.25 23.47 16.66 14.99 24.95 7.49 25.05 5.99 6.99 20 15.49 5.99 22.88 24.99 11.99 37 9.98 9.99 8.69 69.99 17.5 56.99 | 112.25 23.47 16.66 14.99 99.8 7.49 25.05 5.99 6.99 20 15.49 5.99 45.76 24.99 11.99 37 19.76 19.98 17.38 69.99 17.5 56.99 |

Total Price 	  675.10$