| Components | Parts name | Supplier | Article Number | Number | Unite Price (USD) | Total Price (USD) |
| --- | --- | --- | --- | --- | --- | --- |
| Frame Servo & Food container Pumps & Valve Food Mixing Safety Tubing Electronics | Makerbeam Starter Kit 200mm black anodised Makerbeam 300mm black anodised Makerbeam Makerbeam corner cube Eheim Automatic feeding unit Digital Servo Magnets 12V DC Pumps Solenoid valve quick connect ¼” Check valve ¼” Tube Holder Funnel Water sensor Minipump Soft Plastic tubing ⅜” 50ft Soft Plastic tubing ¼” 100ft Push to connect reducer manifolds T shape connectors T shape connectors Waterproof box Screw terminal X8 Motor Drivers Canakit Raspberry Pi 3B+ Solder Breadboard LCD Touch Screen 1024X600 Arduino Mega 2560R3 16X module relay | Makerbeam Makerbeam Makerbeam Makerbeam Eheim N/A Dymag Bayite Digiten Blulu Asayu Karzone DAOKI Walfront McMaster McMaster McMaster McMaster McMaster McMaster Ogrmar Milapeak Qunqi Canakit Sparkfun Longruner Sparkfun Sainsmart | 103318 10090 100102 100988 NA DS318 3MM-mix XX328 N/A 40141600 N/A N/A TS-VS-292-CA 12V DC 6W 5233k65 5233k52 5779k355 52045k216 51055k27 51055k195 N/A N/A L298N N/A PRT-12699 LSC7B Dev-11061 170C20 | 1 2 2 1 4 1 1 2 30 1 1 1 1 1 1 3 1 3 2 1 1 1 4 1 1 1 2 2 | 112.25 12.5 9.75 16.95 23.47 16.66 14.99 29.99 7.49 7.99 5.99 6.99 20 15.49 49 18 7.30 26.64 4.41 4.41 34.99 12.49 8.69 69.99 12.49 56.99 39.65 20.99 | 112.25 25 19.5 16.95 93.88 16.66 14.99 59.98 224.7 7.99 5.99 6.99 20 15.49 49 54 7.30 79.92 8.82 4.41 34.99 12.49 34.76 69.99 12.49 59.99 79.3 41.98 |

Total Price 	 1189.81$