Table S1. Laser parameters (test after preheating for 5 minutes)

| Optical parameters |
| --- |
| 1.1 | Laser fiber output power | 1595mW |
| 1.2 | Wavelength (1650+/-20nm) | 1645.2nm |
| 1.3 | Preheat time | <5 minutes |
| 1.4 | Optical power stability | <3% / 2 hours |
| Optical properties |
| 2.1 | optical interface | SMA |
| 2.2 | Optical fiber specifications | 600um/NA:0.22/SP6.0 |
| 2.3 | Fiber length | 1.5 meter |
| Working conditions |
| 3.1 | Laser operating temperature range: (case temperature) | 0℃~40℃ |
| 3.2 | Power supply model | 260 case |
| 3.3 | Operating Voltage | 90-240VAC |