## Sample Setup
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-18-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-18-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-18-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-18-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-18-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-18-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-18-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-18-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-18-2021
Calibration ROI is expired | No
Calibration ROI performed on | 02-18-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-18-2021
Chemistry | SYBR_GREEN
Date Created | 2021-06-01 12:13:36 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | N:\SNIKOLAO\qpCR\2021-06-01_120645.eds
Experiment Name | 2021-06-01_120645
Experiment Run End Time | 2021-06-01 12:14:45 PM BST
Experiment Type | Comparative Cт (ΔΔCт)
Instrument Name | 272310805
Instrument Serial Number | 272310805
Instrument Type | QuantStudio™ 3 System
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Sample Name | Sample Color | Biogroup Name | Biogroup Color | Target Name | Target Color | Task | Reporter | Quencher | Quantity | Comments
1 | A1 | GFP | RGB(176,23,31) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
2 | A2 | GFP | RGB(176,23,31) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
3 | A3 | GFP | RGB(176,23,31) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
4 | A4 | GFP | RGB(176,23,31) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
5 | A5 | GFP | RGB(176,23,31) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
6 | A6 | GFP | RGB(176,23,31) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
7 | A7 | GFP | RGB(176,23,31) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
8 | A8 | GFP | RGB(176,23,31) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
9 | A9 | GFP | RGB(176,23,31) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
10 | A10
11 | A11
12 | A12
13 | B1 | P17 | RGB(0,139,69) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
14 | B2 | P17 | RGB(0,139,69) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
15 | B3 | P17 | RGB(0,139,69) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
16 | B4 | P17 | RGB(0,139,69) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
17 | B5 | P17 | RGB(0,139,69) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
18 | B6 | P17 | RGB(0,139,69) |  |  | LPAR3 | RGB(0,139,69) | UNKNOWN | SYBR | None
19 | B7 | P17 | RGB(0,139,69) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
20 | B8 | P17 | RGB(0,139,69) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
21 | B9 | P17 | RGB(0,139,69) |  |  | cdk2 | RGB(176,23,31) | UNKNOWN | SYBR | None
22 | B10
23 | B11
24 | B12
25 | C1 | Water | RGB(255,127,0) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
26 | C2 | Water | RGB(255,127,0) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
27 | C3 | Water | RGB(255,127,0) |  |  | LPAR1 | RGB(0,0,255) | UNKNOWN | SYBR | None
28 | C4
29 | C5
30 | C6
31 | C7
32 | C8
33 | C9
34 | C10
35 | C11
36 | C12
37 | D1
38 | D2
39 | D3
40 | D4
41 | D5
42 | D6
43 | D7
44 | D8
45 | D9
46 | D10
47 | D11
48 | D12
49 | E1
50 | E2
51 | E3
52 | E4
53 | E5
54 | E6
55 | E7
56 | E8
57 | E9
58 | E10
59 | E11
60 | E12
61 | F1
62 | F2
63 | F3
64 | F4
65 | F5
66 | F6
67 | F7
68 | F8
69 | F9
70 | F10
71 | F11
72 | F12
73 | G1
74 | G2
75 | G3
76 | G4
77 | G5
78 | G6
79 | G7
80 | G8
81 | G9
82 | G10
83 | G11
84 | G12
85 | H1
86 | H2
87 | H3
88 | H4
89 | H5
90 | H6
91 | H7
92 | H8
93 | H9
94 | H10
95 | H11
96 | H12

## Amplification Data
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-18-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-18-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-18-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-18-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-18-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-18-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-18-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-18-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-18-2021
Calibration ROI is expired | No
Calibration ROI performed on | 02-18-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-18-2021
Chemistry | SYBR_GREEN
Date Created | 2021-06-01 12:13:36 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | N:\SNIKOLAO\qpCR\2021-06-01_120645.eds
Experiment Name | 2021-06-01_120645
Experiment Run End Time | 2021-06-01 12:14:45 PM BST
Experiment Type | Comparative Cт (ΔΔCт)
Instrument Name | 272310805
Instrument Serial Number | 272310805
Instrument Type | QuantStudio™ 3 System
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Cycle | Target Name | Rn | Delta Rn

## Results
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-18-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-18-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-18-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-18-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-18-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-18-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-18-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-18-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-18-2021
Calibration ROI is expired | No
Calibration ROI performed on | 02-18-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-18-2021
Chemistry | SYBR_GREEN
Date Created | 2021-06-01 12:13:36 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | N:\SNIKOLAO\qpCR\2021-06-01_120645.eds
Experiment Name | 2021-06-01_120645
Experiment Run End Time | 2021-06-01 12:14:45 PM BST
Experiment Type | Comparative Cт (ΔΔCт)
Instrument Name | 272310805
Instrument Serial Number | 272310805
Instrument Type | QuantStudio™ 3 System
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Omit | Sample Name | Target Name | Task | Reporter | Quencher | Quantity | Quantity Mean | Quantity SD | RQ | RQ Min | RQ Max | CT | Ct Mean | Ct SD | Delta Ct | Delta Ct Mean | Delta Ct SD | Delta Ct SE | Delta Delta Ct | Automatic Ct Threshold | Ct Threshold | Automatic Baseline | Baseline Start | Baseline End | Amp Status | Comments | Cq Conf | Rn (last cycle) | Delta Rn (last cycle) | Tm1 | Tm2 | Tm3 | Tm4
1 | A1 | FALSE | GFP | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
2 | A2 | FALSE | GFP | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
3 | A3 | FALSE | GFP | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
4 | A4 | FALSE | GFP | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
5 | A5 | FALSE | GFP | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
6 | A6 | FALSE | GFP | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
7 | A7 | FALSE | GFP | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
8 | A8 | FALSE | GFP | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
9 | A9 | FALSE | GFP | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
13 | B1 | FALSE | P17 | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
14 | B2 | FALSE | P17 | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
15 | B3 | FALSE | P17 | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
16 | B4 | FALSE | P17 | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
17 | B5 | FALSE | P17 | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
18 | B6 | FALSE | P17 | LPAR3 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
19 | B7 | FALSE | P17 | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
20 | B8 | FALSE | P17 | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
21 | B9 | FALSE | P17 | cdk2 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
25 | C1 | FALSE | Water | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
26 | C2 | FALSE | Water | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
27 | C3 | FALSE | Water | LPAR1 | UNKNOWN | SYBR | None | [14 empty] | TRUE | 0.2 | TRUE | 3 | 15 | N/A
Analysis Type | Singleplex
Endogenous Control
RQ Min/Max Confidence Level | 95.0
Reference Sample | Sample 1

## Melt Curve Raw Data
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-18-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-18-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-18-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-18-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-18-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-18-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-18-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-18-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-18-2021
Calibration ROI is expired | No
Calibration ROI performed on | 02-18-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-18-2021
Chemistry | SYBR_GREEN
Date Created | 2021-06-01 12:13:36 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | N:\SNIKOLAO\qpCR\2021-06-01_120645.eds
Experiment Name | 2021-06-01_120645
Experiment Run End Time | 2021-06-01 12:14:45 PM BST
Experiment Type | Comparative Cт (ΔΔCт)
Instrument Name | 272310805
Instrument Serial Number | 272310805
Instrument Type | QuantStudio™ 3 System
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Reading | Temperature | Fluorescence | Derivative | Target Name

## Melt Curve Result
Block Type | 96-Well 0.1-mL Block
Calibration Background is expired | No
Calibration Background performed on | 02-18-2021
Calibration Pure Dye ABY is expired | No
Calibration Pure Dye ABY performed on | 02-18-2021
Calibration Pure Dye FAM is expired | No
Calibration Pure Dye FAM performed on | 02-18-2021
Calibration Pure Dye JUN is expired | No
Calibration Pure Dye JUN performed on | 02-18-2021
Calibration Pure Dye NED is expired | No
Calibration Pure Dye NED performed on | 02-18-2021
Calibration Pure Dye ROX is expired | No
Calibration Pure Dye ROX performed on | 02-18-2021
Calibration Pure Dye SYBR is expired | No
Calibration Pure Dye SYBR performed on | 02-18-2021
Calibration Pure Dye TAMRA is expired | No
Calibration Pure Dye TAMRA performed on | 02-18-2021
Calibration Pure Dye VIC is expired | No
Calibration Pure Dye VIC performed on | 02-18-2021
Calibration ROI is expired | No
Calibration ROI performed on | 02-18-2021
Calibration Uniformity is expired | No
Calibration Uniformity performed on | 02-18-2021
Chemistry | SYBR_GREEN
Date Created | 2021-06-01 12:13:36 PM BST
Experiment Barcode
Experiment Comment
Experiment File Name | N:\SNIKOLAO\qpCR\2021-06-01_120645.eds
Experiment Name | 2021-06-01_120645
Experiment Run End Time | 2021-06-01 12:14:45 PM BST
Experiment Type | Comparative Cт (ΔΔCт)
Instrument Name | 272310805
Instrument Serial Number | 272310805
Instrument Type | QuantStudio™ 3 System
Passive Reference
Post-read Stage/Step
Pre-read Stage/Step
Quantification Cycle Method | Ct
Signal Smoothing On | true
Stage where Melt Analysis is performed | Stage3
Stage/ Cycle where Ct Analysis is performed | Stage2, Step2
User Name
Well | Well Position | Sample | Target Name | Tm | Melt Peak Height