## Sheet1
ITEM TO CHECK | IMPORTANCE | CHECKLIST | NOTES
EXPERIMENTAL DESIGN
Definition of experimental and control groups | E | YES | Methods
Number within each group | E | YES | Methods
Assay carried out by core lab or investigator's lab? | D | YES | Investigator's lab
Acknowledgement of authors' contributions | D | YES | HBA and TT performed RTqPCR experiments in Fig.1. RC performed all other RTqPCR experiments
SAMPLE
Description | E | YES | Cell culture
Volume/mass of sample processed | D | YES | 70-90% confluent 6-well plates
Microdissection or macrodissection | E | N/A
Processing procedure | E | N/A
If frozen - how and how quickly? | E | N/A
If fixed - with what, how quickly? | E | N/A
Sample storage conditions and duration (especially for FFPE samples) | E | N/A
NUCLEIC ACID EXTRACTION
Procedure and/or instrumentation | E | YES | Methods
Name of kit and details of any modifications | E | YES | Methods
Source of additional reagents used | D | N/A
Details of DNase or RNAse treatment | E | YES | Methods
Contamination assessment (DNA or RNA) | E | YES | Appendix 1
Nucleic acid quantification | E | YES | Methods
Instrument and method | E | YES | Methods
Purity (A260/A280) | D | YES | Methods
Yield | D | YES | 0.1-1 µg/µl
RNA integrity method/instrument | E | YES | Methods
RIN/RQI or Cq of 3' and 5' transcripts | E | NO
Electrophoresis traces | D | NO
Inhibition testing (Cq dilutions, spike or other) | E | NO
REVERSE TRANSCRIPTION
Complete reaction conditions | E | YES | Appendix 1
Amount of RNA and reaction volume | E | YES | Appendix 1
Priming oligonucleotide (if using GSP) and concentration | E | YES | Appendix 1
Reverse transcriptase and concentration | E | N/A | One-step RT-qPCR
Temperature and time | E | YES | Appendix 1
Manufacturer of reagents and catalogue numbers | D | YES | Methods/Appendix 1
Cqs with and without RT | D | N/A | One-step RT-qPCR
Storage conditions of cDNA | D | N/A | One-step RT-qPCR
qPCR TARGET INFORMATION
If multiplex, efficiency and LOD of each assay. | E | N/A
Sequence accession number | E | YES | Appendix 1
Location of amplicon | D | YES | Appendix 1
Amplicon length | E | YES | Appendix 1
In silico specificity screen (BLAST, etc) | E | YES | Appendix 1
Pseudogenes, retropseudogenes or other homologs? | D | NO
Sequence alignment | D | NO
Secondary structure analysis of amplicon | D | NO
Location of each primer by exon or intron (if applicable) | E | YES | Appendix 1
What splice variants are targeted? | E | YES | Appendix 1
qPCR OLIGONUCLEOTIDES
Primer sequences | E | YES | Appendix 1
RTPrimerDB Identification Number | D | N/A
Probe sequences | D | N/A
Location and identity of any modifications | E | N/A
Manufacturer of oligonucleotides | D | YES | Sigma
Purification method | D | YES | Desalt
qPCR PROTOCOL
Complete reaction conditions | E | YES | Appendix 1
Reaction volume and amount of cDNA/DNA | E | N/A | One-step RT-qPCR
Primer, (probe), Mg++ and dNTP concentrations | E | N/A | Manufacturer's property
Polymerase identity and concentration | E | N/A | Manufacturer's property
Buffer/kit identity and manufacturer | E | YES | Methods
Exact chemical constitution of the buffer | D | N/A | Manufacturer's property
Additives (SYBR Green I, DMSO, etc.) | E | N/A | Manufacturer's property
Manufacturer of plates/tubes and catalog number | D | YES | Appendix 1
Complete thermocycling parameters | E | YES | Appendix 1
Reaction setup (manual/robotic) | D | YES | Manual
Manufacturer of qPCR instrument | E | YES | Methods
qPCR VALIDATION
Evidence of optimisation (from gradients) | D | NO
Specificity (gel, sequence, melt, or digest) | E | YES | Appendix 1
For SYBR Green I, Cq of the NTC | E | YES | Appendix 1
Standard curves with slope and y-intercept | E | YES | Appendix 1
PCR efficiency calculated from slope | E | YES | Appendix 1
Confidence interval for PCR efficiency or standard error | D | NO
r2 of standard curve | E | YES | Appendix 1
Linear dynamic range | E | NO
Cq variation at lower limit | E | NO
Confidence intervals throughout range | D | NO
Evidence for limit of detection | E | NO
If multiplex, efficiency and LOD of each assay. | E | N/A
DATA ANALYSIS
qPCR analysis program (source, version) | E | YES | Methods
Cq method determination | E | YES | Methods
Outlier identification and disposition | E | N/A
Results of NTCs | E | YES | Appendix 1
Justification of number and choice of reference genes | E | YES | mCherry: see Figure 2; 18S and SDHA: renowned for having invariant expression across tissues, cells, and experimental treatments
Description of normalisation method | E | YES | Methods/Figure legends
Number and concordance of biological replicates | D | YES | Methods
Number and stage (RT or qPCR) of technical replicates | E | YES | Methods
Repeatability (intra-assay variation) | E | NO
Reproducibility (inter-assay variation, %CV) | D | YES | Figure legends
Power analysis | D | NO
Statistical methods for result significance | E | YES | Figure legends
Software (source, version) | E | YES | Methods
Cq or raw data submission using RDML | D | NO | Source data submitted as xlsx file
E, essential. D, desirable.