Supplementary File 4. Chromatography gradient method for untargeted proteomics

| Time (min) | % Solvent A | % Solvent B |
| --- | --- | --- |
| 0 | 98 | 2 |
| 15 | 98 | 2 |
| 50 | 55 | 45 |
| 60 | 55 | 45 |
| 62 | 5 | 95 |
| 75 | 5 | 95 |
| 75.5 | 98 | 2 |
| 80 | 98 | 2 |