## m7G
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m7G |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 561999.8364 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2405 | 1
02 | Unknown Sample |  | Method Settings | 615744.2744 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2407 | 1
03 | Unknown Sample |  | Method Settings | 586096.0276 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2338 | 1
13 | Unknown Sample |  | Method Settings | 795389.1294 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2332 | 1
14 | Unknown Sample |  | Method Settings | 777114.8166 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2333 | 1
15 | Unknown Sample |  | Method Settings | 913408.8485 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.233 | 1
16 | Unknown Sample |  | Method Settings | 761587.9748 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.241 | 1
17 | Unknown Sample |  | Method Settings | 1025753.8838 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.233 | 1
18 | Unknown Sample |  | Method Settings | 930571.8734 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2334 | 1
25 | Unknown Sample |  | Method Settings | 896138.7892 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2326 | 1
26 | Unknown Sample |  | Method Settings | 925800.7099 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2328 | 1
27 | Unknown Sample |  | Method Settings | 1248874.4639 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2331 | 1
28 | Unknown Sample |  | Method Settings | 691192.7453 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2331 | 1
29 | Unknown Sample |  | Method Settings | 624486.4929 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.2332 | 1
30 | Unknown Sample |  | Method Settings | 686771.1461 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.233 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## C
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
C |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 7088711.339 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.407 | 1
02 | Unknown Sample |  | Method Settings | 8857709.9178 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4072 | 1
03 | Unknown Sample |  | Method Settings | 8335768.8338 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4076 | 1
13 | Unknown Sample |  | Method Settings | 10866904.8286 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4068 | 1
14 | Unknown Sample |  | Method Settings | 9660005.8463 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.3944 | 1
15 | Unknown Sample |  | Method Settings | 11518586.0882 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4066 | 1
16 | Unknown Sample |  | Method Settings | 10084950.0744 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4075 | 1
17 | Unknown Sample |  | Method Settings | 11546375.4351 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4066 | 1
18 | Unknown Sample |  | Method Settings | 11354949.4803 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.3945 | 1
25 | Unknown Sample |  | Method Settings | 11944321.0849 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.3937 | 1
26 | Unknown Sample |  | Method Settings | 10780550.3902 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4065 | 1
27 | Unknown Sample |  | Method Settings | 13422493.2733 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.3941 | 1
28 | Unknown Sample |  | Method Settings | 10588332.3565 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4068 | 1
29 | Unknown Sample |  | Method Settings | 7773073.7732 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.407 | 1
30 | Unknown Sample |  | Method Settings | 8973076.9189 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.4068 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## D
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
D |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 51480.9267 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6138 | 1
02 | Unknown Sample |  | Method Settings | 53415.1647 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6012 | 1
03 | Unknown Sample |  | Method Settings | 50290.65 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6016 | 1
13 | Unknown Sample |  | Method Settings | 63449.9352 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6007 | 1
14 | Unknown Sample |  | Method Settings | 55446.4675 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6137 | 1
15 | Unknown Sample |  | Method Settings | 72012.4316 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6004 | 1
16 | Unknown Sample |  | Method Settings | 60366.418 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6142 | 1
17 | Unknown Sample |  | Method Settings | 69789.9742 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6131 | 1
18 | Unknown Sample |  | Method Settings | 62615.1986 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6135 | 1
25 | Unknown Sample |  | Method Settings | 70390.0955 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6126 | 1
26 | Unknown Sample |  | Method Settings | 64052.9371 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6004 | 1
27 | Unknown Sample |  | Method Settings | 79334.9631 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6128 | 1
28 | Unknown Sample |  | Method Settings | 53512.2107 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6135 | 1
29 | Unknown Sample |  | Method Settings | 37209.9717 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6138 | 1
30 | Unknown Sample |  | Method Settings | 47255.8263 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6135 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Ψ
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Ψ |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 506226.1762 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5866 | 1
02 | Unknown Sample |  | Method Settings | 602229.9059 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5867 | 1
03 | Unknown Sample |  | Method Settings | 597302.4305 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5871 | 1
13 | Unknown Sample |  | Method Settings | 741230.466 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5862 | 1
14 | Unknown Sample |  | Method Settings | 669778.3158 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5865 | 1
15 | Unknown Sample |  | Method Settings | 781585.291 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5859 | 1
16 | Unknown Sample |  | Method Settings | 714156.0351 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.587 | 1
17 | Unknown Sample |  | Method Settings | 819196.3735 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5859 | 1
18 | Unknown Sample |  | Method Settings | 735317.8491 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5863 | 1
25 | Unknown Sample |  | Method Settings | 831792.5776 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5854 | 1
26 | Unknown Sample |  | Method Settings | 709117.87 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5859 | 1
27 | Unknown Sample |  | Method Settings | 915592.5692 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5856 | 1
28 | Unknown Sample |  | Method Settings | 641408.9495 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5863 | 1
29 | Unknown Sample |  | Method Settings | 480752.9129 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5866 | 1
30 | Unknown Sample |  | Method Settings | 550888.4131 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.5863 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m3C
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m3C |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 1671410.3402 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6918 | 1
02 | Unknown Sample |  | Method Settings | 1685535.3901 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6792 | 1
03 | Unknown Sample |  | Method Settings | 1666403.3638 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6796 | 1
13 | Unknown Sample |  | Method Settings | 1896925.0087 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6787 | 1
14 | Unknown Sample |  | Method Settings | 1570246.1974 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.679 | 1
15 | Unknown Sample |  | Method Settings | 1968143.8498 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6784 | 1
16 | Unknown Sample |  | Method Settings | 1789374.3752 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6795 | 1
17 | Unknown Sample |  | Method Settings | 1981087.2526 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6784 | 1
18 | Unknown Sample |  | Method Settings | 1843622.152 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6788 | 1
25 | Unknown Sample |  | Method Settings | 2088468.439 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6779 | 1
26 | Unknown Sample |  | Method Settings | 1755458.0416 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6784 | 1
27 | Unknown Sample |  | Method Settings | 2200513.0858 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6781 | 1
28 | Unknown Sample |  | Method Settings | 1659416.1758 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6788 | 1
29 | Unknown Sample |  | Method Settings | 1227072.5878 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6791 | 1
30 | Unknown Sample |  | Method Settings | 1407693.3791 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.6788 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m1A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m1A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 45362955.1701 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7867 | 1
02 | Unknown Sample |  | Method Settings | 47939016.3347 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7725 | 1
03 | Unknown Sample |  | Method Settings | 45960974.5978 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7727 | 1
13 | Unknown Sample |  | Method Settings | 56272907.1265 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.772 | 1
14 | Unknown Sample |  | Method Settings | 47825967.8578 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7718 | 1
15 | Unknown Sample |  | Method Settings | 54923664.7527 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7713 | 1
16 | Unknown Sample |  | Method Settings | 52080579.3281 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7728 | 1
17 | Unknown Sample |  | Method Settings | 57808789.2864 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7717 | 1
18 | Unknown Sample |  | Method Settings | 53457104.5055 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7721 | 1
25 | Unknown Sample |  | Method Settings | 58784081.9698 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7852 | 1
26 | Unknown Sample |  | Method Settings | 50075302.8501 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7857 | 1
27 | Unknown Sample |  | Method Settings | 61197834.7604 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7853 | 1
28 | Unknown Sample |  | Method Settings | 46561435.574 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7866 | 1
29 | Unknown Sample |  | Method Settings | 36373407.9203 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7869 | 1
30 | Unknown Sample |  | Method Settings | 40427760.1987 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.7866 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m5C
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m5C |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 1595489.2278 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.9115 | 1
02 | Unknown Sample |  | Method Settings | 1948114.0805 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.899 | 1
03 | Unknown Sample |  | Method Settings | 1963229.7748 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8993 | 1
13 | Unknown Sample |  | Method Settings | 2334262.8755 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8977 | 1
14 | Unknown Sample |  | Method Settings | 2101103.2832 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8857 | 1
15 | Unknown Sample |  | Method Settings | 2537308.0773 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8974 | 1
16 | Unknown Sample |  | Method Settings | 2362317.2887 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.899 | 1
17 | Unknown Sample |  | Method Settings | 2645345.5928 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8974 | 1
18 | Unknown Sample |  | Method Settings | 2369986.2876 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8981 | 1
25 | Unknown Sample |  | Method Settings | 2618075.7081 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8967 | 1
26 | Unknown Sample |  | Method Settings | 2366009.4483 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8975 | 1
27 | Unknown Sample |  | Method Settings | 2991855.1314 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.884 | 1
28 | Unknown Sample |  | Method Settings | 2089935.6843 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8985 | 1
29 | Unknown Sample |  | Method Settings | 1588203.4036 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8991 | 1
30 | Unknown Sample |  | Method Settings | 1688849.0403 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 1.8989 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## ncm5U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
ncm5U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 54524.0332 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1255 | 1
02 | Unknown Sample |  | Method Settings | 64356.3847 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1257 | 1
03 | Unknown Sample |  | Method Settings | 73393.2457 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.126 | 1
13 | Unknown Sample |  | Method Settings | 79791.3043 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1244 | 1
14 | Unknown Sample |  | Method Settings | 66058.1906 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1251 | 1
15 | Unknown Sample |  | Method Settings | 80957.1303 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1132 | 1
16 | Unknown Sample |  | Method Settings | 77085.8228 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1148 | 1
17 | Unknown Sample |  | Method Settings | 84001.2312 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1241 | 1
18 | Unknown Sample |  | Method Settings | 73193.0347 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1247 | 1
25 | Unknown Sample |  | Method Settings | 88066.908 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1233 | 1
26 | Unknown Sample |  | Method Settings | 71975.6855 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1242 | 1
27 | Unknown Sample |  | Method Settings | 101367.7334 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1234 | 1
28 | Unknown Sample |  | Method Settings | 75670.0891 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1252 | 1
29 | Unknown Sample |  | Method Settings | 53262.3277 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1258 | 1
30 | Unknown Sample |  | Method Settings | 56771.9585 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.1364 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 83035.5659 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4484 | 1
02 | Unknown Sample |  | Method Settings | 108341.0856 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4576 | 1
03 | Unknown Sample |  | Method Settings | 103600.6663 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4489 | 1
13 | Unknown Sample |  | Method Settings | 159851.5072 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4472 | 1
14 | Unknown Sample |  | Method Settings | 135095.3518 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.448 | 1
15 | Unknown Sample |  | Method Settings | 177572.9937 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4469 | 1
16 | Unknown Sample |  | Method Settings | 147867.8552 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4485 | 1
17 | Unknown Sample |  | Method Settings | 176075.0147 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.456 | 1
18 | Unknown Sample |  | Method Settings | 167351.7034 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4476 | 1
25 | Unknown Sample |  | Method Settings | 178353.2646 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4552 | 1
26 | Unknown Sample |  | Method Settings | 151871.3974 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4561 | 1
27 | Unknown Sample |  | Method Settings | 220386.6622 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4462 | 1
28 | Unknown Sample |  | Method Settings | 147854.8312 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.448 | 1
29 | Unknown Sample |  | Method Settings | 90869.2906 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4576 | 1
30 | Unknown Sample |  | Method Settings | 113711.2936 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.4484 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Cm
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Cm |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 104516.799 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.997 | 1
02 | Unknown Sample |  | Method Settings | 125581.3305 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9974 | 1
03 | Unknown Sample |  | Method Settings | 127317.4266 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9904 | 1
13 | Unknown Sample |  | Method Settings | 162475.0877 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9884 | 1
14 | Unknown Sample |  | Method Settings | 135605.4954 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9826 | 1
15 | Unknown Sample |  | Method Settings | 163327.4266 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.988 | 1
16 | Unknown Sample |  | Method Settings | 155074.9268 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9826 | 1
17 | Unknown Sample |  | Method Settings | 163978.6154 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9878 | 1
18 | Unknown Sample |  | Method Settings | 153779.6626 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9671 | 1
25 | Unknown Sample |  | Method Settings | 172838.9462 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9726 | 1
26 | Unknown Sample |  | Method Settings | 153748.9816 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9738 | 1
27 | Unknown Sample |  | Method Settings | 209393.9611 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9722 | 1
28 | Unknown Sample |  | Method Settings | 133284.1314 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9678 | 1
29 | Unknown Sample |  | Method Settings | 102005.9105 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9758 | 1
30 | Unknown Sample |  | Method Settings | 115335.6826 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 2.9756 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 202868612.9869 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6364 | 1
02 | Unknown Sample |  | Method Settings | 240065065.8101 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6363 | 1
03 | Unknown Sample |  | Method Settings | 236670276.133 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6362 | 1
13 | Unknown Sample |  | Method Settings | 295390824.1121 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6355 | 1
14 | Unknown Sample |  | Method Settings | 263346368.0362 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6267 | 1
15 | Unknown Sample |  | Method Settings | 309584911.1188 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6264 | 1
16 | Unknown Sample |  | Method Settings | 289986535.4846 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.635 | 1
17 | Unknown Sample |  | Method Settings | 320688876.0514 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.626 | 1
18 | Unknown Sample |  | Method Settings | 308180607.8532 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6268 | 1
25 | Unknown Sample |  | Method Settings | 309209994.6558 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6269 | 1
26 | Unknown Sample |  | Method Settings | 295423995.9093 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6264 | 1
27 | Unknown Sample |  | Method Settings | 363451374.864 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6177 | 1
28 | Unknown Sample |  | Method Settings | 299722602.6203 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6261 | 1
29 | Unknown Sample |  | Method Settings | 221410229.7597 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6272 | 1
30 | Unknown Sample |  | Method Settings | 245370240.3794 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.6272 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Um
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Um |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 63809.9606 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4774 | 1
02 | Unknown Sample |  | Method Settings | 72797.5887 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4615 | 1
03 | Unknown Sample |  | Method Settings | 70084.9536 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4889 | 1
13 | Unknown Sample |  | Method Settings | 87905.8802 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.467 | 1
14 | Unknown Sample |  | Method Settings | 76365.977 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4775 | 1
15 | Unknown Sample |  | Method Settings | 93374.1754 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4666 | 1
16 | Unknown Sample |  | Method Settings | 85017.4086 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.472 | 1
17 | Unknown Sample |  | Method Settings | 97795.5292 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4717 | 1
18 | Unknown Sample |  | Method Settings | 88805.8452 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.462 | 1
25 | Unknown Sample |  | Method Settings | 94709.1881 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4566 | 1
26 | Unknown Sample |  | Method Settings | 86050.8084 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4778 | 1
27 | Unknown Sample |  | Method Settings | 112093.4896 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.478 | 1
28 | Unknown Sample |  | Method Settings | 74397.2292 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4827 | 1
29 | Unknown Sample |  | Method Settings | 55654.2656 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4779 | 1
30 | Unknown Sample |  | Method Settings | 62919.4809 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 3.4723 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## G
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
G |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 36013186.3472 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.331 | 1
02 | Unknown Sample |  | Method Settings | 42042151.9727 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3167 | 1
03 | Unknown Sample |  | Method Settings | 42390772.5629 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3232 | 1
13 | Unknown Sample |  | Method Settings | 51439047.1292 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3149 | 1
14 | Unknown Sample |  | Method Settings | 48438271.6522 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3151 | 1
15 | Unknown Sample |  | Method Settings | 54504568.9412 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3092 | 1
16 | Unknown Sample |  | Method Settings | 50930949.2576 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3163 | 1
17 | Unknown Sample |  | Method Settings | 56926127.1417 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3086 | 1
18 | Unknown Sample |  | Method Settings | 53781300.3039 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3084 | 1
25 | Unknown Sample |  | Method Settings | 53633573.3658 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.308 | 1
26 | Unknown Sample |  | Method Settings | 50676536.3306 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3097 | 1
27 | Unknown Sample |  | Method Settings | 63432769.262 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3215 | 1
28 | Unknown Sample |  | Method Settings | 52451099.3343 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3094 | 1
29 | Unknown Sample |  | Method Settings | 37328464.9946 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3307 | 1
30 | Unknown Sample |  | Method Settings | 41738055.0197 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 4.3235 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## I
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
I |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
02 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
03 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
13 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
14 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
15 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
16 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
17 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
18 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
25 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
26 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
27 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
28 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
29 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
30 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Q
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Q |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 689309.663 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0616 | 1
02 | Unknown Sample |  | Method Settings | 818978.9532 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0598 | 1
03 | Unknown Sample |  | Method Settings | 820773.7255 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0508 | 1
13 | Unknown Sample |  | Method Settings | 840860.2838 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0464 | 1
14 | Unknown Sample |  | Method Settings | 738177.6364 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0378 | 1
15 | Unknown Sample |  | Method Settings | 826788.9756 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0219 | 1
16 | Unknown Sample |  | Method Settings | 837445.5483 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0317 | 1
17 | Unknown Sample |  | Method Settings | 886427.3853 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.01 | 1
18 | Unknown Sample |  | Method Settings | 878339.7722 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0195 | 1
25 | Unknown Sample |  | Method Settings | 543004.9627 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0188 | 1
26 | Unknown Sample |  | Method Settings | 499886.5807 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0133 | 1
27 | Unknown Sample |  | Method Settings | 645161.6844 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0005 | 1
28 | Unknown Sample |  | Method Settings | 451481.3185 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0017 | 1
29 | Unknown Sample |  | Method Settings | 336390.127 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0157 | 1
30 | Unknown Sample |  | Method Settings | 377502.7283 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.0142 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m5U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m5U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 3450.2708 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3125 | 1
02 | Unknown Sample |  | Method Settings | 10495.6389 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3253 | 1
03 | Unknown Sample |  | Method Settings | 6624.1381 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.2818 | 1
13 | Unknown Sample |  | Method Settings | 9170.4062 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3228 | 1
14 | Unknown Sample |  | Method Settings | 5126.7432 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.2942 | 1
15 | Unknown Sample |  | Method Settings | 10720.8898 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.302 | 1
16 | Unknown Sample |  | Method Settings | 8697.4067 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3172 | 1
17 | Unknown Sample |  | Method Settings | 10951.8332 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.2936 | 1
18 | Unknown Sample |  | Method Settings | 8763.4903 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3086 | 1
25 | Unknown Sample |  | Method Settings | 8822.952 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3007 | 1
26 | Unknown Sample |  | Method Settings | 9587.6449 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.317 | 1
27 | Unknown Sample |  | Method Settings | 10051.2332 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.2933 | 1
28 | Unknown Sample |  | Method Settings | 6179.9761 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3381 | 1
29 | Unknown Sample |  | Method Settings | 2883.1994 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3048 | 1
30 | Unknown Sample |  | Method Settings | 3134.56 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 5.3251 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Am
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Am |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 629193.2636 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9663 | 1
02 | Unknown Sample |  | Method Settings | 777209.9865 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9789 | 1
03 | Unknown Sample |  | Method Settings | 723947.7239 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9812 | 1
13 | Unknown Sample |  | Method Settings | 899825.6965 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9688 | 1
14 | Unknown Sample |  | Method Settings | 851001.5731 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9708 | 1
15 | Unknown Sample |  | Method Settings | 970047.3017 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9571 | 1
16 | Unknown Sample |  | Method Settings | 817150.5653 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9431 | 1
17 | Unknown Sample |  | Method Settings | 911597.3343 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.945 | 1
18 | Unknown Sample |  | Method Settings | 855563.5825 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9347 | 1
25 | Unknown Sample |  | Method Settings | 893549.4412 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9321 | 1
26 | Unknown Sample |  | Method Settings | 918766.5561 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9317 | 1
27 | Unknown Sample |  | Method Settings | 1149493.3357 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.952 | 1
28 | Unknown Sample |  | Method Settings | 1146311.0772 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9371 | 1
29 | Unknown Sample |  | Method Settings | 817472.501 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9377 | 1
30 | Unknown Sample |  | Method Settings | 913110.8994 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 7.9495 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m1G
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m1G |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | User Settings | 3009799.7818 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4324 | 1
02 | Unknown Sample |  | User Settings | 3516881.8843 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4214 | 1
03 | Unknown Sample |  | User Settings | 3454956.1495 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4291 | 1
13 | Unknown Sample |  | User Settings | 4454776.9485 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4404 | 1
14 | Unknown Sample |  | User Settings | 3894366.8046 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4115 | 1
15 | Unknown Sample |  | User Settings | 4469289.2495 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.3997 | 1
16 | Unknown Sample |  | User Settings | 4252197.015 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4147 | 1
17 | Unknown Sample |  | User Settings | 4849361.7779 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4184 | 1
18 | Unknown Sample |  | User Settings | 4431700.8548 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.419 | 1
25 | Unknown Sample |  | User Settings | 4684308.3278 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4073 | 1
26 | Unknown Sample |  | User Settings | 4155798.7754 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4142 | 1
27 | Unknown Sample |  | User Settings | 5564730.6545 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4109 | 1
28 | Unknown Sample |  | User Settings | 4181496.0866 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4359 | 1
29 | Unknown Sample |  | User Settings | 2995863.2395 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4148 | 1
30 | Unknown Sample |  | User Settings | 3347957.5952 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 8.4393 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Gm
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
Gm |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 392787.7584 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4629 | 1
02 | Unknown Sample |  | Method Settings | 471531.9813 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4302 | 1
03 | Unknown Sample |  | Method Settings | 464738.2482 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4306 | 1
13 | Unknown Sample |  | Manual Integration | 587128.3253 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4092 | 1
14 | Unknown Sample |  | Method Settings | 517124.6894 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4421 | 1
15 | Unknown Sample |  | Method Settings | 616751.9266 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4411 | 1
16 | Unknown Sample |  | Manual Integration | 572904.5744 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.398 | 1
17 | Unknown Sample |  | Manual Integration | 640658.7265 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.42 | 1
18 | Unknown Sample |  | Manual Integration | 601988.8821 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.426 | 1
25 | Unknown Sample |  | Manual Integration | 638568.3029 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4143 | 1
26 | Unknown Sample |  | Method Settings | 583402.6608 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4302 | 1
27 | Unknown Sample |  | Manual Integration | 761959.9658 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4034 | 1
28 | Unknown Sample |  | Manual Integration | 551587.2319 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4247 | 1
29 | Unknown Sample |  | Method Settings | 410197.2805 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4308 | 1
30 | Unknown Sample |  | Manual Integration | 456827.7226 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.4246 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m1I
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m1I |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | User Settings | 8736.1183 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.9674 | 1
02 | Unknown Sample |  | User Settings | 13567.6145 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8639 | 1
03 | Unknown Sample |  | User Settings | 11505.2528 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8969 | 1
13 | Unknown Sample |  | User Settings | 18937.8699 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.9081 | 1
14 | Unknown Sample |  | User Settings | 15238.6613 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8594 | 1
15 | Unknown Sample |  | User Settings | 19627.722 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8966 | 1
16 | Unknown Sample |  | User Settings | 16452.1396 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8589 | 1
17 | Unknown Sample |  | User Settings | 22866.7156 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8645 | 1
18 | Unknown Sample |  | User Settings | 21530.0132 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8705 | 1
25 | Unknown Sample |  | User Settings | 24617.5412 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8806 | 1
26 | Unknown Sample |  | User Settings | 15673.8413 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8965 | 1
27 | Unknown Sample |  | User Settings | 23491.8772 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8861 | 1
28 | Unknown Sample |  | User Settings | 10246.6525 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.8637 | 1
29 | Unknown Sample |  | User Settings | 8587.3972 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.9134 | 1
30 | Unknown Sample |  | User Settings | 6620.4869 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 9.9617 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m2A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m2A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 2166798.6859 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.259 | 1
02 | Unknown Sample |  | Method Settings | 2302420.86 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.2154 | 1
03 | Unknown Sample |  | Method Settings | 2476774.3209 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.2267 | 1
13 | Unknown Sample |  | Method Settings | 2869802.0959 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1962 | 1
14 | Unknown Sample |  | Method Settings | 2490986.769 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1856 | 1
15 | Unknown Sample |  | Method Settings | 2821282.8772 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1937 | 1
16 | Unknown Sample |  | Method Settings | 2757159.4535 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1959 | 1
17 | Unknown Sample |  | Method Settings | 3193524.0533 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.207 | 1
18 | Unknown Sample |  | Method Settings | 3052524.4517 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.164 | 1
25 | Unknown Sample |  | Method Settings | 2870809.2405 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1831 | 1
26 | Unknown Sample |  | Method Settings | 3067010.9265 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1937 | 1
27 | Unknown Sample |  | Method Settings | 3562786.9709 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1723 | 1
28 | Unknown Sample |  | Method Settings | 2453786.0962 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1826 | 1
29 | Unknown Sample |  | Method Settings | 1944820.3296 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1851 | 1
30 | Unknown Sample |  | Method Settings | 2203706.0114 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.1935 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m2G
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m2G |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 3455255.5951 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5815 | 1
02 | Unknown Sample |  | Method Settings | 4111084.4826 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5179 | 1
03 | Unknown Sample |  | Method Settings | 4121036.4389 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5944 | 1
13 | Unknown Sample |  | Method Settings | 5159468.9818 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5063 | 1
14 | Unknown Sample |  | Method Settings | 4551737.7629 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5066 | 1
15 | Unknown Sample |  | Method Settings | 5429164.7185 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.4929 | 1
16 | Unknown Sample |  | Method Settings | 5128150.8922 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5061 | 1
17 | Unknown Sample |  | Method Settings | 5551312.8083 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5204 | 1
18 | Unknown Sample |  | Method Settings | 5645192.5366 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.485 | 1
25 | Unknown Sample |  | Method Settings | 5680856.3082 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.4932 | 1
26 | Unknown Sample |  | Method Settings | 5342199.9207 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5941 | 1
27 | Unknown Sample |  | Method Settings | 6792593.9629 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.4933 | 1
28 | Unknown Sample |  | Method Settings | 5000622.4977 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.4818 | 1
29 | Unknown Sample |  | Method Settings | 3705860.457 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.4952 | 1
30 | Unknown Sample |  | Method Settings | 3999392.9625 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.5037 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## ac4C
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
ac4C |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 13507.8011 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.7066 | 1
02 | Unknown Sample |  | Method Settings | 18979.4037 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6558 | 1
03 | Unknown Sample |  | Method Settings | 17870.0608 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.7323 | 1
13 | Unknown Sample |  | Method Settings | 24476.8632 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6456 | 1
14 | Unknown Sample |  | Method Settings | 18739.758 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6332 | 1
15 | Unknown Sample |  | Method Settings | 23964.037 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6304 | 1
16 | Unknown Sample |  | Method Settings | 23348.2506 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6454 | 1
17 | Unknown Sample |  | Method Settings | 27523.5985 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6582 | 1
18 | Unknown Sample |  | Method Settings | 22133.7192 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6334 | 1
25 | Unknown Sample |  | Method Settings | 24352.7853 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6434 | 1
26 | Unknown Sample |  | Method Settings | 21364.1306 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.732 | 1
27 | Unknown Sample |  | Method Settings | 28337.9809 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6307 | 1
28 | Unknown Sample |  | Method Settings | 19107.5809 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6175 | 1
29 | Unknown Sample |  | Method Settings | 13342.166 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6327 | 1
30 | Unknown Sample |  | Method Settings | 14453.5965 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.643 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## mcm5U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
mcm5U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 1163.3894 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.7375 | 1
02 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
03 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
13 | Unknown Sample |  | Method Settings | 2623.6368 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6638 | 1
14 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
15 | Unknown Sample |  | Method Settings | 3007.508 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6739 | 1
16 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
17 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
18 | Unknown Sample |  | Method Settings | 1043.8965 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6388 | 1
25 | Unknown Sample |  | Method Settings | 1172.8533 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6488 | 1
26 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
27 | Unknown Sample |  | Method Settings | 1337.8104 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6743 | 1
28 | Unknown Sample |  | Method Settings | 2117.2543 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6483 | 1
29 | Unknown Sample |  | Method Settings | 1225.9162 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 10.6762 | 1
30 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## cm5U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
cm5U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
02 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
03 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
13 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
14 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
15 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
16 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
17 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
18 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
25 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
26 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
27 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
28 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
29 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
30 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## ncm5s2U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
ncm5s2U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
02 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
03 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
13 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
14 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
15 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
16 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
17 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
18 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
25 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
26 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
27 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
28 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
29 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
30 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m5Um
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m5Um |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 5983.2206 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5073 | 1
02 | Unknown Sample |  | Method Settings | 9165.9985 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4367 | 1
03 | Unknown Sample |  | Method Settings | 7336.9865 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4697 | 1
13 | Unknown Sample |  | Method Settings | 11488.5692 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4483 | 1
14 | Unknown Sample |  | Method Settings | 9918.4827 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4269 | 1
15 | Unknown Sample |  | Method Settings | 9753.289 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4367 | 1
16 | Unknown Sample |  | Method Settings | 8560.6208 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4263 | 1
17 | Unknown Sample |  | Method Settings | 13265.6592 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4265 | 1
18 | Unknown Sample |  | Method Settings | 10152.2152 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4162 | 1
25 | Unknown Sample |  | Method Settings | 12453.2884 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4152 | 1
26 | Unknown Sample |  | Method Settings | 10837.5157 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4911 | 1
27 | Unknown Sample |  | Method Settings | 12862.5518 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4262 | 1
28 | Unknown Sample |  | Method Settings | 8046.4085 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4365 | 1
29 | Unknown Sample |  | Method Settings | 3944.143 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4154 | 1
30 | Unknown Sample |  | Method Settings | 7114.0084 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.4367 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m22G
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m22G |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 4597988.2825 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.6273 | 1
02 | Unknown Sample |  | Method Settings | 5571750.0146 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.547 | 1
03 | Unknown Sample |  | Method Settings | 5464482.2547 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5765 | 1
13 | Unknown Sample |  | Method Settings | 6910648.1894 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5642 | 1
14 | Unknown Sample |  | Method Settings | 6027118.8277 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.539 | 1
15 | Unknown Sample |  | Method Settings | 6755774.5259 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5471 | 1
16 | Unknown Sample |  | Method Settings | 6544999.8089 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5385 | 1
17 | Unknown Sample |  | Method Settings | 7158407.7938 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5514 | 1
18 | Unknown Sample |  | Method Settings | 6918294.6692 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5393 | 1
25 | Unknown Sample |  | Method Settings | 6875047.6613 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5383 | 1
26 | Unknown Sample |  | Method Settings | 6178127.2988 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.6234 | 1
27 | Unknown Sample |  | Method Settings | 8393075.6743 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5256 | 1
28 | Unknown Sample |  | Method Settings | 5834903.1048 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5468 | 1
29 | Unknown Sample |  | Method Settings | 4335413.8926 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5385 | 1
30 | Unknown Sample |  | Method Settings | 4943234.2505 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 11.5343 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## m62A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
m62A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 4417.9226 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2422 | 1
02 | Unknown Sample |  | Method Settings | 2788.8631 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2146 | 1
03 | Unknown Sample |  | Method Settings | 4537.0908 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2168 | 1
13 | Unknown Sample |  | Method Settings | 5330.056 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2045 | 1
14 | Unknown Sample |  | Method Settings | 3815.7909 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.192 | 1
15 | Unknown Sample |  | Method Settings | 3097.7043 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2146 | 1
16 | Unknown Sample |  | Method Settings | 4840.0065 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2042 | 1
17 | Unknown Sample |  | Method Settings | 3847.0047 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2045 | 1
18 | Unknown Sample |  | Method Settings | 3608.8263 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.1922 | 1
25 | Unknown Sample |  | Method Settings | 1096.4239 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2041 | 1
26 | Unknown Sample |  | Method Settings | 3252.743 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2529 | 1
27 | Unknown Sample |  | Method Settings | 5360.6439 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.1914 | 1
28 | Unknown Sample |  | Method Settings | 20091.1388 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2016 | 1
29 | Unknown Sample |  | Method Settings | 16498.8377 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2042 | 1
30 | Unknown Sample |  | Method Settings | 15832.9752 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.1891 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## mcm5s2U
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
mcm5s2U |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 36398.6016 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2622 | 1
02 | Unknown Sample |  | Method Settings | 39792.2779 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2347 | 1
03 | Unknown Sample |  | Method Settings | 34526.2819 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2369 | 1
13 | Unknown Sample |  | Method Settings | 42678.8527 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2373 | 1
14 | Unknown Sample |  | Method Settings | 37959.1599 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2121 | 1
15 | Unknown Sample |  | Method Settings | 51182.8235 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2219 | 1
16 | Unknown Sample |  | Method Settings | 45607.2354 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2242 | 1
17 | Unknown Sample |  | Method Settings | 46977.3261 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2245 | 1
18 | Unknown Sample |  | Method Settings | 42742.0085 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.225 | 1
25 | Unknown Sample |  | Method Settings | 52641.1977 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2113 | 1
26 | Unknown Sample |  | Method Settings | 38233.4567 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2602 | 1
27 | Unknown Sample |  | Method Settings | 57281.4298 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2114 | 1
28 | Unknown Sample |  | Method Settings | 34332.6113 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2216 | 1
29 | Unknown Sample |  | Method Settings | 26573.5533 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2242 | 1
30 | Unknown Sample |  | Method Settings | 32992.2003 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.2091 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## mcm5Um
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
mcm5Um |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
02 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
03 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
13 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
14 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
15 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
16 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
17 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
18 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
25 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
26 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
27 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
28 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
29 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
30 | Unknown Sample |  | Method Settings | NF | NA | NF | NA | NF | NF | NF | Not Found | NA |  | NF | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## t6A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
t6A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 1074051.8938 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5372 | 1
02 | Unknown Sample |  | Method Settings | 1308269.6897 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5369 | 1
03 | Unknown Sample |  | Method Settings | 1301272.2915 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5373 | 1
13 | Unknown Sample |  | Method Settings | 1633109.8359 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5376 | 1
14 | Unknown Sample |  | Method Settings | 1449904.2237 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.538 | 1
15 | Unknown Sample |  | Method Settings | 1622952.4025 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5368 | 1
16 | Unknown Sample |  | Method Settings | 1615587.6391 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5374 | 1
17 | Unknown Sample |  | Method Settings | 1771872.9268 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5377 | 1
18 | Unknown Sample |  | Method Settings | 1675196.4674 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5309 | 1
25 | Unknown Sample |  | Method Settings | 1611172.7708 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5373 | 1
26 | Unknown Sample |  | Method Settings | 1598528.9042 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5369 | 1
27 | Unknown Sample |  | Method Settings | 1928688.6159 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5374 | 1
28 | Unknown Sample |  | Method Settings | 1510984.1907 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5366 | 1
29 | Unknown Sample |  | Method Settings | 1214186.7939 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5374 | 1
30 | Unknown Sample |  | Method Settings | 1309012.9091 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 12.5277 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## i6A
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
i6A |  |  |  |  | N/A
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area | Amount | Amount | %Diff | %RSD-AMT | Peak Status | Level | Units | RT | Sample ID
01 | Unknown Sample |  | Method Settings | 57655.6497 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1519 | 1
02 | Unknown Sample |  | Method Settings | 28173.1286 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1479 | 1
03 | Unknown Sample |  | Method Settings | 71171.2148 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1519 | 1
13 | Unknown Sample |  | Method Settings | 65685.2232 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1524 | 1
14 | Unknown Sample |  | Method Settings | 94960.4488 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.149 | 1
15 | Unknown Sample |  | Method Settings | 48362.5735 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1479 | 1
16 | Unknown Sample |  | Method Settings | 73578.5549 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1557 | 1
17 | Unknown Sample |  | Method Settings | 103265.8294 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1487 | 1
18 | Unknown Sample |  | Method Settings | 107292.2817 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1492 | 1
25 | Unknown Sample |  | Method Settings | 69898.0634 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1484 | 1
26 | Unknown Sample |  | Method Settings | 102105.5738 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.148 | 1
27 | Unknown Sample |  | Method Settings | 55645.1748 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1447 | 1
28 | Unknown Sample |  | Method Settings | 72826.6252 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1477 | 1
29 | Unknown Sample |  | Method Settings | 55933.0064 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.152 | 1
30 | Unknown Sample |  | Method Settings | 70440.1854 | NA | NA | NA | NA | NA | NA | Response Low | NA |  | 13.1442 | 1
Created By:
User Name |  | Full Name |  | Date
kwelle |  | Welle, Kevin |  | 3/25/2022 6:53:38 PM

## Component (hidden)
Component Name |  | Curve Index | Weighting Index | Origin Index | Equation
[7 empty] | Specified | Calculated
Filename | Sample Type | Sample Name | Integ. Type | Area | ISTD Area | Area Ratio | Amount | Amount | %Diff | %RSD | Peak Status | Level | Units | RT | Sample ID | Excluded