| Type of assay | Assay used (manufacturer) | Extraction | PCR | Ct Interpretation criteria |
| --- | --- | --- | --- | --- |
| Laboratory-developed | BCCDC PHL LDT | MagMax | ABI 7500 | Ct threshold for positivity: 38 |
| Commercial | Xpert Xpress CoV-2 Plus (Cepheid) |  |  | Manufacturer recommended threshold |
|  | Panther Fusion (Hologic) |  |  |  |

BCCDC PHL: British Columbia Centre for Disease Control Public Health Laboratory; Ct: cycle threshold; LDT: laboratory-developed test; PCR: polymerase chain reaction; SARS-CoV-2: severe acute respiratory syndrome coronavirus type 2