Supplementary file 1. Cryo-EM statistics. Data collection, processing, model refinement and validation statistics.

Data collection and processing Magnification 165,000

Voltage(kV) 300

Electron 60

exposure(eˉ/Å²)

Energy filter slit — width(eV)

Defocus range(μm) -0.8 to -2.2

Pixel size(Å) 0.729

Symmetry imposed C1

Movies(no.) 9,765

Initial particle 480,721 images(no.)

Final particle 197,562

images(no.)

Map resolution(Å) 3.3 FSC threshold. 0.143

Refinement

Initial model used AlphaFold

Model composition

Non-hydrogen 6118

atoms

Protein residues 780

R.m.s deviations Bond lengths(Å) 0.005

Bond angles(°) 0.553

Validation

MolProbity score 1.80

Clashscore 6.07

Rotamer outliers(%) 0.58

Ramachandran plot Favored(%) 98.57

Allowed(%) 1.30

Disallowed(%) 0.13

Model to map CC 0.77/0.76/

(mask, peaks, volume) 0.66