## PK Report
Preclinical PK Study Report
null
Study Details | [7 empty] | Clinical Observation
Sponsor | 403346 | [6 empty] | Clinical Observation:Please refer to Animal BW&Clinical Observation sheet
Sponsor Study No. | 2649
WuXi DMPK Study No. | 403346-2019120405-CPK
Species | Male Rhesus Monkey, Fasted
Administered compound | kCBJ874 | kCBJ874
Phase | 1 | 2
Study Group | PO1 | PO1
Nominal dose (mg/kg) | 1.00 | 30.0 | [5 empty] | PK Calculation Settings
Administered dose (mg/kg) | 0.983 | 28.0 | [5 empty] | Program |  | Phoenix WinNonlin 6.3
Formulation | 1 mg/mL in 0.5%MC/0.5%Tw80, clear solution | 6 mg/mL in 0.5%MC/0.5%Tw80, homogenous opaque suspension | [5 empty] | Model |  | PO-Noncompartmental model 200 (extravascular input)
In-life start date | 2019/12/10 | 2019/12/17 | [5 empty] | Calculation method |  | Linear/log trapezoidal
Report date | 2019/12/20 | [6 empty] | Dose used (WNL calculation) |  | Nominal Dose
Report version | V.1. | [6 empty] | "BQL" was excluded in the PK parameters and mean concentration calculation.
Bioanalytical Details | [7 empty] | Data Analysis
Analyte compound | kCBJ874 | [6 empty] | Calculated by |  | Xiaohui Jiang/Chen Xu/Keke Wang
Batch No. | CBR-001-845-977-3 (K0619) | [6 empty] | Reviewed by |  | Guang Yang
Molecular weight | 283.327 | [6 empty] | Comments
Formular weight | 283.332 | [6 empty] | NA
Salt factor | 1.000
Purity (%) | 95
Analytical technique | LC-MS/MS
Matrix | Plasma (EDTA-K2)
Plasma LLOQ (ng/mL) | 1
Plasma ULOQ (ng/mL) | 3000
Pharmacokinetics of kCBJ874 (ng/mL)
kCBJ874
Phase1 | [7 empty] | Phase2
PO1 | [7 empty] | PO1
Time (h) | Rhesus1001 | Rhesus1002 | Rhesus1003 | Mean |  | SD | CV (%) | Time (h) | Rhesus1001 | Rhesus1002 | Rhesus1003 | Mean |  | SD | CV (%)
0.5 | 317 | 378 | 61 | 252 | ± | 168.1993 | 66.7457 | 0.5 | 14700 | 15900 | 10400 | 13666.6667 | ± | 2891.9428 | 21.1606
1 | 161 | 171 | 315 | 215.6667 | ± | 86.1704 | 39.9554 | 1 | 8850 | 10000 | 6830 | 8560 | ± | 1604.7741 | 18.7474
3 | 20.5 | 17.2 | 29.2 | 22.3 | ± | 6.1992 | 27.7991 | 3 | 1500 | 1240 | 1090 | 1276.6667 | ± | 207.4448 | 16.2489
8 | BQL | BQL | BQL | ND | ± | ND | ND | 8 | 25 | 29.8 | 139 | 64.6 | ± | 64.477 | 99.8096
24 | BQL | BQL | BQL | ND | ± | ND | ND | 24 | 1.69 | 2.19 | 2.47 | 2.1167 | ± | 0.39514 | 18.6679
PK Parameters | Rhesus1001 | Rhesus1002 | Rhesus1003 | Mean |  | SD | CV (%) | PK Parameters | Rhesus1001 | Rhesus1002 | Rhesus1003 | Mean |  | SD | CV (%)
Rsq_adj | 0.995 | 0.993 | ND | -- | ± | -- | -- | Rsq_adj | 0.774 | 0.763 | 0.976 | -- | ± | -- | --
No. points used for T1/2 | 3 | 3 | 0 | ND | ± | -- | -- | No. points used for T1/2 | 4 | 4 | 3 | ND | ± | -- | --
Cmax (ng/mL) | 317 | 378 | 315 | 336.6667 | ± | 35.8097 | 10.6365 | Cmax (ng/mL) | 14700 | 15900 | 10400 | 13666.6667 | ± | 2891.9428 | 21.1606
Tmax (h) | 0.5 | 0.5 | 1 | 0.66667 | ± | 0.28868 | 43.3013 | Tmax (h) | 0.5 | 0.5 | 0.5 | 0.5 | ± | 0 | 0
T1/2 (h) | 0.644 | 0.572 | ND | 0.608 | ± | ND | ND | T1/2 (h) | 2.02 | 2.09 | 2.47 | 2.1933 | ± | 0.24214 | 11.04
Tlast (h) | 3 | 3 | 3 | 3 | ± | -- | -- | Tlast (h) | 24 | 24 | 24 | 24 | ± | -- | --
AUC0-last (ng.h/mL) | 331 | 359 | 350 | 346.6667 | ± | 14.2945 | 4.1234 | AUC0-last (ng.h/mL) | 19661 | 20522 | 15952 | 18711.6667 | ± | 2428.4049 | 12.978
AUC0-inf (ng.h/mL) | 350 | 373 | ND | 361.5 | ± | ND | ND | AUC0-inf (ng.h/mL) | 19666 | 20528 | 15960 | 18718 | ± | 2427.0731 | 12.9665
MRT0-last (h) | 1.06 | 1.01 | 1.39 | 1.1533 | ± | 0.20648 | 17.9028 | MRT0-last (h) | 1.5 | 1.45 | 2.02 | 1.6567 | ± | 0.31565 | 19.0532
MRT0-inf (h) | 1.22 | 1.11 | ND | 1.165 | ± | ND | ND | MRT0-inf (h) | 1.51 | 1.46 | 2.04 | 1.67 | ± | 0.3214 | 19.2457
AUCExtra (%) | 5.44 | 3.81 | ND | 4.625 | ± | ND | ND | AUCExtra (%) | 0.025 | 0.0322 | 0.0551 | 0.037433 | ± | 0.015718 | 41.9883
AUMCExtra (%) | 17.5 | 13.1 | ND | 15.3 | ± | ND | ND | AUMCExtra (%) | 0.447 | 0.597 | 0.746 | 0.59667 | ± | 0.1495 | 25.0559
Cl/F(mL/min/kg) | 47.619 | 44.6828 | ND | 46.1509 | ± | ND | ND | Cl/F(mL/min/kg) | 25.4246 | 24.357 | 31.3283 | 27.0366 | ± | 3.7549 | 13.888
ND = Not determined (Parameters not determined due to inadequately defined terminal elimination phase)
BQL = Below the lower limit of quantitation (LLOQ)
If the adjusted rsq (linear regression coefficient of the concentration value on the terminal phase) is less than 0.9, T1/2 might not be accurately estimated.
If the % AUCExtra > 20%, AUC0-inf, Cl, MRT0-inf and Vdss might not be accurately estimated.
If the % AUMCExtra > 20%, MRT0-inf and Vdss might not be accurately estimated.
The adjusted linear regression coefficient of the concentration value on the terminal phase is less than 0.9, T1/2 might not be accurately estimated.
CL/F (mL/min/kg) =Dose/AUC0-inf*1000000/60
Mean PO-phase1
Mean PO-phase2

## Animal BW&Clinical Observation
Study Number | Phase | Group | Dose Route | Animal ID | Tattoo No. | Animal Body Weight (g) | Total Injection vomule (mL) | Clinical Observation
403346-2019120405-CPK | 1 | 1 | PO | Rhesus1001 | T162617 | 3780 | 3.78 | None.
| 1 | 1 | PO | Rhesus1002 | T162715 | 3380 | 3.38 | None.
| 1 | 1 | PO | Rhesus1003 | T162719 | 3340 | 3.34 | None.
| 2 | 1 | PO | Rhesus1001 | T162617 | 3690 | 18.45 | None.
| 1 | 1 | PO | Rhesus1002 | T162715 | 3330 | 16.65 | None.
| 1 | 1 | PO | Rhesus1003 | T162719 | 3270 | 16.35 | None.

## Bioanalytical Result
N.S. - No sample available
N.A. - Not available
N.D. - Not determined
BQL- Below the lower limit of quantitation (LLOQ)
Comment: In phase 1, 2 samples of "G1P1-Rhesus1003-0.5h-P & G1P1-Rhesus1003-1h-P" had been checked.
Phase1
kCBJ874
Monkey | LLOQ | 1 | ng/mL
PO1 | ULOQ | 3000 | ng/mL
Animal ID | Conc. (ng/mL) | Conc. (ng/mL) | Conc. (ng/mL)
| Rhesus1001 | Rhesus1002 | Rhesus1003
Time (h)
0.5 | 317 | 378 | 61
1 | 161 | 171 | 315
3 | 20.5 | 17.2 | 29.2
8 | BQL | BQL | BQL
24 | BQL | BQL | BQL
Phase2
kCBJ874
Monkey | LLOQ | 1 | ng/mL
PO1 | ULOQ | 3000 | ng/mL
Animal ID | Conc. (ng/mL) | Conc. (ng/mL) | Conc. (ng/mL)
| Rhesus1001 | Rhesus1002 | Rhesus1003
Time (h)
0.5 | 14700 | 15900 | 10400
1 | 8850 | 10000 | 6830
3 | 1500 | 1240 | 1090
8 | 25 | 29.8 | 139
24 | 1.69 | 2.19 | 2.47

## Raw Data 1
Peak Name: IS
Use as Internal Standard
Q1/Q3 Masses: 455.20/164.90 Da
Peak Name: kCBJ874
Internal Standard: IS
Q1/Q3 Masses: 284.20/194.10 Da
Fit | Quadratic | Weighting | 1 / (x * x) | Iterate | No
a0 | -2.21e-05
a1 | 0.000522
a2 | -6e-08
Correlation coefficient | 0.9995
Use Area
Sample Name | Sample Type | Dilution Factor | Analyte Concentration (ng/mL) | Use Record | Accuracy (%) | Calculated Concentration (ng/mL) | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Retention Time (min) | Area Ratio | IS Peak Area (counts) | IS Peak Height (cps) | IS Retention Time (min) | Record Modified | Plate Position | Vial Position | Acquisition Date | File Name | Analyte Peak Name | GROUPNO | SAMPLE_ID | MATRIX | TEST_ARTICLE | DOSE_ROUTE | ANIMAL_ID | TIMEPOINT_NUM | TIMEPOINT_TEXT | RETEST | BATCHID | CLEVEL | REPLICATE | SPECIES | Day
DOUBLE BLANK | Double Blank | 1 | 0 |  | N/A | N/A | 248 | 369 | 0.805 | 0.00584 | 42500 | 42300 | 1.11 | 0 | 3 | 1 | 2019-12-12 18:11 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 183 | 154 | 0.808 | 4.42e-06 | 41300000 | 43700000 | 1.11 | 0 | 3 | 2 | 2019-12-12 18:13 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 1
C8 | Standard | 1 | 1 | 1 | 98.2 | 0.982 | 20600 | 23400 | 0.803 | 0.000491 | 42000000 | 44600000 | 1.11 | 0 | 3 | 3 | 2019-12-12 18:15 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 8 | 1
C7 | Standard | 1 | 2 | 1 | 104 | 2.07 | 48700 | 54500 | 0.802 | 0.00106 | 46000000 | 48200000 | 1.11 | 0 | 3 | 4 | 2019-12-12 18:17 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 7 | 1
C6 | Standard | 1 | 10 | 1 | 100 | 10 | 216000 | 238000 | 0.802 | 0.00522 | 41300000 | 43700000 | 1.11 | 0 | 3 | 5 | 2019-12-12 18:19 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 6 | 1
C5 | Standard | 1 | 50 | 1 | 103 | 51.6 | 1110000 | 1260000 | 0.803 | 0.0268 | 41300000 | 44100000 | 1.11 | 0 | 3 | 6 | 2019-12-12 18:20 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 5 | 1
C4 | Standard | 1 | 100 | 1 | 94.7 | 94.7 | 2100000 | 2340000 | 0.802 | 0.0489 | 43000000 | 45900000 | 1.11 | 0 | 3 | 7 | 2019-12-12 18:22 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 4 | 1
C3 | Standard | 1 | 500 | 1 | 99.8 | 499 | 9950000 | 11000000 | 0.803 | 0.246 | 40500000 | 43000000 | 1.11 | 0 | 3 | 8 | 2019-12-12 18:24 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 3 | 1
C2 | Standard | 1 | 1000 | 1 | 99.7 | 997 | 19400000 | 21000000 | 0.803 | 0.461 | 42000000 | 44400000 | 1.11 | 0 | 3 | 9 | 2019-12-12 18:26 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 2 | 1
C1 | Standard | 1 | 3000 | 1 | 101 | 3020 | 42700000 | 43300000 | 0.803 | 1.03 | 41400000 | 43900000 | 1.11 | 0 | 3 | 10 | 2019-12-12 18:28 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 1 | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 12400 | 10000 | 0.8 | 0.0003 | 41200000 | 43500000 | 1.11 | 0 | 3 | 11 | 2019-12-12 18:30 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 4770 | 4410 | 0.802 | 0.000114 | 41900000 | 44700000 | 1.11 | 0 | 3 | 11 | 2019-12-12 18:31 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 1
QC4 | Quality Control | 1 | 3 | 1 | 111 | 3.34 | 69400 | 76700 | 0.803 | 0.00172 | 40300000 | 43300000 | 1.11 | 0 | 3 | 13 | 2019-12-12 18:33 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 4 | 1
QC3 | Quality Control | 1 | 40 | 1 | 106 | 42.4 | 891000 | 1010000 | 0.803 | 0.022 | 40500000 | 43300000 | 1.11 | 0 | 3 | 14 | 2019-12-12 18:35 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 3 | 1
QC2 | Quality Control | 1 | 800 | 1 | 101 | 811 | 15500000 | 17000000 | 0.803 | 0.384 | 40400000 | 43000000 | 1.11 | 0 | 3 | 15 | 2019-12-12 18:37 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 2 | 1
QC1 | Quality Control | 1 | 2400 | 1 | 101 | 2420 | 37000000 | 38600000 | 0.803 | 0.913 | 40600000 | 43200000 | 1.11 | 0 | 3 | 16 | 2019-12-12 18:39 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 1 | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 22900 | 19900 | 0.802 | 0.000569 | 40300000 | 42900000 | 1.11 | 0 | 3 | 12 | 2019-12-12 18:40 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
BLANK | Blank | 1 | 0 |  | N/A | N/A | 6230 | 5720 | 0.806 | 0.000152 | 41000000 | 43800000 | 1.11 | 0 | 3 | 12 | 2019-12-12 18:42 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
G1P1-Rhesus1001-24h-P | Unknown | 1 | N/A |  | N/A | 0.288 | 5570 | 5570 | 0.805 | 0.000128 | 43400000 | 46000000 | 1.11 | 0 | 3 | 29 | 2019-12-12 18:44 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643775 | Plasma | kCBJ874 | PO | Rhesus1001 | 24 | 24 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1001-8h-P | Unknown | 1 | N/A |  | N/A | 0.831 | 17900 | 19800 | 0.802 | 0.000412 | 43500000 | 46000000 | 1.11 | 0 | 3 | 28 | 2019-12-12 18:46 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643769 | Plasma | kCBJ874 | PO | Rhesus1001 | 8 | 8 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1001-3h-P | Unknown | 1 | N/A |  | N/A | 20.5 | 446000 | 500000 | 0.804 | 0.0107 | 41800000 | 44300000 | 1.11 | 0 | 3 | 27 | 2019-12-12 18:48 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643763 | Plasma | kCBJ874 | PO | Rhesus1001 | 3 | 3 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1001-1h-P | Unknown | 1 | N/A |  | N/A | 161 | 3420000 | 3840000 | 0.803 | 0.0823 | 41500000 | 44200000 | 1.11 | 0 | 3 | 26 | 2019-12-12 18:49 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643757 | Plasma | kCBJ874 | PO | Rhesus1001 | 1 | 1 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1001-0.5h-P | Unknown | 1 | N/A |  | N/A | 317 | 6770000 | 7560000 | 0.805 | 0.159 | 42500000 | 45300000 | 1.11 | 0 | 3 | 25 | 2019-12-12 18:51 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643751 | Plasma | kCBJ874 | PO | Rhesus1001 | 0.5 | 0.5 |  | 5607161 |  |  | Monkey | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 2070 | 1610 | 0.8 | 4.48e-05 | 46200000 | 49100000 | 1.11 | 0 | 3 | 30 | 2019-12-12 18:53 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
BLANK | Blank | 1 | 0 |  | N/A | N/A | 1770 | 1590 | 0.807 | 4.34e-05 | 40700000 | 43000000 | 1.11 | 0 | 3 | 31 | 2019-12-12 18:55 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
G1P1-Rhesus1002-24h-P | Unknown | 1 | N/A |  | N/A | 0.145 | 2440 | 2660 | 0.804 | 5.38e-05 | 45400000 | 48000000 | 1.11 | 0 | 3 | 41 | 2019-12-12 18:57 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643777 | Plasma | kCBJ874 | PO | Rhesus1002 | 24 | 24 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1002-8h-P | Unknown | 1 | N/A |  | N/A | 0.58 | 11800 | 14000 | 0.803 | 0.000281 | 42100000 | 44700000 | 1.11 | 0 | 3 | 40 | 2019-12-12 18:59 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643771 | Plasma | kCBJ874 | PO | Rhesus1002 | 8 | 8 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1002-3h-P | Unknown | 1 | N/A |  | N/A | 17.2 | 374000 | 426000 | 0.804 | 0.00895 | 41800000 | 44200000 | 1.11 | 0 | 3 | 39 | 2019-12-12 19:00 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643765 | Plasma | kCBJ874 | PO | Rhesus1002 | 3 | 3 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1002-1h-P | Unknown | 1 | N/A |  | N/A | 171 | 3720000 | 4210000 | 0.803 | 0.0877 | 42500000 | 45200000 | 1.11 | 0 | 3 | 38 | 2019-12-12 19:02 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643759 | Plasma | kCBJ874 | PO | Rhesus1002 | 1 | 1 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1002-0.5h-P | Unknown | 1 | N/A |  | N/A | 378 | 7800000 | 8640000 | 0.803 | 0.189 | 41300000 | 43600000 | 1.11 | 0 | 3 | 37 | 2019-12-12 19:04 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643753 | Plasma | kCBJ874 | PO | Rhesus1002 | 0.5 | 0.5 |  | 5607161 |  |  | Monkey | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 3450 | 2540 | 0.801 | 8.21e-05 | 41900000 | 44700000 | 1.11 | 0 | 3 | 42 | 2019-12-12 19:06 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
BLANK | Blank | 1 | 0 |  | N/A | N/A | 1430 | 1180 | 0.803 | 3.41e-05 | 42000000 | 44800000 | 1.11 | 0 | 3 | 43 | 2019-12-12 19:08 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5607161
G1P1-Rhesus1003-24h-P | Unknown | 1 | N/A |  | N/A | 0.12 | 1650 | 1750 | 0.803 | 4.03e-05 | 41000000 | 43500000 | 1.11 | 0 | 3 | 53 | 2019-12-12 19:09 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643779 | Plasma | kCBJ874 | PO | Rhesus1003 | 24 | 24 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1003-8h-P | Unknown | 1 | N/A |  | N/A | 0.861 | 17500 | 19200 | 0.803 | 0.000428 | 41000000 | 43300000 | 1.11 | 0 | 3 | 52 | 2019-12-12 19:11 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643773 | Plasma | kCBJ874 | PO | Rhesus1003 | 8 | 8 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1003-3h-P | Unknown | 1 | N/A |  | N/A | 29.2 | 625000 | 702000 | 0.803 | 0.0152 | 41100000 | 43700000 | 1.11 | 0 | 3 | 51 | 2019-12-12 19:13 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643767 | Plasma | kCBJ874 | PO | Rhesus1003 | 3 | 3 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1003-1h-P | Unknown | 1 | N/A |  | N/A | 315 | 6470000 | 7200000 | 0.803 | 0.159 | 40700000 | 43100000 | 1.11 | 0 | 3 | 50 | 2019-12-12 19:15 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643761 | Plasma | kCBJ874 | PO | Rhesus1003 | 1 | 1 |  | 5607161 |  |  | Monkey | 1
G1P1-Rhesus1003-0.5h-P | Unknown | 1 | N/A |  | N/A | 61 | 1290000 | 1460000 | 0.803 | 0.0316 | 40800000 | 43000000 | 1.11 | 0 | 3 | 49 | 2019-12-12 19:17 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 | 1 | Samp-1643755 | Plasma | kCBJ874 | PO | Rhesus1003 | 0.5 | 0.5 |  | 5607161 |  |  | Monkey | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 553 | 632 | 0.804 | 1.35e-05 | 41100000 | 43500000 | 1.11 | 0 | 3 | 54 | 2019-12-12 19:19 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 2
BLANK | Blank | 1 | 0 |  | N/A | N/A | 359 | 605 | 0.808 | 8.58e-06 | 41900000 | 44100000 | 1.11 | 0 | 3 | 55 | 2019-12-12 19:20 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 |  | 2
QC4 | Quality Control | 1 | 3 | 1 | 103 | 3.09 | 64200 | 73800 | 0.803 | 0.00159 | 40300000 | 42900000 | 1.11 | 0 | 3 | 17 | 2019-12-12 19:22 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 4 | 2
QC3 | Quality Control | 1 | 40 | 1 | 105 | 41.9 | 875000 | 981000 | 0.804 | 0.0218 | 40200000 | 42400000 | 1.11 | 0 | 3 | 18 | 2019-12-12 19:24 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 3 | 2
QC2 | Quality Control | 1 | 800 | 1 | 98 | 784 | 15300000 | 16600000 | 0.803 | 0.372 | 41100000 | 43300000 | 1.11 | 0 | 3 | 19 | 2019-12-12 19:26 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 2 | 2
QC1 | Quality Control | 1 | 2400 | 1 | 94.9 | 2280 | 35400000 | 36500000 | 0.803 | 0.878 | 40300000 | 42900000 | 1.11 | 0 | 3 | 20 | 2019-12-12 19:28 | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 1 | 2

## Raw Data 2
Peak Name: IS
Use as Internal Standard
Q1/Q3 Masses: 455.20/164.90 Da
Peak Name: kCBJ874
Internal Standard: IS
Q1/Q3 Masses: 284.20/194.10 Da
Fit | Quadratic | Weighting | 1 / (x * x) | Iterate | No
a0 | -1.96e-05
a1 | 0.000382
a2 | -3.76e-08
Correlation coefficient | 0.9994
Use Area
Sample Name | Sample Type | Dilution Factor | Analyte Concentration (ng/mL) | Use Record | Accuracy (%) | Calculated Concentration (ng/mL) | Analyte Peak Area (counts) | Analyte Peak Height (cps) | Analyte Retention Time (min) | Area Ratio | IS Peak Area (counts) | IS Peak Height (cps) | IS Retention Time (min) | Record Modified | Plate Position | Vial Position | Acquisition Date | File Name | Analyte Peak Name | GROUPNO | SAMPLE_ID | MATRIX | TEST_ARTICLE | DOSE_ROUTE | ANIMAL_ID | TIMEPOINT_NUM | TIMEPOINT_TEXT | RETEST | BATCHID | CLEVEL | REPLICATE | SPECIES | Day
DOUBLE BLANK | Double Blank | 1 | 0 |  | N/A | N/A | 43.7 | 98.9 | 0.802 | 0.000824 | 53000 | 52500 | 1.14 | 0 | 9 | 1 | 2019-12-19 07:15 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 98.4 | 101 | 0.818 | 2.19e-06 | 44800000 | 46200000 | 1.14 | 0 | 9 | 2 | 2019-12-19 07:17 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
C8 | Standard | 1 | 1 | 1 | 101 | 1.01 | 16200 | 17600 | 0.811 | 0.000368 | 44100000 | 45000000 | 1.14 | 0 | 9 | 3 | 2019-12-19 07:19 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 8 | 1
C7 | Standard | 1 | 2 | 1 | 97.3 | 1.95 | 32900 | 36300 | 0.811 | 0.000724 | 45500000 | 46800000 | 1.14 | 0 | 9 | 4 | 2019-12-19 07:20 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 7 | 1
C6 | Standard | 1 | 10 | 1 | 99.6 | 9.96 | 170000 | 184000 | 0.81 | 0.00378 | 45000000 | 46100000 | 1.14 | 0 | 9 | 5 | 2019-12-19 07:22 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 6 | 1
C5 | Standard | 1 | 50 | 1 | 100 | 50.2 | 851000 | 935000 | 0.81 | 0.0191 | 44600000 | 45600000 | 1.14 | 0 | 9 | 6 | 2019-12-19 07:24 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 5 | 1
C4 | Standard | 1 | 100 | 1 | 106 | 106 | 1760000 | 1940000 | 0.812 | 0.0401 | 44000000 | 45100000 | 1.14 | 0 | 9 | 7 | 2019-12-19 07:26 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 4 | 1
C3 | Standard | 1 | 500 | 1 | 95.4 | 477 | 7750000 | 8250000 | 0.811 | 0.174 | 44600000 | 45700000 | 1.14 | 0 | 9 | 8 | 2019-12-19 07:28 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 3 | 1
C2 | Standard | 1 | 1000 | 1 | 98.4 | 984 | 14900000 | 15600000 | 0.81 | 0.34 | 43900000 | 44800000 | 1.14 | 0 | 9 | 9 | 2019-12-19 07:30 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 2 | 1
C1 | Standard | 1 | 3000 | 1 | 102 | 3070 | 34900000 | 34700000 | 0.809 | 0.819 | 42700000 | 43800000 | 1.14 | 0 | 9 | 10 | 2019-12-19 07:31 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 1 | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 20900 | 14500 | 0.806 | 0.000483 | 43400000 | 44600000 | 1.14 | 0 | 9 | 11 | 2019-12-19 07:33 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 7020 | 4280 | 0.807 | 0.000162 | 43400000 | 44800000 | 1.14 | 0 | 9 | 11 | 2019-12-19 07:35 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
QC4 | Quality Control | 1 | 3 | 0 | 124 | 3.72 | 63300 | 66300 | 0.81 | 0.0014 | 45200000 | 46700000 | 1.14 | 0 | 9 | 13 | 2019-12-19 07:37 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 4 | 1
QC3 | Quality Control | 1 | 40 | 1 | 102 | 40.6 | 686000 | 752000 | 0.81 | 0.0154 | 44400000 | 45900000 | 1.14 | 0 | 9 | 14 | 2019-12-19 07:39 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 3 | 1
QC2 | Quality Control | 1 | 800 | 1 | 96 | 768 | 11900000 | 12500000 | 0.811 | 0.271 | 43800000 | 44800000 | 1.14 | 0 | 9 | 15 | 2019-12-19 07:40 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 2 | 1
QC1 | Quality Control | 1 | 2400 | 1 | 96.7 | 2320 | 30300000 | 30600000 | 0.81 | 0.685 | 44300000 | 45600000 | 1.14 | 0 | 9 | 16 | 2019-12-19 07:42 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 1 | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 16900 | 11400 | 0.804 | 0.0004 | 42200000 | 43200000 | 1.14 | 0 | 9 | 12 | 2019-12-19 07:44 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
BLANK | Blank | 1 | 0 |  | N/A | N/A | 4740 | 3170 | 0.813 | 0.00011 | 43000000 | 44200000 | 1.14 | 0 | 9 | 12 | 2019-12-19 07:46 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
DQC-1 | Quality Control | 10 | 5000 | 1 | 98.2 | 4910 | 7650000 | 8210000 | 0.81 | 0.179 | 42800000 | 43900000 | 1.14 | 0 | 9 | 21 | 2019-12-19 07:48 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 1
DQC-2 | Quality Control | 10 | 5000 | 1 | 96.7 | 4830 | 7500000 | 8010000 | 0.81 | 0.176 | 42600000 | 44000000 | 1.14 | 0 | 9 | 22 | 2019-12-19 07:50 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 2
DQC-3 | Quality Control | 10 | 5000 | 1 | 104 | 5220 | 8320000 | 8880000 | 0.811 | 0.189 | 44000000 | 44900000 | 1.14 | 0 | 9 | 23 | 2019-12-19 07:51 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 3
BLANK | Blank | 1 | 0 |  | N/A | N/A | 1540 | 1830 | 0.81 | 3.62e-05 | 42400000 | 43700000 | 1.14 | 0 | 9 | 24 | 2019-12-19 07:53 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
BLANK | Blank | 1 | 0 |  | N/A | N/A | 2730 | 1850 | 0.815 | 6.47e-05 | 42200000 | 43400000 | 1.14 | 0 | 9 | 24 | 2019-12-19 07:55 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
G1P2-Rhesus1001-D7-24h-P | Unknown | 1 | N/A |  | N/A | 1.69 | 27600 | 28900 | 0.811 | 0.000626 | 44200000 | 45700000 | 1.14 | 0 | 9 | 29 | 2019-12-19 07:57 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643805 | Plasma | kCBJ874 | PO | Rhesus1001 | 24 | 24 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1001-D7-8h-P | Unknown | 1 | N/A |  | N/A | 25 | 417000 | 456000 | 0.811 | 0.00951 | 43800000 | 45100000 | 1.14 | 0 | 9 | 28 | 2019-12-19 07:59 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643799 | Plasma | kCBJ874 | PO | Rhesus1001 | 8 | 8 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1001-D7-3h-P | Unknown | 10 | N/A |  | N/A | 1500 | 2490000 | 2700000 | 0.811 | 0.0565 | 44000000 | 45200000 | 1.14 | 0 | 9 | 27 | 2019-12-19 08:01 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643793 | Plasma | kCBJ874 | PO | Rhesus1001 | 3 | 3 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1001-D7-1h-P | Unknown | 10 | N/A |  | N/A | 8850 | 13600000 | 14200000 | 0.81 | 0.309 | 44000000 | 45300000 | 1.14 | 0 | 9 | 26 | 2019-12-19 08:02 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643787 | Plasma | kCBJ874 | PO | Rhesus1001 | 1 | 1 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1001-D7-0.5h-P | Unknown | 10 | N/A |  | N/A | 14700 | 21000000 | 21500000 | 0.812 | 0.48 | 43700000 | 45400000 | 1.14 | 0 | 9 | 25 | 2019-12-19 08:04 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643781 | Plasma | kCBJ874 | PO | Rhesus1001 | 0.5 | 0.5 |  | 5655758 |  |  | Monkey | 7
BLANK | Blank | 1 | 0 |  | N/A | N/A | 12600 | 9530 | 0.808 | 0.000295 | 42800000 | 44000000 | 1.14 | 0 | 9 | 30 | 2019-12-19 08:06 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
BLANK | Blank | 1 | 0 |  | N/A | N/A | 4010 | 2890 | 0.811 | 9.28e-05 | 43200000 | 44600000 | 1.14 | 0 | 9 | 31 | 2019-12-19 08:08 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
G1P2-Rhesus1002-D7-24h-P | Unknown | 1 | N/A |  | N/A | 2.19 | 35500 | 36100 | 0.811 | 0.000816 | 43600000 | 44700000 | 1.14 | 0 | 9 | 41 | 2019-12-19 08:10 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643807 | Plasma | kCBJ874 | PO | Rhesus1002 | 24 | 24 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1002-D7-8h-P | Unknown | 1 | N/A |  | N/A | 29.8 | 499000 | 548000 | 0.81 | 0.0113 | 44000000 | 44800000 | 1.14 | 0 | 9 | 40 | 2019-12-19 08:12 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643801 | Plasma | kCBJ874 | PO | Rhesus1002 | 8 | 8 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1002-D7-3h-P | Unknown | 10 | N/A |  | N/A | 1240 | 2090000 | 2260000 | 0.81 | 0.0468 | 44700000 | 46000000 | 1.14 | 0 | 9 | 39 | 2019-12-19 08:13 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643795 | Plasma | kCBJ874 | PO | Rhesus1002 | 3 | 3 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1002-D7-1h-P | Unknown | 10 | N/A |  | N/A | 10000 | 15200000 | 15900000 | 0.81 | 0.345 | 44000000 | 45100000 | 1.14 | 0 | 9 | 38 | 2019-12-19 08:15 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643789 | Plasma | kCBJ874 | PO | Rhesus1002 | 1 | 1 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1002-D7-0.5h-P | Unknown | 10 | N/A |  | N/A | 15900 | 22500000 | 23400000 | 0.81 | 0.513 | 43800000 | 44700000 | 1.14 | 0 | 9 | 37 | 2019-12-19 08:17 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643783 | Plasma | kCBJ874 | PO | Rhesus1002 | 0.5 | 0.5 |  | 5655758 |  |  | Monkey | 7
BLANK | Blank | 1 | 0 |  | N/A | N/A | 15300 | 11000 | 0.805 | 0.000358 | 42800000 | 44100000 | 1.14 | 0 | 9 | 42 | 2019-12-19 08:19 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
BLANK | Blank | 1 | 0 |  | N/A | N/A | 4360 | 3400 | 0.812 | 0.000102 | 42800000 | 44200000 | 1.14 | 0 | 9 | 43 | 2019-12-19 08:21 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | Plasma | [6 empty] | 5655758
G1P2-Rhesus1003-D7-24h-P | Unknown | 1 | N/A |  | N/A | 2.47 | 40000 | 42500 | 0.81 | 0.000924 | 43300000 | 44200000 | 1.14 | 0 | 9 | 53 | 2019-12-19 08:22 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643809 | Plasma | kCBJ874 | PO | Rhesus1003 | 24 | 24 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1003-D7-8h-P | Unknown | 1 | N/A |  | N/A | 139 | 2280000 | 2470000 | 0.811 | 0.0524 | 43500000 | 44700000 | 1.14 | 0 | 9 | 52 | 2019-12-19 08:24 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643803 | Plasma | kCBJ874 | PO | Rhesus1003 | 8 | 8 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1003-D7-3h-P | Unknown | 10 | N/A |  | N/A | 1090 | 1800000 | 1950000 | 0.813 | 0.0411 | 43700000 | 45000000 | 1.15 | 0 | 9 | 51 | 2019-12-19 08:26 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643797 | Plasma | kCBJ874 | PO | Rhesus1003 | 3 | 3 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1003-D7-1h-P | Unknown | 10 | N/A |  | N/A | 6830 | 10800000 | 11500000 | 0.812 | 0.243 | 44500000 | 45500000 | 1.14 | 0 | 9 | 50 | 2019-12-19 08:28 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643791 | Plasma | kCBJ874 | PO | Rhesus1003 | 1 | 1 |  | 5655758 |  |  | Monkey | 7
G1P2-Rhesus1003-D7-0.5h-P | Unknown | 10 | N/A |  | N/A | 10400 | 15600000 | 16500000 | 0.811 | 0.356 | 44000000 | 45200000 | 1.14 | 0 | 9 | 49 | 2019-12-19 08:30 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 | 1 | Samp-1643785 | Plasma | kCBJ874 | PO | Rhesus1003 | 0.5 | 0.5 |  | 5655758 |  |  | Monkey | 7
BLANK | Blank | 1 | 0 |  | N/A | N/A | 10100 | 6000 | 0.812 | 0.000233 | 43300000 | 44300000 | 1.14 | 0 | 9 | 54 | 2019-12-19 08:32 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 2
BLANK | Blank | 1 | 0 |  | N/A | N/A | 3430 | 2470 | 0.817 | 7.96e-05 | 43100000 | 44200000 | 1.14 | 0 | 9 | 55 | 2019-12-19 08:33 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 |  | 2
QC4 | Quality Control | 1 | 3 | 1 | 117 | 3.52 | 59000 | 64600 | 0.811 | 0.00132 | 44600000 | 45700000 | 1.14 | 0 | 9 | 17 | 2019-12-19 08:35 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 4 | 2
QC3 | Quality Control | 1 | 40 | 1 | 109 | 43.7 | 741000 | 820000 | 0.81 | 0.0166 | 44600000 | 45800000 | 1.14 | 0 | 9 | 18 | 2019-12-19 08:37 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 3 | 2
QC2 | Quality Control | 1 | 800 | 1 | 100 | 802 | 12500000 | 13200000 | 0.81 | 0.282 | 44300000 | 45800000 | 1.14 | 0 | 9 | 19 | 2019-12-19 08:39 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 2 | 2
QC1 | Quality Control | 1 | 2400 | 1 | 100 | 2400 | 30400000 | 30900000 | 0.811 | 0.702 | 43400000 | 44400000 | 1.14 | 0 | 9 | 20 | 2019-12-19 08:41 | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff | kCBJ874 |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 1 | 2

## LC-MS method_1
Analytical method
| Instrument | DMPK-LCMS-11-SMBA-Triple Quad 6500 Plus
| Matrix | Male Rhesus Monkey Plasma (EDTA-K2)
| Analyte(s) | kCBJ874
| Internal standard(s) | IS1:6 in 1 internal standard in MeOH (Labetalol & tolbutamide & Verapamil & dexamethasone & glyburide & Celecoxib 100 ng/mL for each)
| MS conditions | ESI:Positive
SRM detection
kCBJ874:[M+H]+m/z: 284.20/194.10 Da
Verapamil:[M+H]+m/z: 455.20/164.90 Da
| UPLC conditions | Mobile Phase:
Mobile Phase A:2mM HCOONH4 in ACN/H2O(5/95)
Mobile Phase B:2mM HCOONH4 in ACN/H2O(95:5)
|  | Time (min) | Mobile Phase B (%)
|  | Initial | 0
|  | 0.2 | 0
|  | 1.2 | 95
|  | 1.4 | 95
|  | 1.41 | 0
|  | 1.6 | 0
Column:ACQUITY UPLC HSS T3 1.8 μm 2.1 × 50 mm
Column temperature: 55°C
Flow rate:0.6 mL/min
Retention time:
kCBJ874:0.803 min
Verapamil:1.11 min
| Sample preparation | General sample processing procedure: (Plasma) Protein precipitation (PPT) using 96 well plate 1). An aliquot of 40 µL unknown sample, calibration standard, quality control, dilute quality control, single blank and double blank samples were added to the 96-well plate; 2). Each sample (except the double blank) was quenched with 400 µL IS1 respectively (double blank sample was quenched with 400 µL MeOH), and then the mixture was vortex-mixed for 10 min at 800 rpm and centrifuged for 15 min at 3220 g (4000rpm), 4 °C; 3). Then the supernatant were directly injected for LC-MS/MS analysis.
| Calibration curve | 1.00-3000 ng/mL for kCBJ874 in Male Rhesus Monkey Plasma (EDTA-K2)
| Method txt | File Information for Sample 8 (C3) of 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff
|  | File Name: | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff
|  | File Path: | D:\Analyst Data\Projects\403346-2019120405-CPK-phase1\Data\
|  | Original Name: | 403346-2019120405-CPK-phase1-20191212-5607161(Plasma).wiff
|  | Software Version: | Analyst 1.6.3
Log Information from Devices at Start of acquisition:
|  | Software Application | ACQUITY UPLC System | 0
Time from start =0.0000 min
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
|  | Config Table Version | 1
|  | Firmware Version | ------- ------- PIL1602 PIB1100
|  | Component Name | QUADRUPOLE LC/MS/MS MASS SPECTROMETER
|  | Component ID | TRIPLE QUAD 6500+
|  | Manufacturer | AB SCIEX INSTRUMENTS
|  | Model | 5060743-F
|  | Serial Number | DZ222301903
Time from start =0.0000 min
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
Start of Run - Detailed Status
|  | Vacuum Status |  | At Pressure
|  | Vacuum Gauge (10e-5 Torr) | 3.5
|  | Backing Pump |  | Ok
|  | Interface Pump |  | Bad
|  | Curtain Gas |  | Bad
|  | Interface Turbo Pump |  | Normal
|  | Analyzer Turbo Pump |  | Off
|  | Sample Introduction Status | Ready
|  | Source/Ion Path Electronics | On
|  | Source Type |  | Turbo Spray IonDrive
|  | Source Temperature (at setpoint) | 550.0 C
|  | Source Exhaust Pump |  | On
|  | Injection Manifold |  | Bypass
Time from start =0.0000 min
|  | ACQUITY UPLC System | User=PHARMATECHS\DMPK-LCMS-11-SMBA | Computer=DMPK-LCMS-11-SM
|  | Injection Volume | 2.0 uL
|  | Run Time | 1.6
Sample Manager
Comment
|  | Load Ahead | Enabled
|  | Injection Mode | Partial Loop
|  | LoopOffline | 0.2
|  | Weak Wash Solvent Name | 0.3% FA in ACN/H2O(10 | 90)
|  | Weak Wash Volume | 1200 uL
|  | Strong Wash Solvent Name | 0.5% FA in ACN/MeOH/H2O/IPA (v | v | v | v
|  | 1 | 1 | 1 | 1)
|  | Strong Wash Volume | 800 uL
|  | Target Column Temperature | Off C
|  | Column Temperature Alarm Band | Disabled
|  | Target Sample Temperature | 10.0 C
|  | Sample Temperature Alarm Band | Disabled
|  | Full Loop Overfill Factor | Automatic
|  | Syringe Draw Rate | Automatic
|  | Needle Placement | 0.3
|  | Pre-Aspirate Air Gap | Automatic
|  | Post-Aspirate Air Gap | Automatic
|  | Column Temperature Data Channel | No
|  | Ambient Temperature Data Channel | No
|  | Sample Temperature Data Channel | No
|  | Sample Organizer Temperature Data Channel | No
|  | Sample Pressure Data Channel | No
|  | PreheaterTemperatureDataEnable | false
|  | Switch 1 | No Change
|  | Switch 2 | No Change
|  | Switch 3 | No Change
|  | Switch 4 | No Change
|  | Chart Out | Sample Pressure
|  | Sample Temp Alarm | Disabled
|  | Column Temp Alarm | Disabled
|  | Run Events | Yes
|  | Active Preheater | Disabled
Column Manager
|  | Target Column Temperature | 55.0 C
|  | Temperature Alarm Band | Off
|  | Shutdown all columns | No
|  | Column Valve Position | Column 3
|  | Equilibration Time | 0.1 min
|  | Active Preheater | Enabled
|  | External Valve 1 | No Change
|  | External Valve 2 | No Change
|  | External Valve 3 | No Change
Comment
|  | Column Temperature Data Channel | No
|  | Preheater Temperature Data Channel | No
Binary Solvent Manager
Comment
|  | Solvent Selection A | A2
|  | Solvent Selection B | B2
|  | Low Pressure Limit | psi
|  | High Pressure Limit | psi
|  | Solvent Name A | 2mM HCOONH4 in ACN/H2O(5/95)
|  | Solvent Name B | 2mM HCOONH4 in ACN/H2O(95 | 5)
|  | Switch 1 | No Change
|  | Switch 2 | No Change
|  | Switch 3 | No Change
|  | Seal Wash | 5.0 min
|  | Chart Out 1 | System Pressure
|  | Chart Out 2 | %B
|  | System Pressure Data Channel | No
|  | Flow Rate Data Channel | No
|  | %A Data Channel | No
|  | %B Data Channel | No
|  | Primary A Pressure Data Channel | No
|  | Accumulator A Pressure Data Channel | No
|  | Primary B Pressure Data Channel | No
|  | Accumulator B Pressure Data Channel | No
|  | Degasser Pressure Data Channel | No
[Gradient Table]
Time(min) Flow Rate %A %B Curve
1. Initial 0.600 100.0 0.0 Initial
2. 0.20 0.600 100.0 0.0 6
3. 1.20 0.600 5.0 95.0 6
4. 1.40 0.600 5.0 95.0 6
5. 1.41 0.600 100.0 0.0 6
6. 1.60 0.600 100.0 0.0 6
|  | Run Events | Yes
|  | Gradient Start (Relative to Injection) | 0 uL
|  | 2D Repeat | No
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
End of Run - Detailed Status
|  | Vacuum Status |  | At Pressure
|  | Vacuum Gauge (10e-5 Torr) | 3.5
|  | Backing Pump |  | Ok
|  | Interface Pump |  | Bad
|  | Curtain Gas |  | Bad
|  | Interface Turbo Pump |  | Normal
|  | Analyzer Turbo Pump |  | Off
|  | Sample Introduction Status | Ready
|  | Source/Ion Path Electronics | On
|  | Source Type |  | Turbo Spray IonDrive
|  | Source Temperature (at setpoint) | 550.0 C
|  | Source Exhaust Pump |  | On
|  | Injection Manifold |  | Bypass
Time from start =1.7667 min
Acquisition Info
|  | Acquisition Method: | \kCBJ874.dam
|  | Acquisition Path: | D:\Analyst Data\Projects\403346-2019120405-CPK-phase1\Acquisition Methods\
|  | First Sample Started: | Thursday, December 12, 2019 6:11:24 PM
|  | Last Sample Finished: | Thursday, December 12, 2019 7:27:37 PM
|  | Sample Acq Time: | Thursday, December 12, 2019 6:24:03 PM
|  | Sample Acq Duration: | 1min36sec
|  | Number of Scans: | 0
|  | Periods in File: | 1
|  | Batch Name: | \403346-2019120405-CPK-phase1-20191212-5607161(Plasma).dab
|  | Batch Path: | D:\Analyst Data\Projects\403346-2019120405-CPK-phase1\Batch\
|  | Submitted by: | \DMPK-LCMS-11-SMBA@wuxiapptec.com(DMPK-LCMS-11-SMBA)
|  | Logged-on User: | DMPK-LCMS-11-SMBA@wuxiapptec.com
|  | Synchronization Mode: | LC Sync
|  | Auto-Equilibration: | Off
Comment:
|  | Software Version: | Analyst 1.6.3
|  | Set Name: | Set
|  | Sample Name | C3
|  | Sample ID | 500
|  | Sample Comments: | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) )
|  | Autosampler Vial: | 8
|  | Rack Code: | Sample Manager w/ SO
|  | Rack Position: | 1
|  | Plate Code: | ANSI-96well350uL
|  | Plate Position | 3
Software Application Properties
|  | Display Name: | ACQUITY UPLC System
|  | Identifier Key: | {3305D9CB-DC54-4F36-84FC-045B4679258A}
|  | Method Filename: | None
Method Data:
------------
|  | Run Time: |  | 1.60 min
ACQUITY SM Method
Comment:
|  | Load Ahead: |  | Enabled
|  | Injection Mode: |  | Partial Loop
|  | LoopOffline: |  | 0.2
|  | Weak Wash Solvent Name: |  | 0.3% FA in ACN/H2O(10:90)
|  | Weak Wash Volume: |  | 1200 uL
|  | Strong Wash Solvent Name: |  | 0.5% FA in ACN/MeOH/H2O/IPA (v:v:v:v | 1:1:1:1)
|  | Strong Wash Volume: |  | 800 uL
|  | Target Column Temperature: |  | Off C
|  | Column Temperature Alarm Band: |  | Disabled
|  | Target Sample Temperature: |  | 10.0 C
|  | Sample Temperature Alarm Band: |  | Disabled
|  | Full Loop Overfill Factor: |  | Automatic
|  | Syringe Draw Rate: |  | Automatic
|  | Needle Placement: |  | 0.3
|  | Pre-Aspirate Air Gap: |  | Automatic
|  | Post-Aspirate Air Gap: |  | Automatic
|  | Column Temperature Data Channel: |  | No
|  | Ambient Temperature Data Channel: |  | No
|  | Sample Temperature Data Channel: |  | No
|  | Sample Organizer Temperature Data Channel: |  | No
|  | Sample Pressure Data Channel: |  | No
|  | PreheaterTemperatureDataEnable: |  | false
|  | Switch 1: |  | No Change
|  | Switch 2: |  | No Change
|  | Switch 3: |  | No Change
|  | Switch 4: |  | No Change
|  | Chart Out: |  | Sample Pressure
|  | Sample Temp Alarm: |  | Disabled
|  | Column Temp Alarm: |  | Disabled
|  | Run Events: |  | Yes
|  | Needle Overfill Flush: |  | Automatic
|  | NoInjection: |  | false
|  | Active Preheater: |  | Disabled
ACQUITY CM Method
|  | Target Column Temperature: |  | 55.0 C
|  | Temperature Alarm Band: |  | Off
|  | Shutdown all columns: |  | No
|  | Column Valve Position: |  | Column 3
|  | Equilibration Time: |  | 0.1 min
|  | Active Preheater: |  | Enabled
|  | External Valve 1: |  | No Change
|  | External Valve 2: |  | No Change
|  | External Valve 3: |  | No Change
Comment:
|  | Column Temperature Data Channel: |  | No
|  | Preheater Temperature Data Channel: |  | No
ACQUITY BSM Method
Comment:
|  | Solvent Selection A: |  | A2
|  | Solvent Selection B: |  | B2
|  | Low Pressure Limit: |  | 0 psi
|  | High Pressure Limit: |  | 15000 psi
|  | Solvent Name A: |  | 2mM HCOONH4 in ACN/H2O(5/95)
|  | Solvent Name B: |  | 2mM HCOONH4 in ACN/H2O(95:5)
|  | Switch 1: |  | No Change
|  | Switch 2: |  | No Change
|  | Switch 3: |  | No Change
|  | Seal Wash: |  | 5.0 min
|  | Chart Out 1: |  | System Pressure
|  | Chart Out 2: |  | %B
|  | System Pressure Data Channel: |  | No
|  | Flow Rate Data Channel: |  | No
|  | %A Data Channel: |  | No
|  | %B Data Channel: |  | No
|  | Primary A Pressure Data Channel: |  | No
|  | Accumulator A Pressure Data Channel: |  | No
|  | Primary B Pressure Data Channel: |  | No
|  | Accumulator B Pressure Data Channel: |  | No
|  | Degasser Pressure Data Channel: |  | No
|  | Run Events: |  | Yes
|  | Gradient Start (Relative to Injection): |  | 0 uL
|  | 2D Repeat: |  | No
Gradient Table
|  | Time | Flow Rate | %A | %B | Curve
|  | Initial | 0.6 | 100 | 0 | Initial
|  | 0.2 | 0.6 | 100 | 0 | 6
|  | 1.2 | 0.6 | 5 | 95 | 6
|  | 1.4 | 0.6 | 5 | 95 | 6
|  | 1.41 | 0.6 | 100 | 0 | 6
|  | 1.6 | 0.6 | 100 | 0 | 6
Quantitation Information:
|  | Sample Type: | Standard
|  | Dilution Factor: | 0
Custom Data:
|  | GROUPNO | SAMPLE_ID | MATRIX | TEST_ARTICLE | DOSE_ROUTE | ANIMAL_ID | TIMEPOINT_NUM | TIMEPOINT_TEXT | RETEST | BATCHID | CLEVEL | REPLICATE | SPECIES | Day
|  |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5607161 | 3 | 1
Quantitation Table:
|  | Peak Name | Concentration
|  | kCBJ874 | 500
|  | IS | 1
Period 1:
--------------
|  | Scans in Period: | 685
|  | Relative Start Time: | 0.00 msec
|  | Experiments in Period: | 1
Period 1 Experiment 1:
----------------------------
|  | Scan Type: | MRM (MRM)
|  | Scheduled MRM: | No
|  | Polarity: | Positive
|  | Scan Mode: | N/A
|  | Resolution Q1: | Unit
|  | Resolution Q3: | Unit
|  | Intensity Thres.: | 0.00 cps
|  | Settling Time: | 0.0000 msec
|  | MR Pause: | 5.0070 msec
|  | MCA: | No
|  | Step Size: | 0.00 Da
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 329.2 | 161.9 | 15 | DP | 60 | 60 | Lab
[5 empty] | CE | 26 | 26
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 271.1 | 155.1 | 15 | DP | 60 | 60 | Tol
[5 empty] | CE | 26 | 26
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 455.2 | 164.9 | 15 | DP | 80 | 80 | Ver
[5 empty] | CE | 40 | 40
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 494.2 | 169.1 | 15 | DP | 60 | 60 | Gly
[5 empty] | CE | 47 | 47
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 140 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 29 | 29
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 194.1 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 32 | 32
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 178.3 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 40 | 40
Parameter Table(Period 1 Experiment 1)
|  | CUR: | 40
|  | CAD: | 12
|  | IS: | 5500
|  | TEM: | 550
|  | GS1: | 50
|  | GS2: | 55
|  | EP | 10
|  | CXP | 10
Resolution tables
|  | Quad 1 | Positive | Unit | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:18:10
|  | IE1 | 1.6
|  | Mass (Da) | Offset Value
|  | 59.05 | 0.04
|  | 175.133 | 0.085
|  | 500.38 | 0.182
|  | 616.464 | 0.214
|  | 906.673 | 0.286
|  | Quad 3 | Positive | Unit | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:29:49
|  | IE3 | 1.5
|  | Mass (Da) | Offset Value
|  | 59.05 | 0.076
|  | 175.133 | 0.122
|  | 500.38 | 0.205
|  | 616.464 | 0.236
|  | 906.673 | 0.31
Calibration tables
|  | Quad 1 | Positive | Unit Resolution | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:20:08
|  | Mass (Da) | Dac Value
|  | 59.05 | 10640
|  | 175.133 | 31951
|  | 500.38 | 91688
|  | 616.464 | 113014
|  | 906.673 | 166315
|  | Quad 3 | Positive | Unit Resolution | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:30:28
|  | Mass (Da) | Dac Value
|  | 59.05 | 10599
|  | 175.133 | 31835
|  | 500.38 | 91355
|  | 616.464 | 112606
|  | 906.673 | 165728
Instrument Parameters:
Detector Parameters (Positive):
|  | CEM | 1600
Keyed Text:
File was created with the software version: Analyst 1.6.3

## LC-MS method_2
Analytical method
| Instrument | DMPK-LCMS-11-SMBA-Triple Quad 6500 Plus
| Matrix | Male Rhesus Monkey Plasma (EDTA-K2)
| Analyte(s) | kCBJ874
| Internal standard(s) | IS1:6 in 1 internal standard in MeOH (Labetalol & tolbutamide & Verapamil & dexamethasone & glyburide & Celecoxib 100 ng/mL for each)
| MS conditions | ESI:Positive
SRM detection
kCBJ874:[M+H]+m/z: 284.20/194.10 Da
Verapamil:[M+H]+m/z: 455.20/164.90 Da
| UPLC conditions | Mobile Phase:
Mobile Phase A:2mM HCOONH4 in ACN/H2O(5/95)
Mobile Phase B:2mM HCOONH4 in ACN/H2O(95:5)
|  | Time (min) | Mobile Phase B (%)
|  | Initial | 0
|  | 0.2 | 0
|  | 1.2 | 95
|  | 1.4 | 95
|  | 1.41 | 0
|  | 1.6 | 0
Column:ACQUITY UPLC HSS T3 1.8 μm 2.1 × 50 mm
Column temperature: 55°C
Flow rate:0.6 mL/min
Retention time:
kCBJ874:0.81 min
Verapamil:1.14 min
| Sample preparation | General sample processing procedure: (Plasma) Protein precipitation (PPT) using 1.5 mL tube 1). An aliquot of 40 µL unknown sample, calibration standard, quality control, dilute quality control, single blank and double blank samples were added to the 1.5 mL tube; 2). Each sample (except the double blank) was quenched with 400 µL IS1 respectively (double blank sample was quenched with 400 µL MeOH), and then the mixture was vortex-mixed well (at least 15 s) with vortexer and centrifuged for 15 min at 12000 g, 4 °C; 3). Then the supernatant were directly injected for LC-MS/MS analysis. Dilution procedure description: 1) Dilution factor as 10 : An aliquot of 4 µL sample was added with 36 µL blank matrix;
| Calibration curve | 1.00-3000 ng/mL for kCBJ874 in Male Rhesus Monkey Plasma (EDTA-K2)
| Method txt | File Information for Sample 9 (C2) of 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff
|  | File Name: | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff
|  | File Path: | \\10.27.150.135\d\Analyst Data\\Projects\403346-2019120405-CPK-phase2\Data\
|  | Original Name: | 403346-2019120405-CPK-phase2-20191218-5655758(Plasma).wiff
|  | Software Version: | Analyst 1.6.3
Log Information from Devices at Start of acquisition:
|  | Software Application | ACQUITY UPLC System | 0
Time from start =0.0000 min
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
|  | Config Table Version | 1
|  | Firmware Version | ------- ------- PIL1602 PIB1100
|  | Component Name | QUADRUPOLE LC/MS/MS MASS SPECTROMETER
|  | Component ID | TRIPLE QUAD 6500+
|  | Manufacturer | AB SCIEX INSTRUMENTS
|  | Model | 5060743-F
|  | Serial Number | DZ222301903
Time from start =0.0333 min
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
Start of Run - Detailed Status
|  | Vacuum Status |  | At Pressure
|  | Vacuum Gauge (10e-5 Torr) | 3.5
|  | Backing Pump |  | Ok
|  | Interface Pump |  | Bad
|  | Curtain Gas |  | Bad
|  | Interface Turbo Pump |  | Normal
|  | Analyzer Turbo Pump |  | Off
|  | Sample Introduction Status | Ready
|  | Source/Ion Path Electronics | On
|  | Source Type |  | Turbo Spray IonDrive
|  | Source Temperature (at setpoint) | 551.0 C
|  | Source Exhaust Pump |  | On
|  | Injection Manifold |  | Bypass
Time from start =0.0333 min
|  | ACQUITY UPLC System | User=PHARMATECHS\DMPK-LCMS-11-SMBA | Computer=DMPK-LCMS-11-SM
|  | Injection Volume | 2.0 uL
|  | Run Time | 1.6
Sample Manager
Comment
|  | Load Ahead | Enabled
|  | Injection Mode | Partial Loop
|  | LoopOffline | 0.2
|  | Weak Wash Solvent Name | 0.3% FA in ACN/H2O(10 | 90)
|  | Weak Wash Volume | 1200 uL
|  | Strong Wash Solvent Name | 0.5% FA in ACN/MeOH/H2O/IPA (v | v | v | v
|  | 1 | 1 | 1 | 1)
|  | Strong Wash Volume | 800 uL
|  | Target Column Temperature | Off C
|  | Column Temperature Alarm Band | Disabled
|  | Target Sample Temperature | 10.0 C
|  | Sample Temperature Alarm Band | Disabled
|  | Full Loop Overfill Factor | Automatic
|  | Syringe Draw Rate | Automatic
|  | Needle Placement | 0.3
|  | Pre-Aspirate Air Gap | Automatic
|  | Post-Aspirate Air Gap | Automatic
|  | Column Temperature Data Channel | No
|  | Ambient Temperature Data Channel | No
|  | Sample Temperature Data Channel | No
|  | Sample Organizer Temperature Data Channel | No
|  | Sample Pressure Data Channel | No
|  | PreheaterTemperatureDataEnable | false
|  | Switch 1 | No Change
|  | Switch 2 | No Change
|  | Switch 3 | No Change
|  | Switch 4 | No Change
|  | Chart Out | Sample Pressure
|  | Sample Temp Alarm | Disabled
|  | Column Temp Alarm | Disabled
|  | Run Events | Yes
|  | Active Preheater | Disabled
Column Manager
|  | Target Column Temperature | 55.0 C
|  | Temperature Alarm Band | Off
|  | Shutdown all columns | No
|  | Column Valve Position | Column 3
|  | Equilibration Time | 0.1 min
|  | Active Preheater | Enabled
|  | External Valve 1 | No Change
|  | External Valve 2 | No Change
|  | External Valve 3 | No Change
Comment
|  | Column Temperature Data Channel | No
|  | Preheater Temperature Data Channel | No
Binary Solvent Manager
Comment
|  | Solvent Selection A | A2
|  | Solvent Selection B | B2
|  | Low Pressure Limit | psi
|  | High Pressure Limit | psi
|  | Solvent Name A | 2mM HCOONH4 in ACN/H2O(5/95)
|  | Solvent Name B | 2mM HCOONH4 in ACN/H2O(95 | 5)
|  | Switch 1 | No Change
|  | Switch 2 | No Change
|  | Switch 3 | No Change
|  | Seal Wash | 5.0 min
|  | Chart Out 1 | System Pressure
|  | Chart Out 2 | %B
|  | System Pressure Data Channel | No
|  | Flow Rate Data Channel | No
|  | %A Data Channel | No
|  | %B Data Channel | No
|  | Primary A Pressure Data Channel | No
|  | Accumulator A Pressure Data Channel | No
|  | Primary B Pressure Data Channel | No
|  | Accumulator B Pressure Data Channel | No
|  | Degasser Pressure Data Channel | No
[Gradient Table]
Time(min) Flow Rate %A %B Curve
1. Initial 0.600 100.0 0.0 Initial
2. 0.20 0.600 100.0 0.0 6
3. 1.20 0.600 5.0 95.0 6
4. 1.40 0.600 5.0 95.0 6
5. 1.41 0.600 100.0 0.0 6
6. 1.60 0.600 100.0 0.0 6
|  | Run Events | Yes
|  | Gradient Start (Relative to Injection) | 0 uL
|  | 2D Repeat | No
|  | Mass Spectrometer | Triple Quad 6500+ Low Mass | 0
End of Run - Detailed Status
|  | Vacuum Status |  | At Pressure
|  | Vacuum Gauge (10e-5 Torr) | 3.5
|  | Backing Pump |  | Ok
|  | Interface Pump |  | Bad
|  | Curtain Gas |  | Bad
|  | Interface Turbo Pump |  | Normal
|  | Analyzer Turbo Pump |  | Off
|  | Sample Introduction Status | Ready
|  | Source/Ion Path Electronics | On
|  | Source Type |  | Turbo Spray IonDrive
|  | Source Temperature (at setpoint) | 550.0 C
|  | Source Exhaust Pump |  | On
|  | Injection Manifold |  | Bypass
Time from start =1.7833 min
Acquisition Info
|  | Acquisition Method: | \kCBJ874.dam
|  | Acquisition Path: | D:\Analyst Data\Projects\403346-2019120405-CPK-phase2\Acquisition Methods\
|  | First Sample Started: | 2019?12?19? 7:15:02
|  | Last Sample Finished: | 2019?12?19? 8:40:40
|  | Sample Acq Time: | 2019?12?19? 7:29:33
|  | Sample Acq Duration: | 1min36sec
|  | Number of Scans: | 0
|  | Periods in File: | 1
|  | Batch Name: | \403346-2019120405-CPK-phase2-20191218-5655758(Plasma).dab
|  | Batch Path: | D:\Analyst Data\Projects\403346-2019120405-CPK-phase2\Batch\
|  | Submitted by: | \DMPK-LCMS-11-SMBA@wuxiapptec.com(DMPK-LCMS-11-SMBA)
|  | Logged-on User: | DMPK-LCMS-11-SMBA@wuxiapptec.com
|  | Synchronization Mode: | LC Sync
|  | Auto-Equilibration: | Off
Comment:
|  | Software Version: | Analyst 1.6.3
|  | Set Name: | Set
|  | Sample Name | C2
|  | Sample ID | 1000
|  | Sample Comments: | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) )
|  | Autosampler Vial: | 9
|  | Rack Code: | Sample Manager w/ SO
|  | Rack Position: | 1
|  | Plate Code: | ANSI-96well350uL
|  | Plate Position | 9
Software Application Properties
|  | Display Name: | ACQUITY UPLC System
|  | Identifier Key: | {3305D9CB-DC54-4F36-84FC-045B4679258A}
|  | Method Filename: | None
Method Data:
------------
|  | Run Time: |  | 1.60 min
ACQUITY SM Method
Comment:
|  | Load Ahead: |  | Enabled
|  | Injection Mode: |  | Partial Loop
|  | LoopOffline: |  | 0.2
|  | Weak Wash Solvent Name: |  | 0.3% FA in ACN/H2O(10:90)
|  | Weak Wash Volume: |  | 1200 uL
|  | Strong Wash Solvent Name: |  | 0.5% FA in ACN/MeOH/H2O/IPA (v:v:v:v | 1:1:1:1)
|  | Strong Wash Volume: |  | 800 uL
|  | Target Column Temperature: |  | Off C
|  | Column Temperature Alarm Band: |  | Disabled
|  | Target Sample Temperature: |  | 10.0 C
|  | Sample Temperature Alarm Band: |  | Disabled
|  | Full Loop Overfill Factor: |  | Automatic
|  | Syringe Draw Rate: |  | Automatic
|  | Needle Placement: |  | 0.3
|  | Pre-Aspirate Air Gap: |  | Automatic
|  | Post-Aspirate Air Gap: |  | Automatic
|  | Column Temperature Data Channel: |  | No
|  | Ambient Temperature Data Channel: |  | No
|  | Sample Temperature Data Channel: |  | No
|  | Sample Organizer Temperature Data Channel: |  | No
|  | Sample Pressure Data Channel: |  | No
|  | PreheaterTemperatureDataEnable: |  | false
|  | Switch 1: |  | No Change
|  | Switch 2: |  | No Change
|  | Switch 3: |  | No Change
|  | Switch 4: |  | No Change
|  | Chart Out: |  | Sample Pressure
|  | Sample Temp Alarm: |  | Disabled
|  | Column Temp Alarm: |  | Disabled
|  | Run Events: |  | Yes
|  | Needle Overfill Flush: |  | Automatic
|  | NoInjection: |  | false
|  | Active Preheater: |  | Disabled
ACQUITY CM Method
|  | Target Column Temperature: |  | 55.0 C
|  | Temperature Alarm Band: |  | Off
|  | Shutdown all columns: |  | No
|  | Column Valve Position: |  | Column 3
|  | Equilibration Time: |  | 0.1 min
|  | Active Preheater: |  | Enabled
|  | External Valve 1: |  | No Change
|  | External Valve 2: |  | No Change
|  | External Valve 3: |  | No Change
Comment:
|  | Column Temperature Data Channel: |  | No
|  | Preheater Temperature Data Channel: |  | No
ACQUITY BSM Method
Comment:
|  | Solvent Selection A: |  | A2
|  | Solvent Selection B: |  | B2
|  | Low Pressure Limit: |  | 0 psi
|  | High Pressure Limit: |  | 15000 psi
|  | Solvent Name A: |  | 2mM HCOONH4 in ACN/H2O(5/95)
|  | Solvent Name B: |  | 2mM HCOONH4 in ACN/H2O(95:5)
|  | Switch 1: |  | No Change
|  | Switch 2: |  | No Change
|  | Switch 3: |  | No Change
|  | Seal Wash: |  | 5.0 min
|  | Chart Out 1: |  | System Pressure
|  | Chart Out 2: |  | %B
|  | System Pressure Data Channel: |  | No
|  | Flow Rate Data Channel: |  | No
|  | %A Data Channel: |  | No
|  | %B Data Channel: |  | No
|  | Primary A Pressure Data Channel: |  | No
|  | Accumulator A Pressure Data Channel: |  | No
|  | Primary B Pressure Data Channel: |  | No
|  | Accumulator B Pressure Data Channel: |  | No
|  | Degasser Pressure Data Channel: |  | No
|  | Run Events: |  | Yes
|  | Gradient Start (Relative to Injection): |  | 0 uL
|  | 2D Repeat: |  | No
Gradient Table
|  | Time | Flow Rate | %A | %B | Curve
|  | Initial | 0.6 | 100 | 0 | Initial
|  | 0.2 | 0.6 | 100 | 0 | 6
|  | 1.2 | 0.6 | 5 | 95 | 6
|  | 1.4 | 0.6 | 5 | 95 | 6
|  | 1.41 | 0.6 | 100 | 0 | 6
|  | 1.6 | 0.6 | 100 | 0 | 6
Quantitation Information:
|  | Sample Type: | Standard
|  | Dilution Factor: | 0
Custom Data:
|  | GROUPNO | SAMPLE_ID | MATRIX | TEST_ARTICLE | DOSE_ROUTE | ANIMAL_ID | TIMEPOINT_NUM | TIMEPOINT_TEXT | RETEST | BATCHID | CLEVEL | REPLICATE | SPECIES | Day
|  |  |  | male Rhesus Monkey Plasma(Potassium (K2) EDTA*2H2O (0.85-1.15 mg) ) | [6 empty] | 5655758 | 2 | 1
Quantitation Table:
|  | Peak Name | Concentration
|  | kCBJ874 | 1000
|  | IS | 1
Period 1:
--------------
|  | Scans in Period: | 685
|  | Relative Start Time: | 0.00 msec
|  | Experiments in Period: | 1
Period 1 Experiment 1:
----------------------------
|  | Scan Type: | MRM (MRM)
|  | Scheduled MRM: | No
|  | Polarity: | Positive
|  | Scan Mode: | N/A
|  | Resolution Q1: | Unit
|  | Resolution Q3: | Unit
|  | Intensity Thres.: | 0.00 cps
|  | Settling Time: | 0.0000 msec
|  | MR Pause: | 5.0070 msec
|  | MCA: | No
|  | Step Size: | 0.00 Da
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 329.2 | 161.9 | 15 | DP | 60 | 60 | Lab
[5 empty] | CE | 26 | 26
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 271.1 | 155.1 | 15 | DP | 60 | 60 | Tol
[5 empty] | CE | 26 | 26
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 455.2 | 164.9 | 15 | DP | 80 | 80 | Ver
[5 empty] | CE | 40 | 40
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 494.2 | 169.1 | 15 | DP | 60 | 60 | Gly
[5 empty] | CE | 47 | 47
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 140 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 29 | 29
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 194.1 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 32 | 32
|  | Q1 Mass (Da) | Q3 Mass (Da) | Dwell(msec) | Param | Start | Stop | ID
|  | 284.2 | 178.3 | 15 | DP | 60 | 60 | kCBJ874
[5 empty] | CE | 40 | 40
Parameter Table(Period 1 Experiment 1)
|  | CUR: | 40
|  | CAD: | 12
|  | IS: | 5500
|  | TEM: | 550
|  | GS1: | 50
|  | GS2: | 55
|  | EP | 10
|  | CXP | 10
Resolution tables
|  | Quad 1 | Positive | Unit | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:18:10
|  | IE1 | 1.6
|  | Mass (Da) | Offset Value
|  | 59.05 | 0.04
|  | 175.133 | 0.085
|  | 500.38 | 0.182
|  | 616.464 | 0.214
|  | 906.673 | 0.286
|  | Quad 3 | Positive | Unit | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:29:49
|  | IE3 | 1.5
|  | Mass (Da) | Offset Value
|  | 59.05 | 0.076
|  | 175.133 | 0.122
|  | 500.38 | 0.205
|  | 616.464 | 0.236
|  | 906.673 | 0.31
Calibration tables
|  | Quad 1 | Positive | Unit Resolution | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:20:08
|  | Mass (Da) | Dac Value
|  | 59.05 | 10640
|  | 175.133 | 31951
|  | 500.38 | 91688
|  | 616.464 | 113014
|  | 906.673 | 166315
|  | Quad 3 | Positive | Unit Resolution | Scan Speed = 10 Da/s
Last Modification Date Time: December 03, 2019 09:30:28
|  | Mass (Da) | Dac Value
|  | 59.05 | 10599
|  | 175.133 | 31835
|  | 500.38 | 91355
|  | 616.464 | 112606
|  | 906.673 | 165728
Instrument Parameters:
Detector Parameters (Positive):
|  | CEM | 1600
Keyed Text:
File was created with the software version: Analyst 1.6.3

## DOSE
phase 1
Results of Dose Formulation Determination
Group | Dose Route | Sample |  | Determination | Dilution | Measured | Calculated | Mean | Nominal | Accuracy | Test Article
No. |  | No. |  |  | Factor | Conc. | Conc. | Conc. | Conc. | (%)
[6 empty] | (μg/mL) | (mg/mL) | (mg/mL) | (mg/mL)
1 | [Pre]PO | 1 |  | 1 | 20 | 49.7 | 0.994 | 0.983 | 1 | 98.3 | kCBJ874
1 | [Pre]PO | 1 |  | 2 | 20 | 49.5 | 0.99 | 0.983 | 1 | 98.3 | kCBJ874
1 | [Pre]PO | 2 |  | 1 | 20 | 48.8 | 0.976 | 0.983 | 1 | 98.3 | kCBJ874
1 | [Pre]PO | 2 |  | 2 | 20 | 48.6 | 0.972 | 0.983 | 1 | 98.3 | kCBJ874
phase 2
Results of Dose Formulation Determination
Group | Dose Route | Sample |  | Determination | Dilution | Measured | Calculated | Mean | Nominal | Accuracy | Test Article
No. |  | No. |  |  | Factor | Conc. | Conc. | Conc. | Conc. | (%)
[6 empty] | (μg/mL) | (mg/mL) | (mg/mL) | (mg/mL)
1 | [Pre]PO | T |  | 1 | 120 | 47.6 | 5.712 | 5.602 | 6 | 93.367 | kCBJ874
1 | [Pre]PO | T |  | 2 | 120 | 47.7 | 5.724 | 5.602 | 6 | 93.367 | kCBJ874
1 | [Pre]PO | M |  | 1 | 120 | 46.8 | 5.616 | 5.602 | 6 | 93.367 | kCBJ874
1 | [Pre]PO | M |  | 2 | 120 | 46.3 | 5.556 | 5.602 | 6 | 93.367 | kCBJ874
1 | [Pre]PO | B |  | 1 | 120 | 45.9 | 5.508 | 5.602 | 6 | 93.367 | kCBJ874
1 | [Pre]PO | B |  | 2 | 120 | 45.8 | 5.496 | 5.602 | 6 | 93.367 | kCBJ874

## Chromatogram_2
1. Chromatogram of an extract of a double blank for kCBJ874 | 2. Chromatogram of an extract of a single blank for kCBJ874
3. Chromatogram of the lowest calibration standard for kCBJ874 | 4. Chromatogram of study sample G1P2-Rhesus1001-D7-0.5h-P for kCBJ874
5. Typical calibration curve in Male Rhesus Monkey plasma(EDTA-K2) for kCBJ874 | 6. Chromatogram of the Highest calibration standard for kCBJ874

## Dose Preparation_2
Formulation Data Analysis
Preparation
Stock Solution Preparation:
| Sample Name | Barcode | Compound ID | Molecular Weight | Weight of Compound(mg) | Solvent Name | Solvent Volume(mL) | Purity% | Salt Factor | Concentration(mg/mL) | Concentration(mmol/L) | Volume of Sample taken | Solution Expiration Date
(µL)
1 | 403346-2019120405-CPK-phase1_20191210_re | 1596979 | kCBJ874 | 283.327 | 1.71 | DMSO | 1.71 | NA | 1 | 1 | 3.529 | 100 | 2020-03-10 12:00:00 AM +08:00
| Solution ID | Concentration | Volume Source | Dilution Volume | Total Volume
|  | (ug/mL) | (µL) | (µL) | (µL)
1 | Solution 1 | 200 | 100 | 400 | 500
| Final Solution ID | Dil Factor | Final Conc. (mg/mL) | Source Solution ID | Vol Src (μL) | Vol Solvent (μL) | Vol Tot (μL)
Preparation of Calibration:
| Final Solution ID | Dil Factor | Final Conc. | Source Solution ID | Vol Src | Vol Solvent | Vol Tot
|  |  | (ug/mL) |  | (µL) | (µL) | (µL)
1 | C1 | 1 | 200 | Solution 1 | 500 | 0 | 500
2 | C2 | 2 | 100 | C1 | 200 | 200 | 400
3 | C3 | 2 | 50 | C2 | 200 | 200 | 400
4 | C4 | 2 | 25 | C3 | 200 | 200 | 400
5 | C5 | 2 | 12.5 | C4 | 200 | 200 | 400
6 | C6 | 2 | 6.25 | C5 | 200 | 200 | 400
Solvent | DMSO
Processing of Dose Formulation:
| Dose Group | Phase No. | Dose Route | Pre/Post | Location | Dosage Strength (mg/mL) | Sample Volume | Solvent Vol 1 | Source Vol 2 | Solvent Vol 2 | Source Vol 3 | Solvent Vol 3 | Total Dilution Factor | Nominal Conc.(μg/mL) | Test Article
[7 empty] | (µL) | (µL) | (µL) | (µL)
1 | 1 | 2 | PO | Pre | Top | 6 | 100 | 900 | 50 | 550 |  |  | 120 | 50 | kCBJ874
2 | 1 | 2 | PO | Pre | Middle | 6 | 100 | 900 | 50 | 550 |  |  | 120 | 50 | kCBJ874
3 | 1 | 2 | PO | Pre | Bottom | 6 | 100 | 900 | 50 | 550 |  |  | 120 | 50 | kCBJ874
signature
| Checked | Role | Signature | Date | Comments
1 |  | Analyst | cheng_yihong | 2019-12-17 09:16 | NA

## Dose Raw Data&MD&Chromatogram_2
Verification Method
Interface Parameters:
1
Mobile Phase A | 0.1% TFA in Water/ACN(v:v, 95:5)
Mobile Phase B | 0.1% TFA in ACN/water(v:v, 95:5)
Column
Waters CORTECS C18 2.7 μm 4.6*50mm Column
Flow Rate(ml/min) | 1.8
Detection Wavelength(nm) | 254
Injection Volume(μL) | 0.5
Instrument:
| Name | LC
1 | BIO-HPLC-02-SZ-XZY | Waters H-class ACQUITY UPLC
Gradient:
Time(min) | Floe Rate(ml/min) | %A | %B | %C | %D | Curve
Initial | 1.8 | 100 | 0 | 0 | 0 | Initial
2 | 1.8 | 0 | 100 | 0 | 0 | 6
3 | 1.8 | 100 | 0 | 0 | 0 | 1
Verification Method 2
PDF
Report - Linear Dose
Results of Dose Formulation Determination
| Group | Dose Route | Sample |  | Determination | Dilution | Measured | Calculated | Mean | Nominal | Accuracy | Test Article
| No. |  | No. |  |  | Factor | Conc. | Conc. | Conc. | Conc. | (%)
[7 empty] | (μg/mL) | (mg/mL) | (mg/mL) | (mg/mL)
| 1 | [Pre]PO | T |  | 1 | 120 | 47.6 | 5.712 | 5.602 | 6 | 93.367 | kCBJ874
| 1 | [Pre]PO | T |  | 2 | 120 | 47.7 | 5.724 | 5.602 | 6 | 93.367 | kCBJ874
| 1 | [Pre]PO | M |  | 1 | 120 | 46.8 | 5.616 | 5.602 | 6 | 93.367 | kCBJ874
| 1 | [Pre]PO | M |  | 2 | 120 | 46.3 | 5.556 | 5.602 | 6 | 93.367 | kCBJ874
| 1 | [Pre]PO | B |  | 1 | 120 | 45.9 | 5.508 | 5.602 | 6 | 93.367 | kCBJ874
| 1 | [Pre]PO | B |  | 2 | 120 | 45.8 | 5.496 | 5.602 | 6 | 93.367 | kCBJ874

## Chromatogram
1. Chromatogram of an extract of a double blank for kCBJ874 | 2. Chromatogram of an extract of a single blank for kCBJ874
3. Chromatogram of the lowest calibration standard for kCBJ874 | 4. Chromatogram of study sample G1P1-Rhesus1001-0.5h-P for kCBJ874
5. Typical calibration curve in Male Rhesus Monkey plasma(EDTA-K2) for kCBJ874 | 6. Chromatogram of the Highest calibration standard for kCBJ874

## Dose Preparation
Formulation Data Analysis
Preparation
Stock Solution Preparation:
| Sample Name | Barcode | Compound ID | Molecular Weight | Weight of Compound(mg) | Solvent Name | Solvent Volume(mL) | Purity% | Salt Factor | Concentration(mg/mL) | Concentration(mmol/L) | Volume of Sample taken | Solution Expiration Date
(µL)
1 | 403346-2019120405-CPK-phase1_20191210_re | 1596979 | kCBJ874 | 283.327 | 1.71 | DMSO | 1.71 | NA | 1 | 1 | 3.529 | 100 | 2020-03-10 12:00:00 AM +08:00
| Solution ID | Concentration | Volume Source | Dilution Volume | Total Volume
|  | (ug/mL) | (µL) | (µL) | (µL)
1 | Solution 1 | 200 | 100 | 400 | 500
| Final Solution ID | Dil Factor | Final Conc. (mg/mL) | Source Solution ID | Vol Src (μL) | Vol Solvent (μL) | Vol Tot (μL)
Preparation of Calibration:
| Final Solution ID | Dil Factor | Final Conc. | Source Solution ID | Vol Src | Vol Solvent | Vol Tot
|  |  | (ug/mL) |  | (µL) | (µL) | (µL)
1 | C1 | 1 | 200 | Solution 1 | 500 | 0 | 500
2 | C2 | 2 | 100 | C1 | 200 | 200 | 400
3 | C3 | 2 | 50 | C2 | 200 | 200 | 400
4 | C4 | 2 | 25 | C3 | 200 | 200 | 400
5 | C5 | 2 | 12.5 | C4 | 200 | 200 | 400
6 | C6 | 2 | 6.25 | C5 | 200 | 200 | 400
Solvent | DMSO
Processing of Dose Formulation:
| Dose Group | Phase No. | Dose Route | Pre/Post | Location | Dosage Strength (mg/mL) | Sample Volume | Solvent Vol 1 | Source Vol 2 | Solvent Vol 2 | Source Vol 3 | Solvent Vol 3 | Total Dilution Factor | Nominal Conc.(μg/mL) | Test Article
[7 empty] | (µL) | (µL)
1 | 1 | 1 | PO | Pre | Middle | 1 | 50 | 950 |  |  |  |  | 20 | 50 | kCBJ874
2 | 1 | 1 | PO | Pre | Middle | 1 | 50 | 950 |  |  |  |  | 20 | 50 | kCBJ874
signature
| Checked | Role | Signature | Date | Comments
1 |  | Analyst | cheng_yihong | 2019-12-10 09:28 | NA

## Dose Raw Data&MD&Chromatogram
Verification Method
Interface Parameters:
1
Mobile Phase A | 0.1% TFA in Water/ACN(v:v, 95:5)
Mobile Phase B | 0.1% TFA in ACN/water(v:v, 95:5)
Column
Waters CORTECS C18 2.7 μm 4.6*50mm Column
Flow Rate(ml/min) | 1.8
Detection Wavelength(nm) | 254
Injection Volume(μL) | 0.5
Instrument:
| Name | LC
1 | BIO-HPLC-02-SZ | Waters UPLC
Gradient:
Time(min) | Floe Rate(ml/min) | %A | %B | %C | %D | Curve
Initial | 1.8 | 100 | 0 | 0 | 0 | Initial
2 | 1.8 | 0 | 100 | 0 | 0 | 6
3 | 1.8 | 100 | 0 | 0 | 0 | 1
Verification Method 2
PDF
Report - Linear Dose
Results of Dose Formulation Determination
|  | Group | Dose Route | Sample |  | Determination | Dilution | Measured | Calculated | Mean | Nominal | Accuracy | Test Article
|  | No. |  | No. |  |  | Factor | Conc. | Conc. | Conc. | Conc. | (%)
[8 empty] | (μg/mL) | (mg/mL) | (mg/mL) | (mg/mL)
|  | 1 | [Pre]PO | 1 |  | 1 | 20 | 49.7 | 0.994 | 0.983 | 1 | 98.3 | kCBJ874
|  | 1 | [Pre]PO | 1 |  | 2 | 20 | 49.5 | 0.99 | 0.983 | 1 | 98.3 | kCBJ874
|  | 1 | [Pre]PO | 2 |  | 1 | 20 | 48.8 | 0.976 | 0.983 | 1 | 98.3 | kCBJ874
|  | 1 | [Pre]PO | 2 |  | 2 | 20 | 48.6 | 0.972 | 0.983 | 1 | 98.3 | kCBJ874