| Number of injections | 14-16 |  |  |
| --- | --- | --- | --- |
| Cell Temperature (°C) | 20 |  |  |
| Reference power (μCal/s) | 11 |  |  |
| Initial delay (s) | 60 -180 | Injection parameters: |  |
| Syringe concentration (mM) | 0.1 – 1.5 for peptide dimers 1.6 – 2 mM for DM 4 mM for geraniol 2-3 mM for the geraniol dimer | Volume (μL) | 2.5 – 2.8 |
| Cell concentration (mM) | 0.025 - 0.15 HBc | duration (s) | 5 – 5.6 |
| Stirring speed (rpm) | 600 | Spacing (s) | 180/240 |
| Feedback mode | high | Filter period (s) | 5/1 |
| First injection | No first injection | Cell volume (mL) | 0.200 |